## Parameters
Parameters | Value | Error | Units | Notes
Experiment Date
Sample Volume | 100 | 0.172 | mL | Liquid volume
Mineral Type | None
Radium Stock Used | Ra_stock_5
Stock Activity | 1438.339 | 7.2 | Bq/mL | Activity of stock used to add radium (note you should use the actual activity, not the counted activity)
Independent Cs? | FALSE

## Calibration Data
| Mean (CPM) | Error (CPM) | Scintillation Counter (cps) | Error (cps) | Gamma Counter (CPS) | Error (CPS) | Known Activity (uCi) | Known Activity (Bq) | Known-Average | Gamma Counter Calculated Activity | Scint Counter Calculated Activity (Bq) | Squared Actual Activity Variation from Average | Error (Bq)
Background | 69.2667 | 4.0713 | 1.1544 | 0.067855 | 0.0011574 |  | 0 | 0 |  |  | 0.24403 |  | 0.23936
RaStd_0.01mL | 213.5333 | 4.539 | 3.5589 | 0.075649 | 0.0034641 | 0.00061344 | 1.59e-05 | 0.5883 | 4187.7724 | -2.2499 | 0.77044 | 4187.7724 | 0.23926
RaStd_0.05mL | 851.3667 | 12.5306 | 14.1894 | 0.20884 | 0.0079815 | 0.00085145 | 7.95e-05 | 2.9415 | 3888.7447 | 1.1815 | 3.0978 | 3888.7447 | 0.23882
RaStd_0.1mL | 1635.7 | 32.621 | 27.2617 | 0.54368 | 0.012604 | 0.00093201 | 0.000159 | 5.883 | 3530.5344 | 4.6928 | 5.9598 | 3530.5344 | 0.2383
RaStd_0.5mL | 7998.8333 | 50.2341 | 133.3139 | 0.83724 | 0.05022 | 0.0025444 | 0.000795 | 29.415 | 1287.8265 | 33.2654 | 29.1781 | 1287.8265 | 0.23497
RaStd_1mL | 16057.1333 | 53.5133 | 267.6189 | 0.89189 | 0.094873 | 0.0029522 | 0.00159 | 58.83 | 41.8777 | 67.1831 | 58.5818 | 41.8777 | 0.23305
RaStd_5mL | 80635.3 | 80.455 | 1343.9217 | 1.3409 | 0.3905 | 0.0056159 | 0.00795 | 294.15 | 52371.7275 | 291.7368 | 294.2199 | 52371.7275 | 0.30267
65308.4831
Scintillation Counter
SUMMARY OUTPUT | Counter CPS->Activity (Bq) | DOES NOT INCLUDE BACKGROUND | [7 empty] | Scintillation Counter
[10 empty] | Activity (Bq) - > Counter CPS |  | DOES NOT INCLUDE BACKGROUND | [7 empty] | SUMMARY OUTPUT
Regression Statistics
Multiple R | 1 | [8 empty] | SUMMARY OUTPUT | [9 empty] | Regression Statistics
R Square | 1 | [18 empty] | Multiple R | 1
Adjusted R Square | 1 | [8 empty] | Regression Statistics | [9 empty] | R Square | 1
Standard Error | 0.2157 | [8 empty] | Multiple R | 1 | [8 empty] | Adjusted R Square | 1
Observations | 6 | [8 empty] | R Square | 1 | [8 empty] | Standard Error | 0.21658
[10 empty] | Adjusted R Square | 1 | [8 empty] | Observations | 7
ANOVA | [9 empty] | Standard Error | 0.98522 | Std dev of residuals
| df | SS | MS | F | Significance F |  |  |  |  | Observations | 6 | [8 empty] | ANOVA
Regression | 1 | 65308.297 | 65308.297 | 1403732.1259 | 3.045e-12 | [15 empty] | df | SS | MS | F | Significance F
Residual | 4 | 0.1861 | 0.046525 | [6 empty] | ANOVA | [9 empty] | Regression | 1 | 68963.3284 | 68963.3284 | 1470245.4671 | 7.2415e-15
Total | 5 | 65308.4831 | [8 empty] | df |  | SS | MS | F | Significance F |  |  |  | Residual | 5 | 0.23453 | 0.046906
[10 empty] | Regression | 1 |  | 1362535.4424 | 1362535.4424 | 1403732.1259 | 3.045e-12 |  |  |  | Total | 6 | 68963.563
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Residual | 4 |  | 3.8826 | 0.97065
Intercept | -0.0085291 | 0.10389 | -0.082099 | 0.93851 | -0.29697 | 0.27991 | -0.29697 | 0.27991 |  | Total | 5 |  | 1362539.325 | [7 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
X Variable 1 | 0.21893 | 0.00018479 | 1184.792 | 3.045e-12 | 0.21842 | 0.21945 | 0.21842 | 0.21945 | [11 empty] | Intercept | -0.054483 | 0.093999 | -0.57961 | 0.58731 | -0.29612 | 0.18715 | -0.29612 | 0.18715
[11 empty] | Coefficients |  | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% | X Variable 1 | 0.21898 | 0.00018059 | 1212.5368 | 7.2415e-15 | 0.21851 | 0.21944 | 0.21851 | 0.21944
[10 empty] | Intercept | 0.039808 |  | 0.4745 | 0.083894 | 0.93717 | -1.2776 | 1.3572 | -1.2776 | 1.3572
[10 empty] | X Variable 1 | 4.5676 |  | 0.0038552 | 1184.792 | 3.045e-12 | 4.5569 | 4.5783 | 4.5569 | 4.5783
RESIDUAL OUTPUT
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | 0.77063 | -0.18233 | [7 empty] | RESIDUAL OUTPUT | [9 empty] | Observation | Predicted Y | Residuals
2 | 3.098 | -0.1565 | [17 empty] | 1 | 0.19831 | -0.19831
3 | 5.9599 | -0.076928 | [7 empty] | Observation | Predicted Y |  | Residuals | Residual Squared | [5 empty] | 2 | 0.72483 | -0.13653
4 | 29.1782 | 0.23683 | [7 empty] | 1 | 2.7269 |  | 0.83196 | 0.69215 | [5 empty] | 3 | 3.0527 | -0.11116
5 | 58.5819 | 0.24813 | [7 empty] | 2 | 13.4754 |  | 0.71401 | 0.50981 | [5 empty] | 4 | 5.9152 | -0.032153
6 | 294.2192 | -0.069209 | [7 empty] | 3 | 26.9111 |  | 0.3506 | 0.12292 | [5 empty] | 5 | 29.138 | 0.27701
6 | 1343.6026 | 0.3191 | [7 empty] | 4 | 134.3961 |  | -1.0822 | 1.1711 | [5 empty] | 6 | 58.5475 | 0.28251
[10 empty] | 5 | 268.7524 |  | -1.1335 | 1.2848 | [5 empty] | 7 | 294.2314 | -0.081379
Parsons Gamma Counter | [9 empty] | 6 | 1343.6026 |  | 0.3191 | 0.10182
SUMMARY OUTPUT | Gamma Counter CPS->Bq
Regression Statistics | [9 empty] | USE FOR Bq->CPS
Multiple R | 0.99914 | [8 empty] | RESIDUAL OUTPUT
R Square | 0.99827 | [8 empty] | SUMMARY OUTPUT
Adjusted R Square | 0.99793
Standard Error | 4.8787 | [8 empty] | Regression Statistics
Observations | 7 | [8 empty] | Multiple R | 0.99914
[10 empty] | R Square | 0.99827
ANOVA | [9 empty] | Adjusted R Square | 0.99793
| df | SS | MS | F | Significance F |  |  |  |  | Standard Error | 0.0064173
Regression | 1 | 68844.5538 | 68844.5538 | 2892.4063 | 4.2029e-08 |  |  |  |  | Observations | 7
Residual | 5 | 119.0091 | 23.8018
Total | 6 | 68963.563 | [7 empty] | ANOVA
[11 empty] | df | SS | MS | F | Significance F
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Regression | 1 | 0.11911 | 0.11911 | 2892.4063 | 4.2029e-08
Intercept | -4.8812 | 2.1635 | -2.2562 | 0.073704 | -10.4425 | 0.6802 | -10.4425 | 0.6802 |  | Residual | 5 | 0.00020591 | 4.1181e-05
X Variable 1 | 759.5896 | 14.1237 | 53.7811 | 4.2029e-08 | 723.2834 | 795.8958 | 723.2834 | 795.8958 |  | Total | 6 | 0.11932
[11 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[10 empty] | Intercept | 0.0065532 | 0.0027846 | 2.3534 | 0.065285 | -0.00060478 | 0.013711 | -0.00060478 | 0.013711
RESIDUAL OUTPUT | [9 empty] | X Variable 1 | 0.0013142 | 2.4437e-05 | 53.7811 | 4.2029e-08 | 0.0012514 | 0.001377 | 0.0012514 | 0.001377
Observation | Predicted Y | Residuals
1 | -4.002 | 4.002
2 | -2.2499 | 2.8382 | [7 empty] | RESIDUAL OUTPUT
3 | 1.1815 | 1.76
4 | 4.6928 | 1.1902 | [7 empty] | Observation | Predicted Y | Residuals
5 | 33.2654 | -3.8504 | [7 empty] | 1 | 0.0065532 | -0.0053958
6 | 67.1831 | -8.3531 | [7 empty] | 2 | 0.0073264 | -0.0038623
7 | 291.7368 | 2.4132 | [7 empty] | 3 | 0.010419 | -0.0024375
[10 empty] | 4 | 0.014285 | -0.0016806
[10 empty] | 5 | 0.045211 | 0.0050087
[10 empty] | 6 | 0.083869 | 0.011003
[10 empty] | 7 | 0.39313 | -0.0026358

## Scintillation Counter Results
Date | Sample | CPM | % Error | Lumex % | Elapsed Time
2016-03-30 17:23 | 0A | 75.4 | 7.28 | 0.11 | 181.09
2016-03-30 17:23 | 0B | 91.1 | 6.63 | 25.26 | 191.98
2016-03-30 17:23 | 0C | 64.6 | 7.87 | 0.14 | 202.6
2016-03-30 17:23 | 10A | 104.4 | 6.19 | 0.1 | 213.24
2016-03-30 17:23 | 10B | 103.9 | 6.2 | 0.09 | 223.87
2016-03-30 17:23 | 10C | 109.7 | 6.04 | 0.07 | 234.51
2016-03-30 17:23 | 50A | 265.8 | 3.88 | 0.04 | 245.14
2016-03-30 17:23 | 50B | 230.2 | 4.17 | 0.04 | 255.77
2016-03-30 17:23 | 50C | 273.5 | 3.82 | 0.02 | 266.5
2016-03-30 17:23 | 100A | 492.7 | 2.85 | 0.02 | 277.13
2016-03-30 17:23 | 100B | 507.9 | 2.81 | 0.01 | 287.76
2016-03-30 17:23 | 100C | 469.8 | 2.92 | 0.01 | 298.39
2016-03-30 17:23 | 250A | 1112.8 | 1.9 | 0.01 | 309.02
2016-03-30 17:23 | 250B | 1090.9 | 1.91 | 0.01 | 319.66
2016-03-30 17:23 | 250C | 1203.8 | 1.82 | 0.01 | 330.29
2016-03-30 17:23 | 500A | 2420.1 | 1.29 | 0 | 340.93
2016-03-30 17:23 | 500B | 2166.8 | 1.36 | 0 | 351.55
2016-03-30 17:23 | 500C | 2342.6 | 1.31 | 0 | 362.2

## Count->Actual Activity
Sample ID | Phase | Counts (cps) | Error (cps) | Calibration Method | Activity (Bq) | Activity Error (Bq) |  | %Error
500pH3_A | Water | 0.072 | 0.001584 | Gamma Counter | 49.7986 |  | 497.9864 | 0.0040272
500pH5_A | Water | 0.072 | 0.001584 | Gamma Counter | 49.7986 |  | 497.9864 | 0.0040272
500pH7_A | Water | 0.063 | 0.001827 | Gamma Counter | 42.9505 |  | 429.5051 | 0.14099
500pH9_A | Water | 0.065 | 0.00182 | Gamma Counter | 44.4723 |  | 444.7232 | 0.11055

## Bottle Results
Sample ID | Stock Volume Added (mL) | Stock Vol Err (mL) | Final pH | Mineral Mass (g) | Mineral Mass Error (g) | Total Volume (mL) | Total Volume Error (mL) | Solution counts (Bq) | Solution Counts error (Bq) | Counted Solution Vol (mL) | Counted Solution Vol error (mL) | Solid Counts (Bq) | Solid Counts Error (Bq) | Counted Solid Mass (g) | Counted Solid Mass error (g) | Cw (Bq/mL) | dCw (Bq/mL) | Total Activity (Bq) | dTotal Activity (Bq) | Cs (Bq/g) | dCs (Bq/g) | fSorb

## Averaged Results
Sample | Cw (Bq/mL) | sCw (Bq/mL) | Cs (Bq/g) | sCs (Bq/g) | TotAct | fSorb | sfsorb | pH | spH
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
50 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
100 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
250 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
500 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!