## Parameters
Parameters | Value | Error | Units | Notes
Experiment Date
Sample Volume | 100 | 0.1 | mL | Liquid volume
Mineral Type | FHY
Radium Stock Used | Ra_Stock_4
Stock Activity | 631.5225 | 0.53167 | Bq/mL | Activity of stock used to add radium (note you should use the actual activity, not the counted activity)
Independent Cs? | FALSE

## Calibration Info
Std | Known Activity (Bq) | Scintillation Counter Response (cps)
RaStd_0.01mL | 0.5883 | 3.5589
RaStd_0.05mL | 2.9415 | 14.1894
RaStd_0.1mL | 5.883 | 27.2617
RaStd_0.5mL | 29.415 | 133.3139
RaStd_1mL | 58.83 | 267.6189
RaStd_5mL | 294.15 | 1343.9217
Background | 0 | 1.1544

## Scintillation Counter Results
Date | Sample | CPM | % Error | Lumex % | Elapsed Time
2015-12-01 14:39 | 0_A | 80.2 | 7.06 | 0.81 | 330.73
2015-12-01 14:39 | 0_B | 73.4 | 7.38 | 1.1 | 341.41
2015-12-01 14:39 | 0_C | 74 | 7.35 | 1.07 | 352.07
2015-12-01 14:39 | 5_A | 91.6 | 6.61 | 0.85 | 362.74
2015-12-01 14:39 | 5_B | 95.4 | 6.48 | 0.76 | 373.39
2015-12-01 14:39 | 5_C | 109.2 | 6.05 | 0.65 | 384.04
2015-12-01 14:39 | 10_A | 134.3 | 5.46 | 0.44 | 394.8
2015-12-01 14:39 | 10_B | 125.3 | 5.65 | 0.51 | 405.45
2015-12-01 14:39 | 10_C | 132.3 | 5.5 | 0.48 | 416.12
2015-12-01 14:39 | 50_A | 359.5 | 3.34 | 0.14 | 426.76
2015-12-01 14:39 | 50_B | 366.1 | 3.31 | 0.12 | 437.42
2015-12-01 14:39 | 50_C | 351.2 | 3.37 | 0.12 | 448.06
2015-12-01 14:39 | 100_A | 681.6 | 2.42 | 0.06 | 458.71
2015-12-01 14:39 | 100_B | 693.6 | 2.4 | 0.06 | 469.36
2015-12-01 14:39 | 100_C | 683.4 | 2.42 | 0.06 | 480.01
2015-12-01 14:39 | 500_A | 2950.7 | 1.16 | 0.01 | 490.66
2015-12-01 14:39 | 500_B | 3109.3 | 1.13 | 0.01 | 501.32
2015-12-01 14:39 | 500_C | 3148.5 | 1.13 | 0.01 | 512.02
2015-12-04 11:59 | 0_A | 88.9 | 6.71 | 0.28 | 331.1
2015-12-04 11:59 | 0_B | 75.3 | 7.29 | 0.39 | 341.74
2015-12-04 11:59 | 0_C | 68.7 | 7.63 | 0.42 | 352.38
2015-12-04 11:59 | 5_A | 122.2 | 5.72 | 0.24 | 363.02
2015-12-04 11:59 | 5_B | 125.1 | 5.65 | 0.24 | 373.67
2015-12-04 11:59 | 5_C | 174.6 | 4.79 | 0.17 | 384.32
2015-12-04 11:59 | 10_A | 217.6 | 4.29 | 0.16 | 395.06
2015-12-04 11:59 | 10_B | 206.6 | 4.4 | 0.17 | 405.71
2015-12-04 11:59 | 10_C | 211.3 | 4.35 | 0.15 | 416.36
2015-12-04 11:59 | 50_A | 772.2 | 2.28 | 0.04 | 427.01
2015-12-04 11:59 | 50_B | 841.9 | 2.18 | 0.04 | 437.66
2015-12-04 11:59 | 50_C | 797 | 2.24 | 0.04 | 448.31
2015-12-04 11:59 | 100_A | 1508 | 1.63 | 0.02 | 458.96
2015-12-04 11:59 | 100_B | 1574.7 | 1.59 | 0.02 | 469.61
2015-12-04 11:59 | 100_C | 1559.8 | 1.6 | 0.02 | 480.26
2015-12-04 11:59 | 500_A | 6907.2 | 0.76 | 0 | 490.93
2015-12-04 11:59 | 500_B | 7341.6 | 0.74 | 0 | 501.6
2015-12-04 11:59 | 500_C | 7428.8 | 0.73 | 0.01 | 512.32
2015-12-07 13:54 | 0_A | 93.5 | 6.54 | 0.25 | 331.33
2015-12-07 13:54 | 0_B | 77.5 | 7.18 | 0.35 | 341.99
2015-12-07 13:54 | 0_C | 75.8 | 7.26 | 0.34 | 352.62
2015-12-07 13:54 | 5_A | 148.3 | 5.19 | 0.17 | 363.27
2015-12-07 13:54 | 5_B | 144.4 | 5.26 | 0.18 | 373.9
2015-12-07 13:54 | 5_C | 203.1 | 4.44 | 0.13 | 384.55
2015-12-07 13:54 | 10_A | 276.1 | 3.81 | 0.09 | 395.29
2015-12-07 13:54 | 10_B | 245.2 | 4.04 | 0.1 | 405.94
2015-12-07 13:54 | 10_C | 256.8 | 3.95 | 0.1 | 416.57
2015-12-07 13:54 | 50_A | 991.5 | 2.01 | 0.03 | 427.23
2015-12-07 13:54 | 50_B | 1039.3 | 1.96 | 0.03 | 437.87
2015-12-07 13:54 | 50_C | 1046.1 | 1.96 | 0.02 | 448.52
2015-12-07 13:54 | 100_A | 1968.5 | 1.43 | 0.01 | 459.16
2015-12-07 13:54 | 100_B | 2045.1 | 1.4 | 0.01 | 469.81
2015-12-07 13:54 | 100_C | 2048.7 | 1.4 | 0.01 | 480.46
2015-12-07 13:54 | 500_A | 9139.7 | 0.66 | 0 | 491.14
2015-12-07 13:54 | 500_B | 9864.6 | 0.64 | 0 | 501.82
2015-12-07 13:54 | 500_C | 9893 | 0.64 | 0 | 512.55
2015-12-08 17:52 | 0_A | 91.5 | 6.61 | 0.22 | 331.31
2015-12-08 17:52 | 0_B | 71.2 | 7.5 | 0.32 | 341.95
2015-12-08 17:52 | 0_C | 77.7 | 7.17 | 0.31 | 352.6
2015-12-08 17:52 | 5_A | 148.6 | 5.19 | 0.16 | 363.23
2015-12-08 17:52 | 5_B | 159.3 | 5.01 | 0.14 | 373.89
2015-12-08 17:52 | 5_C | 207.5 | 4.39 | 0.12 | 384.52
2015-12-08 17:52 | 10_A | 286.2 | 3.74 | 0.11 | 395.31
2015-12-08 17:52 | 10_B | 267.1 | 3.87 | 0.09 | 405.95
2015-12-08 17:52 | 10_C | 254.1 | 3.97 | 0.09 | 416.6
2015-12-08 17:52 | 50_A | 1061.1 | 1.94 | 0.02 | 427.24
2015-12-08 17:52 | 50_B | 1103.6 | 1.9 | 0.02 | 437.89
2015-12-08 17:52 | 50_C | 511.6 | 2.8 | 0.04 | 448.52
2015-12-08 17:52 | 100_A | 2089.3 | 1.38 | 0.01 | 459.17
2015-12-08 17:52 | 100_B | 2173.9 | 1.36 | 0.01 | 469.83
2015-12-08 17:52 | 100_C | 2176 | 1.36 | 0.01 | 480.48
2015-12-08 17:52 | 500_A | 9745.6 | 0.64 | 0 | 491.16
2015-12-08 17:52 | 500_B | 10324.2 | 0.62 | 0 | 501.82
2015-12-08 17:52 | 500_C | 10518 | 0.62 | 0 | 512.55
2016-01-04 13:42 | 0_A | 97.7 | 6.4 | 0.09 | 310.34
2016-01-04 13:42 | 0_B | 76.1 | 7.25 | 0.13 | 320.98
2016-01-04 13:42 | 0_C | 74.5 | 7.33 | 0.13 | 331.61
2016-01-04 13:42 | 5_A | 159 | 5.02 | 0.06 | 342.24
2016-01-04 13:42 | 5_B | 170.4 | 4.85 | 0.06 | 352.88
2016-01-04 13:42 | 5_C | 244.8 | 4.04 | 0.05 | 363.51
2016-01-04 13:42 | 10_A | 356.7 | 3.35 | 0.03 | 374.15
2016-01-04 13:42 | 10_B | 308.3 | 3.6 | 0.04 | 384.78
2016-01-04 13:42 | 10_C | 302.6 | 3.64 | 0.07 | 395.57
2016-01-04 13:42 | 50_A | 1270.5 | 1.77 | 0.01 | 406.22
2016-01-04 13:42 | 50_B | 1328.3 | 1.74 | 0.01 | 416.85
2016-01-04 13:42 | 50_C | 451.7 | 2.98 | 0.02 | 427.47
2016-01-04 13:42 | 100_A | 2561.7 | 1.25 | 0 | 438.12
2016-01-04 13:42 | 100_B | 2586 | 1.24 | 0 | 448.77
2016-01-04 13:42 | 100_C | 2600.8 | 1.24 | 0 | 459.4
2016-01-04 13:42 | 500_A | 11626.6 | 0.59 | 0 | 470.09
2016-01-04 13:42 | 500_B | 12632.5 | 0.56 | 0 | 480.76
2016-01-04 13:42 | 500_C | 12708 | 0.56 | 0 | 491.44
2016-01-05 14:44 | 0_A | 99.3 | 6.35 | 0.09 | 310.41
2016-01-05 14:44 | 0_B | 75.8 | 7.26 | 0.13 | 321.04
2016-01-05 14:44 | 0_C | 79.3 | 7.1 | 0.12 | 331.67
2016-01-05 14:44 | 5_A | 156.7 | 5.05 | 0.06 | 342.31
2016-01-05 14:44 | 5_B | 178.7 | 4.73 | 0.06 | 352.93
2016-01-05 14:44 | 5_C | 237.4 | 4.1 | 0.05 | 363.56
2016-01-05 14:44 | 10_A | 333.1 | 3.47 | 0.03 | 374.2
2016-01-05 14:44 | 10_B | 303.4 | 3.63 | 0.03 | 384.83
2016-01-05 14:44 | 10_C | 303.8 | 3.63 | 0.04 | 395.56
2016-01-05 14:44 | 50_A | 1264.9 | 1.78 | 0.01 | 406.22
2016-01-05 14:44 | 50_B | 1309 | 1.75 | 0.01 | 416.85
2016-01-05 14:44 | 50_C | 442.9 | 3.01 | 0.02 | 427.48
2016-01-05 14:44 | 100_A | 2550.4 | 1.25 | 0 | 438.12
2016-01-05 14:44 | 100_B | 2517.2 | 1.26 | 0 | 448.77
2016-01-05 14:44 | 100_C | 2612.8 | 1.24 | 0 | 459.4
2016-01-05 14:44 | 500_A | 11648.2 | 0.59 | 0 | 470.09
2016-01-05 14:44 | 500_B | 12543.3 | 0.56 | 0 | 480.76
2016-01-05 14:44 | 500_C | 12657 | 0.56 | 0 | 491.45
2016-01-13 17:36 | 0_A | 97.1 | 6.42 | 0.09 | 310.36
2016-01-13 17:36 | 0_B | 78.4 | 7.14 | 0.12 | 320.99
2016-01-13 17:36 | 0_C | 74 | 7.35 | 0.13 | 331.63
2016-01-13 17:36 | 5_A | 162.8 | 4.96 | 0.06 | 342.26
2016-01-13 17:36 | 5_B | 180.5 | 4.71 | 0.05 | 352.9
2016-01-13 17:36 | 5_C | 245.8 | 4.03 | 0.04 | 363.53
2016-01-13 17:36 | 10_A | 336.5 | 3.45 | 0.03 | 374.16
2016-01-13 17:36 | 10_B | 297.6 | 3.67 | 0.03 | 384.8
2016-01-13 17:36 | 10_C | 299.8 | 3.65 | 0.07 | 395.59
2016-01-13 17:36 | 50_A | 1274.6 | 1.77 | 0.01 | 406.21
2016-01-13 17:36 | 50_B | 1280 | 1.77 | 0.01 | 416.85
2016-01-13 17:36 | 50_C | 425.4 | 3.07 | 0.03 | 427.48
2016-01-13 17:36 | 100_A | 2499.1 | 1.27 | 0 | 438.11
2016-01-13 17:36 | 100_B | 2541.7 | 1.25 | 0 | 448.75
2016-01-13 17:36 | 100_C | 2585.5 | 1.24 | 0 | 459.39
2016-01-13 17:36 | 500_A | 11624.1 | 0.59 | 0 | 470.07
2016-01-13 17:36 | 500_B | 12578 | 0.56 | 0 | 480.74
2016-01-13 17:36 | 500_C | 12661.5 | 0.56 | 0 | 491.42

## Equilibrated Data
Sample ID | Counts (cps) | Error (cps) | Scintillation volume (mL) | Scintillation volume error (mL) | Solid Concentration (g/L) | Solid Concentration Error (g/L)
0_A |  |  | 10 | 0.02
0_B |  |  | 10 | 0.02
0_C |  |  | 10 | 0.02
5_A |  |  | 10 | 0.02
5_B |  |  | 10 | 0.02
5_C |  |  | 10 | 0.02
10_A |  |  | 10 | 0.02
10_B |  |  | 10 | 0.02
10_C |  |  | 10 | 0.02
50_A |  |  | 10 | 0.02
50_B |  |  | 10 | 0.02
50_C |  |  | 10 | 0.02
100_A |  |  | 10 | 0.02
100_B |  |  | 10 | 0.02
100_C |  |  | 10 | 0.02
500_A |  |  | 10 | 0.02
500_B |  |  | 10 | 0.02
500_C |  |  | 10 | 0.02
Note on A1: Michael Chen: Must match pattern (something_letter or something_letter_(Cw or Cs))
Note on B1: Michael Chen: Do not fill in, will be filled by data
Note on C1: Michael Chen: Do not fill in, will be filled in by script

## Bottle Results
Sample ID | Stock Volume Added (mL) | Stock Vol Err (mL) | Final pH | Mineral Mass (g) | Mineral Mass Error (g) | Include | Cw (Bq/mL) | dCw (Bq/mL) | Total Activity (Bq) | dTotal Activity (Bq) | Cs (Bq/g) | dCs (Bq/g)
0_A | 0 | 0 | 5 | 0.03 | 9e-05 | TRUE
0_B | 0 | 0 | 5 | 0.03 | 9e-05 | TRUE
0_C | 0 | 0 | 5 | 0.03 | 9e-05 | TRUE
5_A | 0.00792 | 0.001 | 5 | 0.03 | 9e-05 | TRUE
5_B | 0.00792 | 0.001 | 5 | 0.03 | 9e-05 | TRUE
5_C | 0.00792 | 0.001 | 5 | 0.03 | 9e-05 | TRUE
10_A | 0.0158 | 0.001 | 5 | 0.03 | 9e-05 | TRUE
10_B | 0.0158 | 0.001 | 5 | 0.03 | 9e-05 | TRUE
10_C | 0.0158 | 0.001 | 5 | 0.03 | 9e-05 | TRUE
50_A | 0.0791 | 0.002 | 5 | 0.03 | 9e-05 | TRUE
50_B | 0.0791 | 0.002 | 5 | 0.03 | 9e-05 | TRUE
50_C | 0.0791 | 0.002 | 5 | 0.03 | 9e-05 | TRUE
100_A | 0.158 | 0.002 | 5 | 0.03 | 9e-05 | TRUE
100_B | 0.158 | 0.002 | 5 | 0.03 | 9e-05 | TRUE
100_C | 0.158 | 0.002 | 5 | 0.03 | 9e-05 | TRUE
500_A | 0.792 | 0.002 | 5 | 0.03 | 9e-05 | TRUE
500_B | 0.792 | 0.002 | 5 | 0.03 | 9e-05 | TRUE
500_C | 0.792 | 0.002 | 5 | 0.03 | 9e-05 | TRUE