## Parameters
Parameters | Value | Error | Units | Notes
Experiment Date
Sample Volume | 100 | 0.172 | mL | Liquid volume
Mineral Type | FHY
Radium Stock Used | Ra_Stock_4
Stock Activity | 631.5225 | 0.53167 | Bq/mL | Activity of stock used to add radium (note you should use the actual activity, not the counted activity)
Independent Cs? | FALSE

## Calibration Info
Std | Known Activity (Bq) | Scintillation Counter Response (cps)
RaStd_0.01mL | 0.5883 | 3.5589
RaStd_0.05mL | 2.9415 | 14.1894
RaStd_0.1mL | 5.883 | 27.2617
RaStd_0.5mL | 29.415 | 133.3139
RaStd_1mL | 58.83 | 267.6189
RaStd_5mL | 294.15 | 1343.9217
Background | 0 | 1.1544

## Scintillation Counter Results
Date | Sample | CPM | % Error | Lumex % | Elapsed Time
2015-12-07 13:54 | 0_A | 79.9 | 7.08 | 0.36 | 534.2
2015-12-07 13:54 | 0_B | 72.8 | 7.41 | 0.46 | 544.84
2015-12-07 13:54 | 0_C | 75.7 | 7.27 | 0.43 | 555.49
2015-12-07 13:54 | 5_A | 106.5 | 6.13 | 0.31 | 566.14
2015-12-07 13:54 | 5_B | 101.3 | 6.28 | 0.33 | 576.77
2015-12-07 13:54 | 5_C | 113.3 | 5.94 | 0.29 | 587.42
2015-12-07 13:54 | 10_A | 131.8 | 5.51 | 0.25 | 598.06
2015-12-07 13:54 | 10_B | 137 | 5.4 | 0.24 | 608.71
2015-12-07 13:54 | 10_C | 131.1 | 5.52 | 0.27 | 619.36
2015-12-07 13:54 | 50_A | 308.6 | 3.6 | 0.11 | 630
2015-12-07 13:54 | 50_B | 419.8 | 3.09 | 0.08 | 640.66
2015-12-07 13:54 | 50_C | 418.3 | 3.09 | 0.07 | 651.41
2015-12-07 13:54 | 100_A | 838.7 | 2.18 | 0.04 | 662.06
2015-12-07 13:54 | 100_B | 841.1 | 2.18 | 0.04 | 672.71
2015-12-07 13:54 | 100_C | 734.4 | 2.33 | 0.04 | 683.34
2015-12-07 13:54 | 500_A | 3949.6 | 1.01 | 0.01 | 694.01
2015-12-07 13:54 | 500_B | 4551.3 | 0.94 | 0.01 | 704.67
2015-12-07 13:54 | 500_C | 5036.4 | 0.89 | 0.01 | 715.33
2016-01-05 14:44 | 0_A | 83.2 | 6.93 | 0.35 | 502.13
2016-01-05 14:44 | 0_B | 82.2 | 6.98 | 0.27 | 512.82
2016-01-05 14:44 | 0_C | 71.4 | 7.48 | 0.3 | 523.8
2016-01-05 14:44 | 5_A | 118.5 | 5.81 | 0.07 | 534.44
2016-01-05 14:44 | 5_B | 128.9 | 5.57 | 0.06 | 545.08
2016-01-05 14:44 | 5_C | 134.9 | 5.45 | 0.08 | 555.71
2016-01-05 14:44 | 10_A | 120.4 | 5.76 | 0.43 | 566.36
2016-01-05 14:44 | 10_B | 180.4 | 4.71 | 0.39 | 577.02
2016-01-05 14:44 | 10_C | 185.2 | 4.65 | 0.04 | 587.66
2016-01-05 14:44 | 50_A | 657.6 | 2.47 | 0.02 | 598.3
2016-01-05 14:44 | 50_B | 665.5 | 2.45 | 0.01 | 608.93
2016-01-05 14:44 | 50_C | 682.7 | 2.42 | 0.01 | 619.56
2016-01-05 14:44 | 100_A | 1472.5 | 1.65 | 0.01 | 630.2
2016-01-05 14:44 | 100_B | 1472.1 | 1.65 | 0.01 | 640.83
2016-01-05 14:44 | 100_C | 1301.5 | 1.75 | 0.01 | 651.57
2016-01-05 14:44 | 500_A | 7518.9 | 0.73 | 0 | 662.22
2016-01-05 14:44 | 500_B | 8320.1 | 0.69 | 0 | 672.89
2016-01-05 14:44 | 500_C | 9468.5 | 0.65 | 0 | 683.56
2016-01-13 17:36 | 0_A | 83.2 | 6.93 | 0.6 | 502.08
2016-01-13 17:36 | 0_B | 81.1 | 7.02 | 0.23 | 512.75
2016-01-13 17:36 | 0_C | 75 | 7.3 | 0.64 | 523.78
2016-01-13 17:36 | 5_A | 123.3 | 5.7 | 0.06 | 534.41
2016-01-13 17:36 | 5_B | 130.1 | 5.54 | 0.06 | 545.04
2016-01-13 17:36 | 5_C | 95.6 | 6.47 | 0.09 | 555.67
2016-01-13 17:36 | 10_A | 167.3 | 4.89 | 0.36 | 566.33
2016-01-13 17:36 | 10_B | 183.7 | 4.67 | 0.42 | 576.99
2016-01-13 17:36 | 10_C | 193.5 | 4.55 | 0.04 | 587.63
2016-01-13 17:36 | 50_A | 659.3 | 2.46 | 0.02 | 598.26
2016-01-13 17:36 | 50_B | 691 | 2.41 | 0.01 | 608.89
2016-01-13 17:36 | 50_C | 684.1 | 2.42 | 0.01 | 619.53
2016-01-13 17:36 | 100_A | 1478.1 | 1.65 | 0.01 | 630.16
2016-01-13 17:36 | 100_B | 1461.7 | 1.65 | 0 | 640.79
2016-01-13 17:36 | 100_C | 1335.3 | 1.73 | 0.01 | 651.54
2016-01-13 17:36 | 500_A | 7475.4 | 0.73 | 0 | 662.2
2016-01-13 17:36 | 500_B | 8343 | 0.69 | 0 | 672.85
2016-01-13 17:36 | 500_C | 9503.7 | 0.65 | 0 | 683.53
2016-01-12 07:37 | 0_A | 87.1 | 6.78 | 0.52 | 502.06
2016-01-12 07:37 | 0_B | 76 | 7.25 | 0.22 | 512.75
2016-01-12 07:37 | 0_C | 78.7 | 7.13 | 0.33 | 523.74
2016-01-12 07:37 | 5_A | 121.4 | 5.74 | 0.06 | 534.36
2016-01-12 07:37 | 5_B | 136.8 | 5.41 | 0.06 | 544.99
2016-01-12 07:37 | 5_C | 95.7 | 6.47 | 0.01 | 555.63
2016-01-12 07:37 | 10_A | 164.3 | 4.93 | 0.27 | 566.28
2016-01-12 07:37 | 10_B | 178 | 4.74 | 0.31 | 576.95
2016-01-12 07:37 | 10_C | 182.7 | 4.68 | 0.04 | 587.58
2016-01-12 07:37 | 50_A | 664.7 | 2.45 | 0.02 | 598.21
2016-01-12 07:37 | 50_B | 700.2 | 2.39 | 0.01 | 608.84
2016-01-12 07:37 | 50_C | 671.5 | 2.44 | 0.01 | 619.46
2016-01-12 07:37 | 100_A | 1474.4 | 1.65 | 0.01 | 630.1
2016-01-12 07:37 | 100_B | 1455 | 1.66 | 0.01 | 640.73
2016-01-12 07:37 | 100_C | 1321.3 | 1.74 | 0.01 | 651.46
2016-01-12 07:37 | 500_A | 7517.1 | 0.73 | 0 | 662.12
2016-01-12 07:37 | 500_B | 8374.5 | 0.69 | 0 | 672.7
2016-01-12 07:37 | 500_C | 9419 | 0.65 | 0 | 683.44

## Equilibrated Data
Sample ID | Counts (cps) | Error (cps) | Scintillation volume (mL) | Scintillation volume error (mL) | Solid Concentration (g/L) | Solid Concentration Error (g/L)
0_A |  |  | 10 | 0.02
0_B |  |  | 10 | 0.02
0_C |  |  | 10 | 0.02
5_A |  |  | 10 | 0.02
5_B |  |  | 10 | 0.02
5_C |  |  | 10 | 0.02
10_A |  |  | 10 | 0.02
10_B |  |  | 10 | 0.02
10_C |  |  | 10 | 0.02
50_A |  |  | 10 | 0.02
50_B |  |  | 10 | 0.02
50_C |  |  | 10 | 0.02
100_A |  |  | 10 | 0.02
100_B |  |  | 10 | 0.02
100_C |  |  | 10 | 0.02
500_A |  |  | 10 | 0.02
500_B |  |  | 10 | 0.02
500_C |  |  | 10 | 0.02
Note on A1: Michael Chen: Must match pattern (something_letter or something_letter_(Cw or Cs))
Note on B1: Michael Chen: Do not fill in, will be filled by data
Note on C1: Michael Chen: Do not fill in, will be filled in by script

## Bottle Results
Sample ID | Stock Volume Added (mL) | Stock Vol Err (mL) | Final pH | Mineral Mass (g) | Mineral Mass Error (g) | Include | Cw (Bq/mL) | dCw (Bq/mL) | Total Activity (Bq) | dTotal Activity (Bq) | Cs (Bq/g) | dCs (Bq/g)
0_A | 0 | 0 | 6.91 | 0.03 | 9e-05 | TRUE
0_B | 0 | 0 | 7 | 0.03 | 9e-05 | TRUE
0_C | 0 | 0 | 7.01 | 0.03 | 9e-05 | TRUE
5_A | 0.00792 | 0.001 | 6.93 | 0.03 | 9e-05 | TRUE
5_B | 0.00792 | 0.001 | 6.94 | 0.03 | 9e-05 | TRUE
5_C | 0.00792 | 0.001 | 7.01 | 0.03 | 9e-05 | TRUE
10_A | 0.0158 | 0.001 | 6.95 | 0.03 | 9e-05 | TRUE
10_B | 0.0158 | 0.001 | 6.95 | 0.03 | 9e-05 | TRUE
10_C | 0.0158 | 0.001 | 6.9 | 0.03 | 9e-05 | TRUE
50_A | 0.0791 | 0.002 | 7.01 | 0.03 | 9e-05 | TRUE
50_B | 0.0791 | 0.002 | 7.02 | 0.03 | 9e-05 | TRUE
50_C | 0.0791 | 0.002 | 6.92 | 0.03 | 9e-05 | TRUE
100_A | 0.158 | 0.002 | 6.95 | 0.03 | 9e-05 | TRUE
100_B | 0.158 | 0.002 | 6.99 | 0.03 | 9e-05 | TRUE
100_C | 0.158 | 0.002 | 6.94 | 0.03 | 9e-05 | TRUE
500_A | 0.792 | 0.002 | 6.97 | 0.03 | 9e-05 | TRUE
500_B | 0.792 | 0.002 | 7.04 | 0.03 | 9e-05 | TRUE
500_C | 0.792 | 0.002 | 6.97 | 0.03 | 9e-05 | TRUE