## Parameters
Parameters | Value | Error | Units | Notes
Experiment Date
Sample Volume | 100 | 0.172 | mL | Liquid volume
Mineral Type | FHY
Radium Stock Used | Ra_Stock_4
Stock Activity | 631.5225 | 0.53167 | Bq/mL | Activity of stock used to add radium (note you should use the actual activity, not the counted activity)
Independent Cs? | FALSE

## Calibration Info
Std | Known Activity (Bq) | Scintillation Counter Response (cps)
RaStd_0.01mL | 0.5883 | 3.5589
RaStd_0.05mL | 2.9415 | 14.1894
RaStd_0.1mL | 5.883 | 27.2617
RaStd_0.5mL | 29.415 | 133.3139
RaStd_1mL | 58.83 | 267.6189
RaStd_5mL | 294.15 | 1343.9217
Background | 0 | 1.1544

## Scintillation Counter Results
Date | Sample | CPM | % Error | Lumex % | Elapsed Time
2016-01-05 14:44 | 0_A | 74.4 | 7.33 | 0.17 | 694.2
2016-01-05 14:44 | 0_B | 78.3 | 7.15 | 0.14 | 704.83
2016-01-05 14:44 | 0_C | 68.2 | 7.66 | 0.14 | 715.46
2016-01-05 14:44 | 5_A | 65.6 | 7.81 | 0.25 | 726.1
2016-01-05 14:44 | 5_B | 72.2 | 7.44 | 0.13 | 736.73
2016-01-05 14:44 | 5_C | 67.2 | 7.72 | 0.18 | 747.36
2016-01-05 14:44 | 10_A | 66.7 | 7.74 | 0.17 | 758
2016-01-05 14:44 | 10_B | 68.7 | 7.63 | 0.15 | 768.63
2016-01-05 14:44 | 10_C | 73.6 | 7.37 | 0.15 | 779.36
2016-01-05 14:44 | 50_A | 70.8 | 7.52 | 0.16 | 789.99
2016-01-05 14:44 | 50_B | 74.7 | 7.32 | 0.14 | 800.63
2016-01-05 14:44 | 50_C | 71.8 | 7.46 | 0.15 | 821.89
2016-01-05 14:44 | 100_A | 76.7 | 7.22 | 0.15 | 821.89
2016-01-05 14:44 | 100_B | 72.5 | 7.43 | 0.13 | 832.53
2016-01-05 14:44 | 100_C | 80.5 | 7.058 | 0.14 | 843.16
2016-01-05 14:44 | 500_A | 186.5 | 4.63 | 0.05 | 853.79
2016-01-05 14:44 | 500_B | 151.3 | 5.14 | 0.06 | 864.43
2016-01-05 14:44 | 500_C | 156 | 5.06 | 0.06 | 875.06
2016-01-13 17:36 | 0_A | 73.4 | 7.38 | 0.12 | 694.16
2016-01-13 17:36 | 0_B | 73.8 | 7.36 | 0.11 | 704.79
2016-01-13 17:36 | 0_C | 69.5 | 7.59 | 0.11 | 715.42
2016-01-13 17:36 | 5_A | 72.8 | 7.41 | 0.14 | 726.04
2016-01-13 17:36 | 5_B | 78.1 | 7.16 | 0.11 | 736.67
2016-01-13 17:36 | 5_C | 67.8 | 7.68 | 0.14 | 747.31
2016-01-13 17:36 | 10_A | 70.9 | 7.51 | 0.13 | 757.94
2016-01-13 17:36 | 10_B | 74.5 | 7.33 | 0.13 | 768.58
2016-01-13 17:36 | 10_C | 73.6 | 7.37 | 0.12 | 779.3
2016-01-13 17:36 | 50_A | 75.4 | 7.28 | 0.11 | 789.94
2016-01-13 17:36 | 50_B | 73 | 7.4 | 0.12 | 800.56
2016-01-13 17:36 | 50_C | 74.2 | 7.34 | 0.14 | 811.19
2016-01-13 17:36 | 100_A | 78.7 | 7.13 | 0.12 | 821.83
2016-01-13 17:36 | 100_B | 78.6 | 7.13 | 0.12 | 832.46
2016-01-13 17:36 | 100_C | 78.6 | 7.13 | 0.11 | 843.09
2016-01-13 17:36 | 500_A | 179.1 | 4.73 | 0.04 | 853.73
2016-01-13 17:36 | 500_B | 163.2 | 4.95 | 0.05 | 864.36
2016-01-13 17:36 | 500_C | 159 | 5.02 | 0.05 | 874.99
2016-01-12 07:37 | 0_A | 70.1 | 7.55 | 0.15 | 694.08
2016-01-12 07:37 | 0_B | 72 | 7.45 | 0.11 | 704.71
2016-01-12 07:37 | 0_C | 73.7 | 7.37 | 0.11 | 715.34
2016-01-12 07:37 | 5_A | 73.7 | 7.37 | 0.19 | 725.98
2016-01-12 07:37 | 5_B | 68.4 | 7.65 | 0.11 | 736.61
2016-01-12 07:37 | 5_C | 71.1 | 7.5 | 0.14 | 747.24
2016-01-12 07:37 | 10_A | 71 | 7.51 | 0.13 | 757.88
2016-01-12 07:37 | 10_B | 71 | 7.51 | 0.13 | 768.51
2016-01-12 07:37 | 10_C | 72 | 7.45 | 0.13 | 779.24
2016-01-12 07:37 | 50_A | 72.4 | 7.43 | 0.12 | 789.87
2016-01-12 07:37 | 50_B | 68 | 7.67 | 0.12 | 800.5
2016-01-12 07:37 | 50_C | 74.2 | 7.34 | 0.12 | 811.14
2016-01-12 07:37 | 100_A | 75 | 7.3 | 0.13 | 821.78
2016-01-12 07:37 | 100_B | 82 | 6.98 | 0.1 | 832.41
2016-01-12 07:37 | 100_C | 78.6 | 7.13 | 0.1 | 843.04
2016-01-12 07:37 | 500_A | 186.2 | 4.63 | 0.05 | 853.68
2016-01-12 07:37 | 500_B | 146.5 | 5.23 | 0.06 | 864.29
2016-01-12 07:37 | 500_C | 143.5 | 5.28 | 0.06 | 874.93

## Equilibrated Data
Sample ID | Counts (cps) | Error (cps) | Scintillation volume (mL) | Scintillation volume error (mL) | Solid Concentration (g/L) | Solid Concentration Error (g/L)
0_A |  |  | 10 | 0.02
0_B |  |  | 10 | 0.02
0_C |  |  | 10 | 0.02
5_A |  |  | 10 | 0.02
5_B |  |  | 10 | 0.02
5_C |  |  | 10 | 0.02
10_A |  |  | 10 | 0.02
10_B |  |  | 10 | 0.02
10_C |  |  | 10 | 0.02
50_A |  |  | 10 | 0.02
50_B |  |  | 10 | 0.02
50_C |  |  | 10 | 0.02
100_A |  |  | 10 | 0.02
100_B |  |  | 10 | 0.02
100_C |  |  | 10 | 0.02
500_A |  |  | 10 | 0.02
500_B |  |  | 10 | 0.02
500_C |  |  | 10 | 0.02
Note on A1: Michael Chen: Must match pattern (something_letter or something_letter_(Cw or Cs))
Note on B1: Michael Chen: Do not fill in, will be filled by data
Note on C1: Michael Chen: Do not fill in, will be filled in by script

## Bottle Results
Sample ID | Stock Volume Added (mL) | Stock Vol Err (mL) | Final pH | Mineral Mass (g) | Mineral Mass Error (g) | Include | Cw (Bq/mL) | dCw (Bq/mL) | Total Activity (Bq) | dTotal Activity (Bq) | Cs (Bq/g) | dCs (Bq/g)
0_A | 0 | 0 | 8.96 | 0.03 | 9e-05 | TRUE
0_B | 0 | 0 | 8.95 | 0.03 | 9e-05 | TRUE
0_C | 0 | 0 | 8.93 | 0.03 | 9e-05 | TRUE
5_A | 0.00792 | 0.001 | 8.92 | 0.03 | 9e-05 | TRUE
5_B | 0.00792 | 0.001 | 8.9 | 0.03 | 9e-05 | TRUE
5_C | 0.00792 | 0.001 | 8.93 | 0.03 | 9e-05 | TRUE
10_A | 0.0158 | 0.001 | 8.92 | 0.03 | 9e-05 | TRUE
10_B | 0.0158 | 0.001 | 8.9 | 0.03 | 9e-05 | TRUE
10_C | 0.0158 | 0.001 | 8.9 | 0.03 | 9e-05 | TRUE
50_A | 0.0791 | 0.002 | 8.94 | 0.03 | 9e-05 | TRUE
50_B | 0.0791 | 0.002 | 8.89 | 0.03 | 9e-05 | TRUE
50_C | 0.0791 | 0.002 | 8.92 | 0.03 | 9e-05 | TRUE
100_A | 0.158 | 0.002 | 8.81 | 0.03 | 9e-05 | TRUE
100_B | 0.158 | 0.002 | 8.87 | 0.03 | 9e-05 | TRUE
100_C | 0.158 | 0.002 | 8.91 | 0.03 | 9e-05 | TRUE
500_A | 0.792 | 0.002 | 8.9 | 0.03 | 9e-05 | TRUE
500_B | 0.792 | 0.002 | 8.9 | 0.03 | 9e-05 | TRUE
500_C | 0.792 | 0.002 | 8.94 | 0.03 | 9e-05 | TRUE