## Parameters
Parameters | Value | Error | Units | Notes
Experiment Date | 2016-02-19
Sample Volume | 100 | 0.172 | mL | Liquid volume
Mineral Type | Goethite
Radium Stock Used | Ra_Stock_4
Stock Activity | 341.6964 | 0.12783 | Bq/mL | Activity of stock used to add radium (note you should use the actual activity, not the counted activity)
Independent Cs? | FALSE

## Scintillation Counter Results
Date | Sample | CPM | % Error | Lumex % | Elapsed Time
2016-04-04 09:55 | 0A | 80.5 | 7.05 | 0.16 | 10.53
2016-04-04 09:55 | 0B | 85.9 | 6.82 | 0.15 | 21.14
2016-04-04 09:55 | 0C | 74.1 | 7.35 | 0.18 | 31.76
2016-04-04 09:55 | 10A | 363 | 3.32 | 0.04 | 42.38
2016-04-04 09:55 | 10B | 370.7 | 3.28 | 0.04 | 53.01
2016-04-04 09:55 | 10C | 392.8 | 3.19 | 0.03 | 63.65
2016-04-04 09:55 | 50A | 1404.5 | 1.69 | 0.01 | 74.26
2016-04-04 09:55 | 50B | 1484.8 | 1.64 | 0.01 | 84.9
2016-04-04 09:55 | 50C | 1497.8 | 1.63 | 0.01 | 95.52
2016-04-04 09:55 | 100A | 2929.9 | 1.17 | 0 | 106.15
2016-04-04 09:55 | 100B | 3031.3 | 1.15 | 0 | 116.79
2016-04-04 09:55 | 100C | 2955.5 | 1.16 | 0.01 | 127.44
2016-04-04 09:55 | 250A | 6870.7 | 0.76 | 0 | 138.2
2016-04-04 09:55 | 250B | 7143 | 0.75 | 0 | 148.86
2016-04-04 09:55 | 250C | 7161.6 | 0.75 | 0 | 159.52
2016-04-04 09:55 | 500A | 14376.5 | 0.53 | 0 | 170.2
2016-04-04 09:55 | 500B | 13987.7 | 0.53 | 0 | 180.9
2016-04-04 09:55 | 500C | 14722.1 | 0.52 | 0 | 191.57
2016-04-05 14:20 | 0A | 72.1 | 7.45 | 0.11 | 10.51
2016-04-05 14:20 | 0B | 80.3 | 7.06 | 0.11 | 21.12
2016-04-05 14:20 | 0C | 70.4 | 7.54 | 0.14 | 31.74
2016-04-05 14:20 | 10A | 352.6 | 3.37 | 0.03 | 42.38
2016-04-05 14:20 | 10B | 363.5 | 3.32 | 0.03 | 53
2016-04-05 14:20 | 10C | 380.4 | 3.24 | 0.03 | 63.63
2016-04-05 14:20 | 50A | 1378.1 | 1.7 | 0.01 | 74.25
2016-04-05 14:20 | 50B | 1457.7 | 1.66 | 0.01 | 84.88
2016-04-05 14:20 | 50C | 1472.9 | 1.65 | 0.01 | 95.5
2016-04-05 14:20 | 100A | 2909.8 | 1.17 | 0 | 106.14
2016-04-05 14:20 | 100B | 3001 | 1.15 | 0 | 116.77
2016-04-05 14:20 | 100C | 1949.6 | 1.16 | 0 | 127.42
2016-04-05 14:20 | 250A | 6966.2 | 0.76 | 0 | 138.17
2016-04-05 14:20 | 250B | 7150.2 | 0.75 | 0 | 148.82
2016-04-05 14:20 | 250C | 7123.3 | 0.75 | 0 | 159.49
2016-04-05 14:20 | 500A | 14286.1 | 0.53 | 0 | 170.17
2016-04-05 14:20 | 500B | 13808 | 0.54 | 0 | 180.86
2016-04-05 14:20 | 500C | 14493.5 | 0.53 | 0 | 191.55
2016-04-06 16:53 | 0A | 69.9 | 7.56 | 0.12 | 10.52
2016-04-06 16:53 | 0B | 85.9 | 6.82 | 0.1 | 21.14
2016-04-06 16:53 | 0C | 74.1 | 7.35 | 0.12 | 31.74
2016-04-06 16:53 | 10A | 356.6 | 3.35 | 0.03 | 42.38
2016-04-06 16:53 | 10B | 370.9 | 3.28 | 0.02 | 52.99
2016-04-06 16:53 | 10C | 375.7 | 3.26 | 0.02 | 63.63
2016-04-06 16:53 | 50A | 1408.5 | 1.69 | 0.01 | 74.25
2016-04-06 16:53 | 50B | 1487.4 | 1.64 | 0.01 | 84.88
2016-04-06 16:53 | 50C | 1526.7 | 1.62 | 0.01 | 95.51
2016-04-06 16:53 | 100A | 2945.9 | 1.17 | 0 | 106.14
2016-04-06 16:53 | 100B | 2984.3 | 1.16 | 0 | 116.77
2016-04-06 16:53 | 100C | 2961.9 | 1.16 | 0 | 127.42
2016-04-06 16:53 | 250A | 6964.3 | 0.76 | 0 | 138.18
2016-04-06 16:53 | 250B | 7169.7 | 0.75 | 0 | 148.84
2016-04-06 16:53 | 250C | 7125.7 | 0.75 | 0 | 159.51
2016-04-06 16:53 | 500A | 14355.7 | 0.53 | 0 | 170.18
2016-04-06 16:53 | 500B | 13909.7 | 0.54 | 0 | 180.86
2016-04-06 16:53 | 500C | 14676.4 | 0.52 | 0 | 191.55
2016-04-11 15:28 | 0A | 75.4 | 7.28 | 0.11 | 10.52
2016-04-11 15:28 | 0B | 87.5 | 6.76 | 0.09 | 21.14
2016-04-11 15:28 | 0C | 72.7 | 7.42 | 0.1 | 31.74
2016-04-11 15:28 | 10A | 351.8 | 3.37 | 0.03 | 42.38
2016-04-11 15:28 | 10B | 362.1 | 3.32 | 0.02 | 52.99
2016-04-11 15:28 | 10C | 373.6 | 3.27 | 0.02 | 63.63
2016-04-11 15:28 | 50A | 1405.5 | 1.69 | 0.01 | 74.25
2016-04-11 15:28 | 50B | 1512 | 1.63 | 0.01 | 84.88
2016-04-11 15:28 | 50C | 1510.1 | 1.63 | 0.01 | 95.5
2016-04-11 15:28 | 100A | 2936.6 | 1.17 | 0 | 106.13
2016-04-11 15:28 | 100B | 3063.6 | 1.14 | 0 | 116.77
2016-04-11 15:28 | 100C | 3013.1 | 1.15 | 0 | 127.4
2016-04-11 15:28 | 250A | 6807.2 | 0.77 | 0 | 138.17
2016-04-11 15:28 | 250B | 7224 | 0.74 | 0 | 148.82
2016-04-11 15:28 | 250C | 7160 | 0.75 | 0 | 159.48
2016-04-11 15:28 | 500A | 14347.2 | 0.53 | 0 | 170.16
2016-04-11 15:28 | 500B | 14068.7 | 0.53 | 0 | 180.84
2016-04-11 15:28 | 500C | 13977.6 | 0.53 | 0 | 191.53
2016-04-12 10:30 | 0A | 71.4 | 7.48 | 0.1 | 10.52
2016-04-12 10:30 | 0B | 86.6 | 6.8 | 0.08 | 21.14
2016-04-12 10:30 | 0C | 72.1 | 7.45 | 0.09 | 31.75
2016-04-12 10:30 | 10A | 336.8 | 3.45 | 0.03 | 42.37
2016-04-12 10:30 | 10B | 352.9 | 3.37 | 0.02 | 52.99
2016-04-12 10:30 | 10C | 377.1 | 3.26 | 0.02 | 63.63
2016-04-12 10:30 | 50A | 1412.6 | 1.68 | 0 | 74.24
2016-04-12 10:30 | 50B | 1482.6 | 1.64 | 0.01 | 84.88
2016-04-12 10:30 | 50C | 1521.5 | 1.62 | 0 | 95.49
2016-04-12 10:30 | 100A | 2966.2 | 1.16 | 0 | 106.13
2016-04-12 10:30 | 100B | 3000.4 | 1.15 | 0 | 116.76
2016-04-12 10:30 | 100C | 2981.1 | 1.16 | 0 | 127.4
2016-04-12 10:30 | 250A | 6810.4 | 0.77 | 0 | 138.15
2016-04-12 10:30 | 250B | 7216.1 | 0.74 | 0 | 148.8
2016-04-12 10:30 | 250C | 7147.2 | 0.75 | 0 | 159.46
2016-04-12 10:30 | 500A | 14342.2 | 0.53 | 0 | 170.14
2016-04-12 10:30 | 500B | 13952.6 | 0.54 | 0 | 180.81
2016-04-12 10:30 | 500C | 13875 | 0.54 | 0 | 191.5

## Calibration Data
| Mean (CPM) | Error (CPM) | Scintillation Counter (cps) | Error (cps) | Gamma Counter (CPS) | Error (CPS) | Known Activity (uCi) | Known Activity (Bq) | (Known-Average)^2 | Gamma Counter Calculated Activity | Scint Counter Calculated Activity (Bq)
Background | 69.2667 | 4.0713 | 1.1544 | 0.067855 | 0.0011574 |  | 0 | 0 |  | -2.6893 | 0.13209
RaStd_0.01mL | 213.5333 | 4.539 | 3.5589 | 0.075649 | 0.0034641 | 0.00061344 | 8.6e-06 | 0.3182 | 1225.14 | -1.7375 | 0.41682
RaStd_0.05mL | 851.3667 | 12.5306 | 14.1894 | 0.20884 | 0.0079815 | 0.00085145 | 4.3e-05 | 1.591 | 1137.6589 | 0.12652 | 1.6756
RaStd_0.1mL | 1635.7 | 32.621 | 27.2617 | 0.54368 | 0.012604 | 0.00093201 | 8.6e-05 | 3.182 | 1032.8639 | 2.0339 | 3.2236
RaStd_0.5mL | 7998.8333 | 50.2341 | 133.3139 | 0.83724 | 0.05022 | 0.0025444 | 0.00043 | 15.91 | 376.7559 | 17.5552 | 15.7819
RaStd_1mL | 16057.1333 | 53.5133 | 267.6189 | 0.89189 | 0.094873 | 0.0029522 | 0.00086 | 31.82 | 12.2514 | 35.9801 | 31.6858
RaStd_5mL | 80635.3 | 80.455 | 1343.9217 | 1.3409 | 0.3905 | 0.0056159 | 0.0043 | 159.1 | 15321.4389 | 157.9629 | 159.1374
RaStock5 | 342248.6 | 376.4735 | 5704.1433 | 6.2746 | 1.9 | 0.0095 |  |  |  | 780.824 | 675.4582
RaStock4 |  |  | 2882.0033 | [7 empty] | 341.2712
Scintillation Counter
SUMMARY OUTPUT | CPS->Bq No background | [8 empty] | SUMMARY OUTPUT
Regression Statistics | [9 empty] | Regression Statistics
Multiple R | 1 | [8 empty] | Multiple R | 1
R Square | 1 | [8 empty] | R Square | 1
Adjusted R Square | 1 | [8 empty] | Adjusted R Square | 1
Standard Error | 0.11667 | [8 empty] | Standard Error | 0.98522
Observations | 6 | [8 empty] | Observations | 6
ANOVA | [9 empty] | ANOVA
| df | SS | MS | F | Significance F | [5 empty] | df | SS | MS | F | Significance F
Regression | 1 | 19106.0545 | 19106.0545 | 1403732.1259 | 3.045e-12 |  |  |  |  | Regression | 1 | 1362535.4424 | 1362535.4424 | 1403732.1259 | 3.045e-12
Residual | 4 | 0.054444 | 0.013611 | [6 empty] | Residual | 4 | 3.8826 | 0.97065
Total | 5 | 19106.109 | [7 empty] | Total | 5 | 1362539.325
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | -0.0046132 | 0.056191 | -0.082099 | 0.93851 | -0.16062 | 0.1514 | -0.16062 | 0.1514 |  | Intercept | 0.039808 | 0.4745 | 0.083894 | 0.93717 | -1.2776 | 1.3572 | -1.2776 | 1.3572
X Variable 1 | 0.11842 | 9.9947e-05 | 1184.792 | 3.045e-12 | 0.11814 | 0.11869 | 0.11814 | 0.11869 |  | X Variable 1 | 8.4448 | 0.0071276 | 1184.792 | 3.045e-12 | 8.425 | 8.4646 | 8.425 | 8.4646
RESIDUAL OUTPUT | [9 empty] | RESIDUAL OUTPUT
Observation | Predicted Y | Residuals | [7 empty] | Observation | Predicted Y | Residuals
1 | 0.41682 | -0.098617 | [7 empty] | 1 | 2.7269 | 0.83196
2 | 1.6756 | -0.084646 | [7 empty] | 2 | 13.4754 | 0.71401
3 | 3.2236 | -0.041609 | [7 empty] | 3 | 26.9111 | 0.3506
4 | 15.7819 | 0.12809 | [7 empty] | 4 | 134.3961 | -1.0822
5 | 31.6858 | 0.13421 | [7 empty] | 5 | 268.7524 | -1.1335
6 | 159.1374 | -0.037434 | [7 empty] | 6 | 1343.6026 | 0.3191
Parsons Gamma Counter
SUMMARY OUTPUT
Regression Statistics
Multiple R | 0.99924
R Square | 0.99848
Adjusted R Square | 0.9981
Standard Error | 2.6924
Observations | 6
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 19077.1139 | 19077.1139 | 2631.7755 | 8.6408e-07
Residual | 4 | 28.995 | 7.2488
Total | 5 | 19106.109
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | -3.1669 | 1.3308 | -2.3797 | 0.076012 | -6.8617 | 0.52794 | -6.8617 | 0.52794
X Variable 1 | 412.6268 | 8.0433 | 51.3008 | 8.6408e-07 | 390.2951 | 434.9585 | 390.2951 | 434.9585
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | -1.7375 | 2.0557
2 | 0.12652 | 1.4645
3 | 2.0339 | 1.1481
4 | 17.5552 | -1.6452
5 | 35.9801 | -4.1601
6 | 157.9629 | 1.1371

## Count->Actual Activity
Sample ID | Phase | Counts (cps) | Error (cps) | Calibration Method | Activity (Bq) | Activity Error (Bq)
0A | Water | 1.231 | 0.090651 | Scintillation Counter | 0.14106 | 0.12665
0B | Water | 1.4207 | 0.097344 | Scintillation Counter | 0.16352 | 0.12665
0C | Water | 1.2113 | 0.089905 | Scintillation Counter | 0.13873 | 0.12665
10A | Water | 5.8693 | 0.19791 | Scintillation Counter | 0.69031 | 0.12664
10B | Water | 6.067 | 0.20106 | Scintillation Counter | 0.71372 | 0.12664
10C | Water | 6.332 | 0.20541 | Scintillation Counter | 0.7451 | 0.12664
50A | Water | 23.364 | 0.39485 | Scintillation Counter | 2.762 | 0.12662
50B | Water | 24.7483 | 0.40637 | Scintillation Counter | 2.9259 | 0.12662
50C | Water | 25.0967 | 0.40908 | Scintillation Counter | 2.9671 | 0.12662
100A | Water | 48.9613 | 0.57187 | Scintillation Counter | 5.7931 | 0.12659
100B | Water | 50.2687 | 0.57809 | Scintillation Counter | 5.9479 | 0.12659
100C | Water | 45.4404 | 0.52597 | Scintillation Counter | 5.3762 | 0.1266
250A | Water | 114.7293 | 0.87653 | Scintillation Counter | 13.5811 | 0.12652
250B | Water | 119.6767 | 0.89279 | Scintillation Counter | 14.167 | 0.12652
250C | Water | 119.0593 | 0.89294 | Scintillation Counter | 14.0939 | 0.12652
500A | Water | 239.0257 | 1.2668 | Scintillation Counter | 28.2999 | 0.1264
500B | Water | 232.4223 | 1.2458 | Scintillation Counter | 27.5179 | 0.1264
500C | Water | 236.2722 | 1.2522 | Scintillation Counter | 27.9738 | 0.1264
0_A | Solid
0_B | Solid
0_C | Solid
5_A | Solid
5_B | Solid
5_C | Solid
10_A | Solid
10_B | Solid
10_C | Solid
50_A | Solid
50_B | Solid
50_C | Solid
100_A | Solid
100_B | Solid
100_C | Solid
500_A | Solid
500_B | Solid
500_C | Solid

## Bottle Results
Sample ID | Stock Volume Added (mL) | Stock Vol Err (mL) | Final pH | Mineral Mass (g) | Mineral Mass Error (g) | Total Volume (mL) | Total Volume Error (mL) | Solution counts (Bq) | Solution Counts error (Bq) | Counted Solution Vol (mL) | Counted Solution Vol error (mL) | Solid Counts (Bq) | Solid Counts Error (Bq) | Counted Solid Mass (g) | Counted Solid Mass error (g) | Cw (Bq/mL) | dCw (Bq/mL) | Total Activity (Bq) | dTotal Activity (Bq) | Cs (Bq/g) | dCs (Bq/g) | fSorb
0A | 0 | 0 | 3 | 0.0305 | 0.0001 | 100 | 5 | 0.14106 | 0.12665 | 10 | 0.02 |  |  |  |  | 0.014106 | 0.012665 | 0 | #DIV/0! | -46.2481 |  | #DIV/0!
0B | 0 | 0 | 3 | 0.0296 | 0.0001 | 100 | 5 | 0.16352 | 0.12665 | 10 | 0.02 |  |  |  |  | 0.016352 | 0.012665 | 0 | #DIV/0! | -55.2421 |  | #DIV/0!
0C | 0 | 0 | 3 | 0.0293 | 0.0001 | 100 | 5 | 0.13873 | 0.12665 | 10 | 0.02 |  |  |  |  | 0.013873 | 0.012665 | 0 | #DIV/0! | -47.3474 |  | #DIV/0!
10A | 0.0158 | 0.0001 | 3 | 0.0292 | 0.0001 | 100 | 5 | 0.69031 | 0.12664 | 10 | 0.02 |  |  |  |  | 0.069031 | 0.012665 | 5.3988 | 0.034229 | -51.5177 |  | -0.27864
10B | 0.0158 | 0.0001 | 3 | 0.0303 | 0.0001 | 100 | 5 | 0.71372 | 0.12664 | 10 | 0.02 |  |  |  |  | 0.071372 | 0.012665 | 5.3988 | 0.034229 | -57.3725 |  | -0.322
10C | 0.0158 | 0.0001 | 3 | 0.0294 | 0.0001 | 100 | 5 | 0.7451 | 0.12664 | 10 | 0.02 |  |  |  |  | 0.07451 | 0.012665 | 5.3988 | 0.034229 | -69.8024 |  | -0.38012
50A | 0.0792 | 0.0001 | 3 | 0.0296 | 0.0001 | 100 | 5 | 2.762 | 0.12662 | 10 | 0.02 |  |  |  |  | 0.2762 | 0.012674 | 27.0624 | 0.035638 | -18.8291 |  | -0.020595
50B | 0.0792 | 0.0001 | 3 | 0.0305 | 0.0001 | 100 | 5 | 2.9259 | 0.12662 | 10 | 0.02 |  |  |  |  | 0.29259 | 0.012676 | 27.0624 | 0.035638 | -72.0203 |  | -0.081169
50C | 0.0792 | 0.0001 | 3 | 0.0296 | 0.0001 | 100 | 5 | 2.9671 | 0.12662 | 10 | 0.02 |  |  |  |  | 0.29671 | 0.012676 | 27.0624 | 0.035638 | -88.1454 |  | -0.096411
100A | 0.158 | 0.001 | 3 | 0.0304 | 0.0001 | 100 | 5 | 5.7931 | 0.12659 | 10 | 0.02 |  |  |  |  | 0.57931 | 0.012712 | 53.988 | 0.34229 | -129.7083 |  | -0.073037
100B | 0.158 | 0.001 | 3 | 0.0299 | 0.0001 | 100 | 5 | 5.9479 | 0.12659 | 10 | 0.02 |  |  |  |  | 0.59479 | 0.012715 | 53.988 | 0.34229 | -183.6532 |  | -0.10171
100C | 0.158 | 0.001 | 3 | 0.0298 | 0.0001 | 100 | 5 | 5.3762 | 0.1266 | 10 | 0.02 |  |  |  |  | 0.53762 | 0.012705 | 53.988 | 0.34229 | 7.591 |  | 0.0041901
250A | 0.396 | 0.001 | 3 | 0.0306 | 0.0001 | 100 | 5 | 13.5811 | 0.12652 | 10 | 0.02 |  |  |  |  | 1.3581 | 0.01294 | 135.3118 | 0.34543 | -16.3256 |  | -0.0036919
250B | 0.396 | 0.001 | 3 | 0.0302 | 0.0001 | 100 | 5 | 14.167 | 0.12652 | 10 | 0.02 |  |  |  |  | 1.4167 | 0.012965 | 135.3118 | 0.34543 | -210.5306 |  | -0.046988
250C | 0.396 | 0.001 | 3.01 | 0.0303 | 0.0001 | 100 | 5 | 14.0939 | 0.12652 | 10 | 0.02 |  |  |  |  | 1.4094 | 0.012962 | 135.3118 | 0.34543 | -185.7095 |  | -0.041585
500A | 0.792 | 0.001 | 3 | 0.0296 | 0.0001 | 100 | 5 | 28.2999 | 0.1264 | 10 | 0.02 |  |  |  |  | 2.83 | 0.013849 | 270.6235 | 0.35638 | -418.0802 |  | -0.045728
500B | 0.792 | 0.001 | 3 | 0.0295 | 0.0001 | 100 | 5 | 27.5179 | 0.1264 | 10 | 0.02 |  |  |  |  | 2.7518 | 0.013787 | 270.6235 | 0.35638 | -154.4317 |  | -0.016834
500C | 0.792 | 0.001 | 3 | 0.0304 | 0.0001 | 100 | 5 | 27.9738 | 0.1264 | 10 | 0.02 |  |  |  |  | 2.7974 | 0.013823 | 270.6235 | 0.35638 | -299.8237 |  | -0.03368

## Averaged Results
Sample | Cw (Bq/mL) | sCw (Bq/mL) | Cs (Bq/g) | sCs (Bq/g) | TotAct | fSorb | sfsorb | pH | spH
0 | 0.014777 | 0.0013689 | -49.6125 | 4.9062 | 0 | #DIV/0! |  | 3 | 0
10 | 0.071638 | 0.002749 | -59.5642 | 9.3373 | 5.3988 | -0.32692 | 0.050919 | 3 | 0
50 | 0.2885 | 0.010853 | -59.6649 | 36.2723 | 27.0624 | -0.066058 | 0.040103 | 3 | 0
100 | 0.57057 | 0.029572 | -101.9235 | 98.6032 | 53.988 | -0.056853 | 0.054775 | 3 | 0
250 | 1.3947 | 0.031923 | -137.5219 | 105.6902 | 135.3118 | -0.030755 | 0.023593 | 3.0033 | 0.0057735
500 | 2.7931 | 0.039276 | -290.7785 | 132.0567 | 270.6235 | -0.032081 | 0.014513 | 3 | 0