## Parameters
Parameters | Value | Error | Units | Notes
Experiment Date | 2016-04-04
Sample Volume | 100 | 0.172 | mL | Liquid volume
Mineral Type | Pyrite
Radium Stock Used | Ra_Stock_5
Stock Activity | 1438.3391 | 7.1917 | Bq/mL | Activity of stock used to add radium (note you should use the actual activity, not the counted activity)
Independent Cs? | FALSE

## Calibration Data
| Mean (CPM) | Error (CPM) | Scintillation Counter (cps) | Error (cps) | Gamma Counter (CPS) | Error (CPS) | Known Activity (uCi) | Known Activity (Bq) | Known-Average | Gamma Counter Calculated Activity | Scint Counter Calculated Activity (Bq) | Squared Actual Activity Variation from Average | Error (Bq)
Background | 69.2667 | 4.0713 | 1.1544 | 0.067855 | 0.0011574 |  | 0 | 0 |  |  | 0.24403 |  | 0.23936
RaStd_0.01mL | 213.5333 | 4.539 | 3.5589 | 0.075649 | 0.0034641 | 0.00061344 | 1.59e-05 | 0.5883 | 4187.7724 | -2.2499 | 0.77044 | 4187.7724 | 0.23926
RaStd_0.05mL | 851.3667 | 12.5306 | 14.1894 | 0.20884 | 0.0079815 | 0.00085145 | 7.95e-05 | 2.9415 | 3888.7447 | 1.1815 | 3.0978 | 3888.7447 | 0.23882
RaStd_0.1mL | 1635.7 | 32.621 | 27.2617 | 0.54368 | 0.012604 | 0.00093201 | 0.000159 | 5.883 | 3530.5344 | 4.6928 | 5.9598 | 3530.5344 | 0.2383
RaStd_0.5mL | 7998.8333 | 50.2341 | 133.3139 | 0.83724 | 0.05022 | 0.0025444 | 0.000795 | 29.415 | 1287.8265 | 33.2654 | 29.1781 | 1287.8265 | 0.23497
RaStd_1mL | 16057.1333 | 53.5133 | 267.6189 | 0.89189 | 0.094873 | 0.0029522 | 0.00159 | 58.83 | 41.8777 | 67.1831 | 58.5818 | 41.8777 | 0.23305
RaStd_5mL | 80635.3 | 80.455 | 1343.9217 | 1.3409 | 0.3905 | 0.0056159 | 0.00795 | 294.15 | 52371.7275 | 291.7368 | 294.2199 | 52371.7275 | 0.30267
65308.4831
Scintillation Counter
SUMMARY OUTPUT | Counter CPS->Activity (Bq) | DOES NOT INCLUDE BACKGROUND | [7 empty] | Scintillation Counter
[10 empty] | Activity (Bq) - > Counter CPS |  | DOES NOT INCLUDE BACKGROUND | [7 empty] | SUMMARY OUTPUT
Regression Statistics
Multiple R | 1 | [8 empty] | SUMMARY OUTPUT | [9 empty] | Regression Statistics
R Square | 1 | [18 empty] | Multiple R | 1
Adjusted R Square | 1 | [8 empty] | Regression Statistics | [9 empty] | R Square | 1
Standard Error | 0.2157 | [8 empty] | Multiple R | 1 | [8 empty] | Adjusted R Square | 1
Observations | 6 | [8 empty] | R Square | 1 | [8 empty] | Standard Error | 0.21658
[10 empty] | Adjusted R Square | 1 | [8 empty] | Observations | 7
ANOVA | [9 empty] | Standard Error | 0.98522 | Std dev of residuals
| df | SS | MS | F | Significance F |  |  |  |  | Observations | 6 | [8 empty] | ANOVA
Regression | 1 | 65308.297 | 65308.297 | 1403732.1259 | 3.045e-12 | [15 empty] | df | SS | MS | F | Significance F
Residual | 4 | 0.1861 | 0.046525 | [6 empty] | ANOVA | [9 empty] | Regression | 1 | 68963.3284 | 68963.3284 | 1470245.4671 | 7.2415e-15
Total | 5 | 65308.4831 | [8 empty] | df |  | SS | MS | F | Significance F |  |  |  | Residual | 5 | 0.23453 | 0.046906
[10 empty] | Regression | 1 |  | 1362535.4424 | 1362535.4424 | 1403732.1259 | 3.045e-12 |  |  |  | Total | 6 | 68963.563
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Residual | 4 |  | 3.8826 | 0.97065
Intercept | -0.0085291 | 0.10389 | -0.082099 | 0.93851 | -0.29697 | 0.27991 | -0.29697 | 0.27991 |  | Total | 5 |  | 1362539.325 | [7 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
X Variable 1 | 0.21893 | 0.00018479 | 1184.792 | 3.045e-12 | 0.21842 | 0.21945 | 0.21842 | 0.21945 | [11 empty] | Intercept | -0.054483 | 0.093999 | -0.57961 | 0.58731 | -0.29612 | 0.18715 | -0.29612 | 0.18715
[11 empty] | Coefficients |  | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% | X Variable 1 | 0.21898 | 0.00018059 | 1212.5368 | 7.2415e-15 | 0.21851 | 0.21944 | 0.21851 | 0.21944
[10 empty] | Intercept | 0.039808 |  | 0.4745 | 0.083894 | 0.93717 | -1.2776 | 1.3572 | -1.2776 | 1.3572
[10 empty] | X Variable 1 | 4.5676 |  | 0.0038552 | 1184.792 | 3.045e-12 | 4.5569 | 4.5783 | 4.5569 | 4.5783
RESIDUAL OUTPUT
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | 0.77063 | -0.18233 | [7 empty] | RESIDUAL OUTPUT | [9 empty] | Observation | Predicted Y | Residuals
2 | 3.098 | -0.1565 | [17 empty] | 1 | 0.19831 | -0.19831
3 | 5.9599 | -0.076928 | [7 empty] | Observation | Predicted Y |  | Residuals | Residual Squared | [5 empty] | 2 | 0.72483 | -0.13653
4 | 29.1782 | 0.23683 | [7 empty] | 1 | 2.7269 |  | 0.83196 | 0.69215 | [5 empty] | 3 | 3.0527 | -0.11116
5 | 58.5819 | 0.24813 | [7 empty] | 2 | 13.4754 |  | 0.71401 | 0.50981 | [5 empty] | 4 | 5.9152 | -0.032153
6 | 294.2192 | -0.069209 | [7 empty] | 3 | 26.9111 |  | 0.3506 | 0.12292 | [5 empty] | 5 | 29.138 | 0.27701
6 | 1343.6026 | 0.3191 | [7 empty] | 4 | 134.3961 |  | -1.0822 | 1.1711 | [5 empty] | 6 | 58.5475 | 0.28251
[10 empty] | 5 | 268.7524 |  | -1.1335 | 1.2848 | [5 empty] | 7 | 294.2314 | -0.081379
Parsons Gamma Counter | [9 empty] | 6 | 1343.6026 |  | 0.3191 | 0.10182
SUMMARY OUTPUT | Gamma Counter CPS->Bq
Regression Statistics
Multiple R | 0.99914
R Square | 0.99827
Adjusted R Square | 0.99793
Standard Error | 4.8787
Observations | 7
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 68844.5538 | 68844.5538 | 2892.4063 | 4.2029e-08
Residual | 5 | 119.0091 | 23.8018
Total | 6 | 68963.563
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | -4.8812 | 2.1635 | -2.2562 | 0.073704 | -10.4425 | 0.6802 | -10.4425 | 0.6802
X Variable 1 | 759.5896 | 14.1237 | 53.7811 | 4.2029e-08 | 723.2834 | 795.8958 | 723.2834 | 795.8958
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | -4.002 | 4.002
2 | -2.2499 | 2.8382
3 | 1.1815 | 1.76
4 | 4.6928 | 1.1902
5 | 33.2654 | -3.8504
6 | 67.1831 | -8.3531
7 | 291.7368 | 2.4132

## Scintillation Counter Results
Date | Sample | CPM | % Error | Lumex % | Elapsed Time
2016-05-12 10:29 | 0A | 79.5 | 7.09 | 0.12 | 10.53
2016-05-12 10:29 | 0B | 102.9 | 6.23 | 0.08 | 21.14
2016-05-12 10:29 | 0C | 76.4 | 7.24 | 0.09 | 31.74
2016-05-12 10:29 | 10A | 336.2 | 3.45 | 0.02 | 42.37
2016-05-12 10:29 | 10B | 298.4 | 3.66 | 0.03 | 52.99
2016-05-12 10:29 | 10C | 320.1 | 3.53 | 0.02 | 63.62
2016-05-12 10:29 | 50A | 1163 | 1.85 | 0.01 | 74.24
2016-05-12 10:29 | 50B | 1191.3 | 1.83 | 0.01 | 84.86
2016-05-12 10:29 | 50C | 1135.5 | 1.88 | 0.01 | 95.48
2016-05-12 10:29 | 100A | 2266.7 | 1.33 | 0 | 106.12
2016-05-12 10:29 | 100B | 2310.5 | 1.32 | 0 | 116.75
2016-05-12 10:29 | 100C | 2302 | 1.32 | 0 | 127.38
2016-05-12 10:29 | 250A | 5560.9 | 0.85 | 0 | 138.13
2016-05-12 10:29 | 250B | 5704.7 | 0.84 | 0 | 148.78
2016-05-12 10:29 | 250C | 5946.5 | 0.82 | 0 | 159.43
2016-05-12 10:29 | 500A | 11582.9 | 0.59 | 0 | 170.1
2016-05-12 10:29 | 500B | 11649.9 | 0.59 | 0 | 180.79
2016-05-12 10:29 | 500C | 11594.9 | 0.59 | 0 | 191.45
2016-05-15 14:02 | 0A | 77 | 7.21 | 0.11 | 10.52
2016-05-15 14:02 | 0B | 106.6 | 6.13 | 0.07 | 21.14
2016-05-15 14:02 | 0C | 78.3 | 7.15 | 0.1 | 31.74
2016-05-15 14:02 | 10A | 330.4 | 3.48 | 0.03 | 42.36
2016-05-15 14:02 | 10B | 281.8 | 3.77 | 0.04 | 52.99
2016-05-15 14:02 | 10C | 312.5 | 3.58 | 0.03 | 63.61
2016-05-15 14:02 | 50A | 1153.2 | 1.86 | 0.01 | 74.24
2016-05-15 14:02 | 50B | 1169 | 1.85 | 0.01 | 84.86
2016-05-15 14:02 | 50C | 1127.9 | 1.88 | 0.01 | 95.5
2016-05-15 14:02 | 100A | 2251 | 1.33 | 0 | 106.11
2016-05-15 14:02 | 100B | 2315 | 1.31 | 0 | 116.75
2016-05-15 14:02 | 100C | 2306.7 | 1.32 | 0 | 127.38
2016-05-15 14:02 | 250A | 5341.2 | 0.87 | 0 | 138.14
2016-05-15 14:02 | 250B | 5624.4 | 0.84 | 0 | 148.77
2016-05-15 14:02 | 250C | 5751.7 | 0.83 | 0 | 159.43
2016-05-15 14:02 | 500A | 11441.4 | 0.59 | 0 | 170.1
2016-05-15 14:02 | 500B | 11426.7 | 0.59 | 0 | 180.77
2016-05-15 14:02 | 500C | 11318.5 | 0.59 | 0 | 191.45
2016-05-16 13:00 | 0A | 78.4 | 7.14 | 0.07 | 10.5
2016-05-16 13:00 | 0B | 106.2 | 6.14 | 0.07 | 21.12
2016-05-16 13:00 | 0C | 71 | 7.51 | 0.11 | 31.72
2016-05-16 13:00 | 10A | 328.8 | 3.49 | 0.03 | 42.35
2016-05-16 13:00 | 10B | 289.1 | 3.72 | 0.032 | 52.98
2016-05-16 13:00 | 10C | 296.6 | 3.67 | 0.03 | 63.6
2016-05-16 13:00 | 50A | 1136.6 | 1.88 | 0.01 | 74.23
2016-05-16 13:00 | 50B | 1177.5 | 1.84 | 0.01 | 84.84
2016-05-16 13:00 | 50C | 1115 | 1.89 | 0.01 | 95.48
2016-05-16 13:00 | 100A | 2247.5 | 1.33 | 0 | 106.1
2016-05-16 13:00 | 100B | 2296.9 | 1.32 | 0 | 116.73
2016-05-16 13:00 | 100C | 2288 | 1.32 | 0 | 127.38
2016-05-16 13:00 | 250A | 5419.4 | 0.86 | 0 | 138.13
2016-05-16 13:00 | 250B | 5543.3 | 0.85 | 0 | 148.78
2016-05-16 13:00 | 250C | 5788.4 | 0.83 | 0 | 159.43
2016-05-16 13:00 | 500A | 11391.6 | 0.59 | 0 | 170.1
2016-05-16 13:00 | 500B | 11349.6 | 0.59 | 0 | 180.79
2016-05-16 13:00 | 500C | 11255.1 | 0.6 | 0 | 191.45

## Count->Actual Activity
Sample ID | Phase | Counts (cps) | Error (cps) | Calibration Method | Activity (Bq) | Activity Error (Bq)
0A | Water | 1.305 | 0.093264 | Scintillation Counter | 0.27718 | 0.23298
0B | Water | 1.7539 | 0.10816 | Scintillation Counter | 0.37545 | 0.23298
0C | Water | 1.2539 | 0.091534 | Scintillation Counter | 0.26599 | 0.23298
10A | Water | 5.53 | 0.19208 | Scintillation Counter | 1.2022 | 0.23298
10B | Water | 4.8294 | 0.17949 | Scintillation Counter | 1.0488 | 0.23298
10C | Water | 5.1622 | 0.1855 | Scintillation Counter | 1.1216 | 0.23298
50A | Water | 19.1822 | 0.35743 | Scintillation Counter | 4.1911 | 0.23298
50B | Water | 19.6544 | 0.36164 | Scintillation Counter | 4.2945 | 0.23298
50C | Water | 18.7689 | 0.35348 | Scintillation Counter | 4.1006 | 0.23298
100A | Water | 37.5844 | 0.49987 | Scintillation Counter | 8.2199 | 0.23298
100B | Water | 38.4578 | 0.50636 | Scintillation Counter | 8.4111 | 0.23298
100C | Water | 38.315 | 0.50576 | Scintillation Counter | 8.3799 | 0.23298
250A | Water | 90.675 | 0.7798 | Scintillation Counter | 19.8431 | 0.23301
250B | Water | 93.7356 | 0.7905 | Scintillation Counter | 20.5132 | 0.23301
250C | Water | 97.1478 | 0.80309 | Scintillation Counter | 21.2602 | 0.23301
500A | Water | 191.1994 | 1.1281 | Scintillation Counter | 41.8512 | 0.23311
500B | Water | 191.2567 | 1.1284 | Scintillation Counter | 41.8637 | 0.23311
500C | Water | 189.825 | 1.1263 | Scintillation Counter | 41.5503 | 0.2331
0_A | Solid
0_B | Solid
0_C | Solid
5_A | Solid
5_B | Solid
5_C | Solid
10_A | Solid
10_B | Solid
10_C | Solid
50_A | Solid
50_B | Solid
50_C | Solid
100_A | Solid
100_B | Solid
100_C | Solid
500_A | Solid
500_B | Solid
500_C | Solid

## Bottle Results
Sample ID | Stock Volume Added (mL) | Stock Vol Err (mL) | Final pH | Mineral Mass (g) | Mineral Mass Error (g) | Total Volume (mL) | Total Volume Error (mL) | Solution counts (Bq) | Solution Counts error (Bq) | Counted Solution Vol (mL) | Counted Solution Vol error (mL) | Solid Counts (Bq) | Solid Counts Error (Bq) | Counted Solid Mass (g) | Counted Solid Mass error (g) | Cw (Bq/mL) | dCw (Bq/mL) | Total Activity (Bq) | dTotal Activity (Bq) | Cs (Bq/g) | dCs (Bq/g) | fSorb
0A | 0 | 0 | 2.99 | 0.04 | 0.001 | 100 | 5 | 0.27718 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.027718 | 0.023298 | 0 | #DIV/0! | -69.2944 |  | #DIV/0!
0B | 0 | 0 | 2.99 | 0.04 | 0.001 | 100 | 5 | 0.37545 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.037545 | 0.023298 | 0 | #DIV/0! | -93.8634 |  | #DIV/0!
0C | 0 | 0 | 3 | 0.043 | 0.001 | 100 | 5 | 0.26599 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.026599 | 0.023298 | 0 | #DIV/0! | -61.8576 |  | #DIV/0!
10A | 0.00695 | 1e-05 | 2.98 | 0.036 | 0.001 | 100 | 5 | 1.2022 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.12022 | 0.023299 | 9.9965 | 0.052011 | -56.2556 |  | -0.20259
10B | 0.00695 | 1e-05 | 3 | 0.042 | 0.001 | 100 | 5 | 1.0488 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.10488 | 0.023299 | 9.9965 | 0.052011 | -11.7015 |  | -0.049164
10C | 0.00695 | 1e-05 | 3 | 0.043 | 0.001 | 100 | 5 | 1.1216 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.11216 | 0.023299 | 9.9965 | 0.052011 | -28.3725 |  | -0.12205
50A | 0.0348 | 0.0001 | 3 | 0.043 | 0.001 | 100 | 5 | 4.1911 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.41911 | 0.023313 | 50.0542 | 0.28866 | 189.3821 |  | 0.16269
50B | 0.0348 | 0.0001 | 3 | 0.039 | 0.001 | 100 | 5 | 4.2945 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.42945 | 0.023314 | 50.0542 | 0.28866 | 182.297 |  | 0.14204
50C | 0.0348 | 0.0001 | 3.01 | 0.045 | 0.001 | 100 | 5 | 4.1006 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.41006 | 0.023312 | 50.0542 | 0.28866 | 201.0744 |  | 0.18077
100A | 0.0695 | 0.0001 | 3 | 0.036 | 0.001 | 100 | 5 | 8.2199 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.82199 | 0.023356 | 99.9646 | 0.52011 | 493.4835 |  | 0.17772
100B | 0.0695 | 0.0001 | 3 | 0.048 | 0.001 | 100 | 5 | 8.4111 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.84111 | 0.023359 | 99.9646 | 0.52011 | 330.2791 |  | 0.15859
100C | 0.0695 | 0.0001 | 3.01 | 0.037 | 0.001 | 100 | 5 | 8.3799 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.83799 | 0.023359 | 99.9646 | 0.52011 | 436.9185 |  | 0.16172
250A | 0.174 | 0.001 | 3 | 0.035 | 0.001 | 100 | 5 | 19.8431 | 0.23301 | 10 | 0.02 |  |  |  |  | 1.9843 | 0.023636 | 250.271 | 1.9065 | 1481.1291 |  | 0.20713
250B | 0.174 | 0.001 | 3 | 0.046 | 0.001 | 100 | 5 | 20.5132 | 0.23301 | 10 | 0.02 |  |  |  |  | 2.0513 | 0.023659 | 250.271 | 1.9065 | 981.2821 |  | 0.18036
250C | 0.174 | 0.001 | 2.98 | 0.043 | 0.001 | 100 | 5 | 21.2602 | 0.23301 | 10 | 0.02 |  |  |  |  | 2.126 | 0.023686 | 250.271 | 1.9065 | 876.0121 |  | 0.15051
500A | 0.348 | 0.001 | 2.98 | 0.036 | 0.001 | 100 | 5 | 41.8512 | 0.23311 | 10 | 0.02 |  |  |  |  | 4.1851 | 0.024768 | 500.542 | 2.8866 | 2278.6149 |  | 0.16388
500B | 0.348 | 0.001 | 3 | 0.036 | 0.001 | 100 | 5 | 41.8637 | 0.23311 | 10 | 0.02 |  |  |  |  | 4.1864 | 0.024769 | 500.542 | 2.8866 | 2275.135 |  | 0.16363
500C | 0.348 | 0.001 | 3 | 0.05 | 0.001 | 100 | 5 | 41.5503 | 0.2331 | 10 | 0.02 |  |  |  |  | 4.155 | 0.024747 | 500.542 | 2.8866 | 1700.7848 |  | 0.16989

## Averaged Results
Sample | Cw (Bq/mL) | sCw (Bq/mL) | Cs (Bq/g) | sCs (Bq/g) | TotAct | fSorb | sfsorb | pH | spH
0 | 0.030621 | 0.006023 | -75.0051 | 16.7497 | 0 | #DIV/0! |  | 2.9933 | 0.0057735
10 | 0.11242 | 0.0076719 | -32.1099 | 22.511 | 9.9965 | -0.1246 | 0.076746 | 2.9933 | 0.011547
50 | 0.41954 | 0.009701 | 190.9178 | 9.4825 | 50.0542 | 0.16183 | 0.019381 | 3.0033 | 0.0057735
100 | 0.8337 | 0.010256 | 420.227 | 82.8726 | 99.9646 | 0.16601 | 0.01026 | 3.0033 | 0.0083333
250 | 2.0539 | 0.07089 | 1112.8078 | 323.2892 | 250.271 | 0.17933 | 0.028325 | 2.9933 | 0.011547
500 | 4.1755 | 0.017746 | 2084.8449 | 332.6104 | 500.542 | 0.1658 | 0.0035453 | 2.9933 | 0.011547