## Parameters
Parameters | Value | Error | Units | Notes
Experiment Date | 2016-04-08
Sample Volume | 100 | 0.172 | mL | Liquid volume
Mineral Type | Pyrite
Radium Stock Used | Ra_Stock_5
Stock Activity | 1438.3391 | 7.1917 | Bq/mL | Activity of stock used to add radium (note you should use the actual activity, not the counted activity)
Independent Cs? | FALSE

## Calibration Data
| Mean (CPM) | Error (CPM) | Scintillation Counter (cps) | Error (cps) | Gamma Counter (CPS) | Error (CPS) | Known Activity (uCi) | Known Activity (Bq) | Known-Average | Gamma Counter Calculated Activity | Scint Counter Calculated Activity (Bq) | Squared Actual Activity Variation from Average | Error (Bq)
Background | 69.2667 | 4.0713 | 1.1544 | 0.067855 | 0.0011574 |  | 0 | 0 |  |  | 0.24403 |  | 0.23936
RaStd_0.01mL | 213.5333 | 4.539 | 3.5589 | 0.075649 | 0.0034641 | 0.00061344 | 1.59e-05 | 0.5883 | 4187.7724 | -2.2499 | 0.77044 | 4187.7724 | 0.23926
RaStd_0.05mL | 851.3667 | 12.5306 | 14.1894 | 0.20884 | 0.0079815 | 0.00085145 | 7.95e-05 | 2.9415 | 3888.7447 | 1.1815 | 3.0978 | 3888.7447 | 0.23882
RaStd_0.1mL | 1635.7 | 32.621 | 27.2617 | 0.54368 | 0.012604 | 0.00093201 | 0.000159 | 5.883 | 3530.5344 | 4.6928 | 5.9598 | 3530.5344 | 0.2383
RaStd_0.5mL | 7998.8333 | 50.2341 | 133.3139 | 0.83724 | 0.05022 | 0.0025444 | 0.000795 | 29.415 | 1287.8265 | 33.2654 | 29.1781 | 1287.8265 | 0.23497
RaStd_1mL | 16057.1333 | 53.5133 | 267.6189 | 0.89189 | 0.094873 | 0.0029522 | 0.00159 | 58.83 | 41.8777 | 67.1831 | 58.5818 | 41.8777 | 0.23305
RaStd_5mL | 80635.3 | 80.455 | 1343.9217 | 1.3409 | 0.3905 | 0.0056159 | 0.00795 | 294.15 | 52371.7275 | 291.7368 | 294.2199 | 52371.7275 | 0.30267
65308.4831
Scintillation Counter
SUMMARY OUTPUT | Counter CPS->Activity (Bq) | DOES NOT INCLUDE BACKGROUND | [7 empty] | Scintillation Counter
[10 empty] | Activity (Bq) - > Counter CPS |  | DOES NOT INCLUDE BACKGROUND | [7 empty] | SUMMARY OUTPUT
Regression Statistics
Multiple R | 1 | [8 empty] | SUMMARY OUTPUT | [9 empty] | Regression Statistics
R Square | 1 | [18 empty] | Multiple R | 1
Adjusted R Square | 1 | [8 empty] | Regression Statistics | [9 empty] | R Square | 1
Standard Error | 0.2157 | [8 empty] | Multiple R | 1 | [8 empty] | Adjusted R Square | 1
Observations | 6 | [8 empty] | R Square | 1 | [8 empty] | Standard Error | 0.21658
[10 empty] | Adjusted R Square | 1 | [8 empty] | Observations | 7
ANOVA | [9 empty] | Standard Error | 0.98522 | Std dev of residuals
| df | SS | MS | F | Significance F |  |  |  |  | Observations | 6 | [8 empty] | ANOVA
Regression | 1 | 65308.297 | 65308.297 | 1403732.1259 | 3.045e-12 | [15 empty] | df | SS | MS | F | Significance F
Residual | 4 | 0.1861 | 0.046525 | [6 empty] | ANOVA | [9 empty] | Regression | 1 | 68963.3284 | 68963.3284 | 1470245.4671 | 7.2415e-15
Total | 5 | 65308.4831 | [8 empty] | df |  | SS | MS | F | Significance F |  |  |  | Residual | 5 | 0.23453 | 0.046906
[10 empty] | Regression | 1 |  | 1362535.4424 | 1362535.4424 | 1403732.1259 | 3.045e-12 |  |  |  | Total | 6 | 68963.563
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Residual | 4 |  | 3.8826 | 0.97065
Intercept | -0.0085291 | 0.10389 | -0.082099 | 0.93851 | -0.29697 | 0.27991 | -0.29697 | 0.27991 |  | Total | 5 |  | 1362539.325 | [7 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
X Variable 1 | 0.21893 | 0.00018479 | 1184.792 | 3.045e-12 | 0.21842 | 0.21945 | 0.21842 | 0.21945 | [11 empty] | Intercept | -0.054483 | 0.093999 | -0.57961 | 0.58731 | -0.29612 | 0.18715 | -0.29612 | 0.18715
[11 empty] | Coefficients |  | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% | X Variable 1 | 0.21898 | 0.00018059 | 1212.5368 | 7.2415e-15 | 0.21851 | 0.21944 | 0.21851 | 0.21944
[10 empty] | Intercept | 0.039808 |  | 0.4745 | 0.083894 | 0.93717 | -1.2776 | 1.3572 | -1.2776 | 1.3572
[10 empty] | X Variable 1 | 4.5676 |  | 0.0038552 | 1184.792 | 3.045e-12 | 4.5569 | 4.5783 | 4.5569 | 4.5783
RESIDUAL OUTPUT
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | 0.77063 | -0.18233 | [7 empty] | RESIDUAL OUTPUT | [9 empty] | Observation | Predicted Y | Residuals
2 | 3.098 | -0.1565 | [17 empty] | 1 | 0.19831 | -0.19831
3 | 5.9599 | -0.076928 | [7 empty] | Observation | Predicted Y |  | Residuals | Residual Squared | [5 empty] | 2 | 0.72483 | -0.13653
4 | 29.1782 | 0.23683 | [7 empty] | 1 | 2.7269 |  | 0.83196 | 0.69215 | [5 empty] | 3 | 3.0527 | -0.11116
5 | 58.5819 | 0.24813 | [7 empty] | 2 | 13.4754 |  | 0.71401 | 0.50981 | [5 empty] | 4 | 5.9152 | -0.032153
6 | 294.2192 | -0.069209 | [7 empty] | 3 | 26.9111 |  | 0.3506 | 0.12292 | [5 empty] | 5 | 29.138 | 0.27701
6 | 1343.6026 | 0.3191 | [7 empty] | 4 | 134.3961 |  | -1.0822 | 1.1711 | [5 empty] | 6 | 58.5475 | 0.28251
[10 empty] | 5 | 268.7524 |  | -1.1335 | 1.2848 | [5 empty] | 7 | 294.2314 | -0.081379
Parsons Gamma Counter | [9 empty] | 6 | 1343.6026 |  | 0.3191 | 0.10182
SUMMARY OUTPUT | Gamma Counter CPS->Bq
Regression Statistics
Multiple R | 0.99914
R Square | 0.99827
Adjusted R Square | 0.99793
Standard Error | 4.8787
Observations | 7
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 68844.5538 | 68844.5538 | 2892.4063 | 4.2029e-08
Residual | 5 | 119.0091 | 23.8018
Total | 6 | 68963.563
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | -4.8812 | 2.1635 | -2.2562 | 0.073704 | -10.4425 | 0.6802 | -10.4425 | 0.6802
X Variable 1 | 759.5896 | 14.1237 | 53.7811 | 4.2029e-08 | 723.2834 | 795.8958 | 723.2834 | 795.8958
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | -4.002 | 4.002
2 | -2.2499 | 2.8382
3 | 1.1815 | 1.76
4 | 4.6928 | 1.1902
5 | 33.2654 | -3.8504
6 | 67.1831 | -8.3531
7 | 291.7368 | 2.4132

## Scintillation Counter Results
Date | Sample | CPM | % Error | Lumex % | Elapsed Time
2016-05-12 10:29 | 0A | 103.3 | 6.22 | 0.09 | 202.07
2016-05-12 10:29 | 0B | 79.5 | 7.09 | 0.11 | 212.71
2016-05-12 10:29 | 0C | 89.5 | 6.69 | 0.1 | 223.34
2016-05-12 10:29 | 10A | 268.6 | 3.86 | 0.03 | 233.97
2016-05-12 10:29 | 10B | 282.1 | 3.77 | 0.03 | 244.61
2016-05-12 10:29 | 10C | 284 | 3.75 | 0.02 | 255.24
2016-05-12 10:29 | 50A | 1139.1 | 1.87 | 0.01 | 265.96
2016-05-12 10:29 | 50B | 1156.1 | 1.86 | 0.01 | 276.59
2016-05-12 10:29 | 50C | 1186.7 | 1.84 | 0.01 | 287.23
2016-05-12 10:29 | 100A | 2244.9 | 1.33 | 0 | 297.87
2016-05-12 10:29 | 100B | 2270.5 | 1.33 | 0 | 308.5
2016-05-12 10:29 | 100C | 2222.9 | 1.34 | 0 | 319.15
2016-05-12 10:29 | 250A | 5654.1 | 0.84 | 0 | 329.8
2016-05-12 10:29 | 250B | 5477.7 | 0.85 | 0 | 340.44
2016-05-12 10:29 | 250C | 5581.4 | 0.85 | 0 | 351.1
2016-05-12 10:29 | 500A | 10696.2 | 0.61 | 0 | 361.77
2016-05-12 10:29 | 500B | 10663 | 0.61 | 0 | 372.43
2016-05-12 10:29 | 500C | 10513.5 | 0.62 | 0 | 383.1
2016-05-15 14:02 | 0A | 96.4 | 6.44 | 0.11 | 202.08
2016-05-15 14:02 | 0B | 82.2 | 6.98 | 0.09 | 212.69
2016-05-15 14:02 | 0C | 84.3 | 6.89 | 0.09 | 223.32
2016-05-15 14:02 | 10A | 272.8 | 3.83 | 0.03 | 233.94
2016-05-15 14:02 | 10B | 282 | 3.77 | 0.03 | 244.58
2016-05-15 14:02 | 10C | 302.5 | 3.64 | 0.03 | 255.21
2016-05-15 14:02 | 50A | 1142.1 | 1.87 | 0.01 | 265.94
2016-05-15 14:02 | 50B | 1144.2 | 1.87 | 0.01 | 276.57
2016-05-15 14:02 | 50C | 1178.9 | 1.84 | 0.01 | 287.21
2016-05-15 14:02 | 100A | 2196.2 | 1.35 | 0 | 297.85
2016-05-15 14:02 | 100B | 2205 | 1.35 | 0 | 308.48
2016-05-15 14:02 | 100C | 2180.4 | 1.35 | 0 | 319.11
2016-05-15 14:02 | 250A | 5547.1 | 0.85 | 0 | 329.76
2016-05-15 14:02 | 250B | 5360.7 | 0.86 | 0 | 340.41
2016-05-15 14:02 | 250C | 5502.7 | 0.85 | 0 | 351.04
2016-05-15 14:02 | 500A | 10416.4 | 0.62 | 0 | 361.71
2016-05-15 14:02 | 500B | 10464.1 | 0.62 | 0 | 372.38
2016-05-15 14:02 | 500C | 10405.5 | 0.62 | 0 | 383.04
2016-05-16 13:00 | 0A | 94.1 | 6.52 | 0.08 | 202.07
2016-05-16 13:00 | 0B | 80.4 | 7.05 | 0.09 | 212.71
2016-05-16 13:00 | 0C | 84.7 | 6.87 | 0.1 | 223.34
2016-05-16 13:00 | 10A | 266.6 | 3.87 | 0.03 | 233.97
2016-05-16 13:00 | 10B | 276.4 | 3.8 | 0.03 | 244.61
2016-05-16 13:00 | 10C | 283.2 | 3.76 | 0.03 | 255.24
2016-05-16 13:00 | 50A | 1130 | 1.88 | 0.01 | 265.98
2016-05-16 13:00 | 50B | 1116.3 | 1.89 | 0.01 | 276.61
2016-05-16 13:00 | 50C | 1151.9 | 1.86 | 0.01 | 287.25
2016-05-16 13:00 | 100A | 2188.4 | 1.35 | 0 | 297.88
2016-05-16 13:00 | 100B | 2134.7 | 1.37 | 0 | 308.53
2016-05-16 13:00 | 100C | 2142.3 | 1.37 | 0 | 319.17
2016-05-16 13:00 | 250A | 5497 | 0.85 | 0 | 329.81
2016-05-16 13:00 | 250B | 5333.2 | 0.87 | 0 | 340.46
2016-05-16 13:00 | 250C | 5445.9 | 0.86 | 0 | 351.12
2016-05-16 13:00 | 500A | 10396.4 | 0.62 | 0 | 361.79
2016-05-16 13:00 | 500B | 10552.3 | 0.62 | 0 | 372.46
2016-05-16 13:00 | 500C | 10413.4 | 0.62 | 0 | 383.13

## Count->Actual Activity
Sample ID | Phase | Counts (cps) | Error (cps) | Calibration Method | Activity (Bq) | Activity Error (Bq)
0A | Water | 1.6322 | 0.10435 | Scintillation Counter | 0.34882 | 0.23298
0B | Water | 1.345 | 0.094688 | Scintillation Counter | 0.28593 | 0.23298
0C | Water | 1.4361 | 0.097895 | Scintillation Counter | 0.30588 | 0.23298
10A | Water | 4.4889 | 0.17297 | Scintillation Counter | 0.97423 | 0.23298
10B | Water | 4.6694 | 0.1765 | Scintillation Counter | 1.0138 | 0.23298
10C | Water | 4.8317 | 0.17958 | Scintillation Counter | 1.0493 | 0.23298
50A | Water | 18.9511 | 0.35502 | Scintillation Counter | 4.1405 | 0.23298
50B | Water | 18.9811 | 0.35558 | Scintillation Counter | 4.147 | 0.23298
50C | Water | 19.5417 | 0.36087 | Scintillation Counter | 4.2698 | 0.23298
100A | Water | 36.8306 | 0.49476 | Scintillation Counter | 8.0549 | 0.23298
100B | Water | 36.7233 | 0.49577 | Scintillation Counter | 8.0314 | 0.23298
100C | Water | 36.3644 | 0.49213 | Scintillation Counter | 7.9528 | 0.23298
250A | Water | 92.7678 | 0.78543 | Scintillation Counter | 20.3013 | 0.23301
250B | Water | 89.8422 | 0.77264 | Scintillation Counter | 19.6608 | 0.23301
250C | Water | 91.8333 | 0.78364 | Scintillation Counter | 20.0967 | 0.23301
500A | Water | 175.05 | 1.0795 | Scintillation Counter | 38.3156 | 0.23309
500B | Water | 175.9967 | 1.0853 | Scintillation Counter | 38.5228 | 0.23309
500C | Water | 174.0689 | 1.0792 | Scintillation Counter | 38.1008 | 0.23308
0_A | Solid
0_B | Solid
0_C | Solid
5_A | Solid
5_B | Solid
5_C | Solid
10_A | Solid
10_B | Solid
10_C | Solid
50_A | Solid
50_B | Solid
50_C | Solid
100_A | Solid
100_B | Solid
100_C | Solid
500_A | Solid
500_B | Solid
500_C | Solid

## Bottle Results
Sample ID | Stock Volume Added (mL) | Stock Vol Err (mL) | Final pH | Mineral Mass (g) | Mineral Mass Error (g) | Total Volume (mL) | Total Volume Error (mL) | Solution counts (Bq) | Solution Counts error (Bq) | Counted Solution Vol (mL) | Counted Solution Vol error (mL) | Solid Counts (Bq) | Solid Counts Error (Bq) | Counted Solid Mass (g) | Counted Solid Mass error (g) | Cw (Bq/mL) | dCw (Bq/mL) | Total Activity (Bq) | dTotal Activity (Bq) | Cs (Bq/g) | dCs (Bq/g) | fSorb
0A | 0 | 0 | 5.04 | 43 | 1 | 100 | 5 | 0.34882 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.034882 | 0.023298 | 0 | #DIV/0! | -0.08112 |  | #DIV/0!
0B | 0 | 0 | 5.02 | 42 | 1 | 100 | 5 | 0.28593 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.028593 | 0.023298 | 0 | #DIV/0! | -0.06808 |  | #DIV/0!
0C | 0 | 0 | 5.03 | 38 | 1 | 100 | 5 | 0.30588 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.030588 | 0.023298 | 0 | #DIV/0! | -0.080495 |  | #DIV/0!
10A | 0.00695 | 1e-05 | 4.97 | 36 | 1 | 100 | 5 | 0.97423 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.097423 | 0.023299 | 9.9965 | 0.052011 | 0.007059 |  | 0.025421
10B | 0.00695 | 1e-05 | 5.05 | 42 | 1 | 100 | 5 | 1.0138 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.10138 | 0.023299 | 9.9965 | 0.052011 | -0.0033612 |  | -0.014122
10C | 0.00695 | 1e-05 | 5.05 | 35 | 1 | 100 | 5 | 1.0493 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.10493 | 0.023299 | 9.9965 | 0.052011 | -0.014181 |  | -0.04965
50A | 0.0348 | 0.0001 | 5 | 36 | 1 | 100 | 5 | 4.1405 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.41405 | 0.023313 | 50.0542 | 0.28866 | 0.24026 |  | 0.1728
50B | 0.0348 | 0.0001 | 4.96 | 35 | 1 | 100 | 5 | 4.147 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.4147 | 0.023313 | 50.0542 | 0.28866 | 0.24525 |  | 0.17149
50C | 0.0348 | 0.0001 | 5.01 | 37 | 1 | 100 | 5 | 4.2698 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.42698 | 0.023314 | 50.0542 | 0.28866 | 0.19882 |  | 0.14697
100A | 0.0695 | 0.0001 | 4.97 | 42 | 1 | 100 | 5 | 8.0549 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.80549 | 0.023354 | 99.9646 | 0.52011 | 0.46228 |  | 0.19423
100B | 0.0695 | 0.0001 | 5 | 48 | 1 | 100 | 5 | 8.0314 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.80314 | 0.023354 | 99.9646 | 0.52011 | 0.40939 |  | 0.19658
100C | 0.0695 | 0.0001 | 5.01 | 35 | 1 | 100 | 5 | 7.9528 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.79528 | 0.023353 | 99.9646 | 0.52011 | 0.5839 |  | 0.20444
250A | 0.174 | 0.001 | 5.04 | 34 | 1 | 100 | 5 | 20.3013 | 0.23301 | 10 | 0.02 |  |  |  |  | 2.0301 | 0.023652 | 250.271 | 1.9065 | 1.3899 |  | 0.18883
250B | 0.174 | 0.001 | 5.05 | 42 | 1 | 100 | 5 | 19.6608 | 0.23301 | 10 | 0.02 |  |  |  |  | 1.9661 | 0.02363 | 250.271 | 1.9065 | 1.2777 |  | 0.21442
250C | 0.174 | 0.001 | 5.02 | 33 | 1 | 100 | 5 | 20.0967 | 0.23301 | 10 | 0.02 |  |  |  |  | 2.0097 | 0.023645 | 250.271 | 1.9065 | 1.494 |  | 0.197
500A | 0.348 | 0.001 | 4.98 | 39 | 1 | 100 | 5 | 38.3156 | 0.23309 | 10 | 0.02 |  |  |  |  | 3.8316 | 0.024536 | 500.542 | 2.8866 | 3.0099 |  | 0.23452
500B | 0.348 | 0.001 | 5.06 | 49 | 1 | 100 | 5 | 38.5228 | 0.23309 | 10 | 0.02 |  |  |  |  | 3.8523 | 0.024549 | 500.542 | 2.8866 | 2.3533 |  | 0.23038
500C | 0.348 | 0.001 | 5 | 33 | 1 | 100 | 5 | 38.1008 | 0.23308 | 10 | 0.02 |  |  |  |  | 3.8101 | 0.024522 | 500.542 | 2.8866 | 3.6223 |  | 0.23881

## Averaged Results
Sample | Cw (Bq/mL) | sCw (Bq/mL) | Cs (Bq/g) | sCs (Bq/g) | TotAct | fSorb | sfsorb | pH | spH
0 | 0.031354 | 0.0032134 | -0.076565 | 0.0073552 | 0 | #DIV/0! |  | 5.03 | 0.01
10 | 0.10124 | 0.003754 | -0.0034943 | 0.010621 | 9.9965 | -0.012784 | 0.037554 | 5.0233 | 0.046188
50 | 0.41858 | 0.0072825 | 0.22811 | 0.025486 | 50.0542 | 0.16375 | 0.014549 | 4.99 | 0.026458
100 | 0.8013 | 0.0053445 | 0.48519 | 0.089481 | 99.9646 | 0.19841 | 0.0053464 | 4.9933 | 0.034278
250 | 2.002 | 0.032714 | 1.3872 | 0.10821 | 250.271 | 0.20008 | 0.013071 | 5.0367 | 0.015275
500 | 3.8313 | 0.021104 | 2.9952 | 0.63458 | 500.542 | 0.23457 | 0.0042162 | 5.0133 | 0.041633