## Parameters
Parameters | Value | Error | Units | Notes
Experiment Date | 2016-04-09
Sample Volume | 100 | 0.172 | mL | Liquid volume
Mineral Type | Pyrite
Radium Stock Used | Ra_Stock_5
Stock Activity | 1438.3391 | 7.1917 | Bq/mL | Activity of stock used to add radium (note you should use the actual activity, not the counted activity)
Independent Cs? | FALSE

## Calibration Data
| Mean (CPM) | Error (CPM) | Scintillation Counter (cps) | Error (cps) | Gamma Counter (CPS) | Error (CPS) | Known Activity (uCi) | Known Activity (Bq) | Known-Average | Gamma Counter Calculated Activity | Scint Counter Calculated Activity (Bq) | Squared Actual Activity Variation from Average | Error (Bq)
Background | 69.2667 | 4.0713 | 1.1544 | 0.067855 | 0.0011574 |  | 0 | 0 |  |  | 0.24403 |  | 0.23936
RaStd_0.01mL | 213.5333 | 4.539 | 3.5589 | 0.075649 | 0.0034641 | 0.00061344 | 1.59e-05 | 0.5883 | 4187.7724 | -2.2499 | 0.77044 | 4187.7724 | 0.23926
RaStd_0.05mL | 851.3667 | 12.5306 | 14.1894 | 0.20884 | 0.0079815 | 0.00085145 | 7.95e-05 | 2.9415 | 3888.7447 | 1.1815 | 3.0978 | 3888.7447 | 0.23882
RaStd_0.1mL | 1635.7 | 32.621 | 27.2617 | 0.54368 | 0.012604 | 0.00093201 | 0.000159 | 5.883 | 3530.5344 | 4.6928 | 5.9598 | 3530.5344 | 0.2383
RaStd_0.5mL | 7998.8333 | 50.2341 | 133.3139 | 0.83724 | 0.05022 | 0.0025444 | 0.000795 | 29.415 | 1287.8265 | 33.2654 | 29.1781 | 1287.8265 | 0.23497
RaStd_1mL | 16057.1333 | 53.5133 | 267.6189 | 0.89189 | 0.094873 | 0.0029522 | 0.00159 | 58.83 | 41.8777 | 67.1831 | 58.5818 | 41.8777 | 0.23305
RaStd_5mL | 80635.3 | 80.455 | 1343.9217 | 1.3409 | 0.3905 | 0.0056159 | 0.00795 | 294.15 | 52371.7275 | 291.7368 | 294.2199 | 52371.7275 | 0.30267
65308.4831
Scintillation Counter
SUMMARY OUTPUT | Counter CPS->Activity (Bq) | DOES NOT INCLUDE BACKGROUND | [7 empty] | Scintillation Counter
[10 empty] | Activity (Bq) - > Counter CPS |  | DOES NOT INCLUDE BACKGROUND | [7 empty] | SUMMARY OUTPUT
Regression Statistics
Multiple R | 1 | [8 empty] | SUMMARY OUTPUT | [9 empty] | Regression Statistics
R Square | 1 | [18 empty] | Multiple R | 1
Adjusted R Square | 1 | [8 empty] | Regression Statistics | [9 empty] | R Square | 1
Standard Error | 0.2157 | [8 empty] | Multiple R | 1 | [8 empty] | Adjusted R Square | 1
Observations | 6 | [8 empty] | R Square | 1 | [8 empty] | Standard Error | 0.21658
[10 empty] | Adjusted R Square | 1 | [8 empty] | Observations | 7
ANOVA | [9 empty] | Standard Error | 0.98522 | Std dev of residuals
| df | SS | MS | F | Significance F |  |  |  |  | Observations | 6 | [8 empty] | ANOVA
Regression | 1 | 65308.297 | 65308.297 | 1403732.1259 | 3.045e-12 | [15 empty] | df | SS | MS | F | Significance F
Residual | 4 | 0.1861 | 0.046525 | [6 empty] | ANOVA | [9 empty] | Regression | 1 | 68963.3284 | 68963.3284 | 1470245.4671 | 7.2415e-15
Total | 5 | 65308.4831 | [8 empty] | df |  | SS | MS | F | Significance F |  |  |  | Residual | 5 | 0.23453 | 0.046906
[10 empty] | Regression | 1 |  | 1362535.4424 | 1362535.4424 | 1403732.1259 | 3.045e-12 |  |  |  | Total | 6 | 68963.563
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Residual | 4 |  | 3.8826 | 0.97065
Intercept | -0.0085291 | 0.10389 | -0.082099 | 0.93851 | -0.29697 | 0.27991 | -0.29697 | 0.27991 |  | Total | 5 |  | 1362539.325 | [7 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
X Variable 1 | 0.21893 | 0.00018479 | 1184.792 | 3.045e-12 | 0.21842 | 0.21945 | 0.21842 | 0.21945 | [11 empty] | Intercept | -0.054483 | 0.093999 | -0.57961 | 0.58731 | -0.29612 | 0.18715 | -0.29612 | 0.18715
[11 empty] | Coefficients |  | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% | X Variable 1 | 0.21898 | 0.00018059 | 1212.5368 | 7.2415e-15 | 0.21851 | 0.21944 | 0.21851 | 0.21944
[10 empty] | Intercept | 0.039808 |  | 0.4745 | 0.083894 | 0.93717 | -1.2776 | 1.3572 | -1.2776 | 1.3572
[10 empty] | X Variable 1 | 4.5676 |  | 0.0038552 | 1184.792 | 3.045e-12 | 4.5569 | 4.5783 | 4.5569 | 4.5783
RESIDUAL OUTPUT
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | 0.77063 | -0.18233 | [7 empty] | RESIDUAL OUTPUT | [9 empty] | Observation | Predicted Y | Residuals
2 | 3.098 | -0.1565 | [17 empty] | 1 | 0.19831 | -0.19831
3 | 5.9599 | -0.076928 | [7 empty] | Observation | Predicted Y |  | Residuals | Residual Squared | [5 empty] | 2 | 0.72483 | -0.13653
4 | 29.1782 | 0.23683 | [7 empty] | 1 | 2.7269 |  | 0.83196 | 0.69215 | [5 empty] | 3 | 3.0527 | -0.11116
5 | 58.5819 | 0.24813 | [7 empty] | 2 | 13.4754 |  | 0.71401 | 0.50981 | [5 empty] | 4 | 5.9152 | -0.032153
6 | 294.2192 | -0.069209 | [7 empty] | 3 | 26.9111 |  | 0.3506 | 0.12292 | [5 empty] | 5 | 29.138 | 0.27701
6 | 1343.6026 | 0.3191 | [7 empty] | 4 | 134.3961 |  | -1.0822 | 1.1711 | [5 empty] | 6 | 58.5475 | 0.28251
[10 empty] | 5 | 268.7524 |  | -1.1335 | 1.2848 | [5 empty] | 7 | 294.2314 | -0.081379
Parsons Gamma Counter | [9 empty] | 6 | 1343.6026 |  | 0.3191 | 0.10182
SUMMARY OUTPUT | Gamma Counter CPS->Bq
Regression Statistics
Multiple R | 0.99914
R Square | 0.99827
Adjusted R Square | 0.99793
Standard Error | 4.8787
Observations | 7
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 68844.5538 | 68844.5538 | 2892.4063 | 4.2029e-08
Residual | 5 | 119.0091 | 23.8018
Total | 6 | 68963.563
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | -4.8812 | 2.1635 | -2.2562 | 0.073704 | -10.4425 | 0.6802 | -10.4425 | 0.6802
X Variable 1 | 759.5896 | 14.1237 | 53.7811 | 4.2029e-08 | 723.2834 | 795.8958 | 723.2834 | 795.8958
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | -4.002 | 4.002
2 | -2.2499 | 2.8382
3 | 1.1815 | 1.76
4 | 4.6928 | 1.1902
5 | 33.2654 | -3.8504
6 | 67.1831 | -8.3531
7 | 291.7368 | 2.4132

## Scintillation Counter Results
Date | Sample | CPM | % Error | Lumex % | Elapsed Time
2016-05-12 10:29 | 0A | 75.7 | 7.27 | 0.21 | 393.83
2016-05-12 10:29 | 0B | 71.1 | 7.5 | 0.25 | 404.47
2016-05-12 10:29 | 0C | 78.6 | 7.13 | 0.19 | 415.11
2016-05-12 10:29 | 10A | 259.3 | 3.93 | 0.07 | 425.75
2016-05-12 10:29 | 10B | 262.9 | 3.9 | 0.07 | 436.4
2016-05-12 10:29 | 10C | 277.6 | 3.8 | 0.07 | 447.04
2016-05-12 10:29 | 50A | 1057.1 | 1.95 | 0.02 | 457.66
2016-05-12 10:29 | 50B | 1068.9 | 1.93 | 0.02 | 468.32
2016-05-12 10:29 | 50C | 1068.8 | 1.93 | 0.01 | 478.95
2016-05-12 10:29 | 100A | 2021.1 | 1.41 | 0.01 | 489.61
2016-05-12 10:29 | 100B | 2113 | 1.38 | 0.01 | 500.24
2016-05-12 10:29 | 100C | 2099.9 | 1.38 | 0.01 | 510.89
2016-05-12 10:29 | 250A | 4777.4 | 0.92 | 0 | 521.65
2016-05-12 10:29 | 250B | 5286.9 | 0.87 | 0 | 532.3
2016-05-12 10:29 | 250C | 5220.2 | 0.88 | 0 | 542.95
2016-05-12 10:29 | 500A | 10177.6 | 0.63 | 0 | 553.62
2016-05-12 10:29 | 500B | 10041.8 | 0.63 | 0 | 564.3
2016-05-12 10:29 | 500C | 10039.1 | 0.63 | 0 | 574.97
2016-05-15 14:02 | 0A | 75.1 | 7.3 | 0.12 | 393.77
2016-05-15 14:02 | 0B | 77.4 | 7.19 | 0.11 | 404.39
2016-05-15 14:02 | 0C | 70.9 | 7.51 | 0.15 | 415.03
2016-05-15 14:02 | 10A | 259.2 | 3.93 | 0.03 | 425.65
2016-05-15 14:02 | 10B | 257.6 | 3.94 | 0.03 | 436.28
2016-05-15 14:02 | 10C | 273.8 | 3.82 | 0.09 | 446.92
2016-05-15 14:02 | 50A | 1041.4 | 1.96 | 0.01 | 457.56
2016-05-15 14:02 | 50B | 1064.6 | 1.94 | 0.01 | 468.2
2016-05-15 14:02 | 50C | 1065.8 | 1.94 | 0.01 | 478.81
2016-05-15 14:02 | 100A | 2048.3 | 1.4 | 0 | 489.45
2016-05-15 14:02 | 100B | 2122.2 | 1.37 | 0 | 500.08
2016-05-15 14:02 | 100C | 2073.5 | 1.39 | 0.02 | 510.73
2016-05-15 14:02 | 250A | 4746.4 | 0.92 | 0.01 | 521.5
2016-05-15 14:02 | 250B | 5181.2 | 0.88 | 0 | 532.14
2016-05-15 14:02 | 250C | 5177.1 | 0.88 | 0 | 542.79
2016-05-15 14:02 | 500A | 9997.8 | 0.63 | 0 | 553.46
2016-05-15 14:02 | 500B | 9897.2 | 0.64 | 0 | 564.13
2016-05-15 14:02 | 500C | 9970.3 | 0.63 | 0 | 574.81
2016-05-16 13:00 | 0A | 75.2 | 7.29 | 0.12 | 393.85
2016-05-16 13:00 | 0B | 72.8 | 7.41 | 0.16 | 404.48
2016-05-16 13:00 | 0C | 76.2 | 7.25 | 0.17 | 415.11
2016-05-16 13:00 | 10A | 249.1 | 4.01 | 0.04 | 425.75
2016-05-16 13:00 | 10B | 259.5 | 3.93 | 0.04 | 436.38
2016-05-16 13:00 | 10C | 274.8 | 3.82 | 0.09 | 447.02
2016-05-16 13:00 | 50A | 1056.7 | 1.95 | 0.01 | 457.66
2016-05-16 13:00 | 50B | 1070 | 1.93 | 0.01 | 468.29
2016-05-16 13:00 | 50C | 1061.7 | 1.94 | 0.01 | 478.91
2016-05-16 13:00 | 100A | 2018 | 1.41 | 0 | 489.55
2016-05-16 13:00 | 100B | 2068.1 | 1.39 | 0.01 | 500.2
2016-05-16 13:00 | 100C | 2049.9 | 1.4 | 0.02 | 510.85
2016-05-16 13:00 | 250A | 4730.3 | 0.92 | 0.01 | 521.62
2016-05-16 13:00 | 250B | 5143.2 | 0.88 | 0 | 532.26
2016-05-16 13:00 | 250C | 5203.1 | 0.88 | 0 | 542.91
2016-05-16 13:00 | 500A | 10083.4 | 0.63 | 0 | 553.58
2016-05-16 13:00 | 500B | 9889.7 | 0.64 | 0 | 564.26
2016-05-16 13:00 | 500C | 9879.3 | 0.64 | 0 | 574.94

## Count->Actual Activity
Sample ID | Phase | Counts (cps) | Error (cps) | Calibration Method | Activity (Bq) | Activity Error (Bq)
0A | Water | 1.2556 | 0.091488 | Scintillation Counter | 0.26635 | 0.23298
0B | Water | 1.2294 | 0.090569 | Scintillation Counter | 0.26064 | 0.23298
0C | Water | 1.2539 | 0.091492 | Scintillation Counter | 0.26599 | 0.23298
10A | Water | 4.2644 | 0.16873 | Scintillation Counter | 0.9251 | 0.23298
10B | Water | 4.3333 | 0.17001 | Scintillation Counter | 0.94018 | 0.23298
10C | Water | 4.59 | 0.17503 | Scintillation Counter | 0.99637 | 0.23298
50A | Water | 17.5289 | 0.3424 | Scintillation Counter | 3.8291 | 0.23298
50B | Water | 17.7972 | 0.34408 | Scintillation Counter | 3.8879 | 0.23298
50C | Water | 17.7572 | 0.3439 | Scintillation Counter | 3.8791 | 0.23298
100A | Water | 33.8189 | 0.47572 | Scintillation Counter | 7.3955 | 0.23298
100B | Water | 35.0183 | 0.48325 | Scintillation Counter | 7.6581 | 0.23298
100C | Water | 34.5739 | 0.48058 | Scintillation Counter | 7.5608 | 0.23298
250A | Water | 79.1894 | 0.72854 | Scintillation Counter | 17.3286 | 0.233
250B | Water | 86.7294 | 0.76033 | Scintillation Counter | 18.9793 | 0.233
250C | Water | 86.6689 | 0.76269 | Scintillation Counter | 18.9661 | 0.233
500A | Water | 168.1044 | 1.0591 | Scintillation Counter | 36.7949 | 0.23308
500B | Water | 165.715 | 1.0551 | Scintillation Counter | 36.2718 | 0.23307
500C | Water | 166.0483 | 1.0516 | Scintillation Counter | 36.3448 | 0.23307
0_A | Solid
0_B | Solid
0_C | Solid
5_A | Solid
5_B | Solid
5_C | Solid
10_A | Solid
10_B | Solid
10_C | Solid
50_A | Solid
50_B | Solid
50_C | Solid
100_A | Solid
100_B | Solid
100_C | Solid
500_A | Solid
500_B | Solid
500_C | Solid

## Bottle Results
Sample ID | Stock Volume Added (mL) | Stock Vol Err (mL) | Final pH | Mineral Mass (g) | Mineral Mass Error (g) | Total Volume (mL) | Total Volume Error (mL) | Solution counts (Bq) | Solution Counts error (Bq) | Counted Solution Vol (mL) | Counted Solution Vol error (mL) | Solid Counts (Bq) | Solid Counts Error (Bq) | Counted Solid Mass (g) | Counted Solid Mass error (g) | Cw (Bq/mL) | dCw (Bq/mL) | Total Activity (Bq) | dTotal Activity (Bq) | Cs (Bq/g) | dCs (Bq/g) | fSorb
0A | 0 | 0 | 6.97 | 0.044 | 0.001 | 100 | 5 | 0.26635 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.026635 | 0.023298 | 0 | #DIV/0! | -60.5346 |  | #DIV/0!
0B | 0 | 0 | 6.99 | 0.041 | 0.001 | 100 | 5 | 0.26064 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.026064 | 0.023298 | 0 | #DIV/0! | -63.5697 |  | #DIV/0!
0C | 0 | 0 | 6.99 | 0.047 | 0.001 | 100 | 5 | 0.26599 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.026599 | 0.023298 | 0 | #DIV/0! | -56.5931 |  | #DIV/0!
10A | 0.00695 | 1e-05 | 6.95 | 0.033 | 0.001 | 100 | 5 | 0.9251 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.09251 | 0.023299 | 9.9965 | 0.052011 | 22.5911 |  | 0.074577
10B | 0.00695 | 1e-05 | 7.01 | 0.047 | 0.001 | 100 | 5 | 0.94018 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.094018 | 0.023299 | 9.9965 | 0.052011 | 12.6529 |  | 0.05949
10C | 0.00695 | 1e-05 | 6.96 | 0.037 | 0.001 | 100 | 5 | 0.99637 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.099637 | 0.023299 | 9.9965 | 0.052011 | 0.8854 |  | 0.0032771
50A | 0.0348 | 0.0001 | 6.99 | 0.035 | 0.001 | 100 | 5 | 3.8291 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.38291 | 0.023311 | 50.0542 | 0.28866 | 336.0888 |  | 0.23501
50B | 0.0348 | 0.0001 | 7.01 | 0.035 | 0.001 | 100 | 5 | 3.8879 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.38879 | 0.023311 | 50.0542 | 0.28866 | 319.304 |  | 0.22327
50C | 0.0348 | 0.0001 | 6.95 | 0.039 | 0.001 | 100 | 5 | 3.8791 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.38791 | 0.023311 | 50.0542 | 0.28866 | 288.8003 |  | 0.22502
100A | 0.0695 | 0.0001 | 6.95 | 0.036 | 0.001 | 100 | 5 | 7.3955 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.73955 | 0.023345 | 99.9646 | 0.52011 | 722.4839 |  | 0.26019
100B | 0.0695 | 0.0001 | 6.96 | 0.042 | 0.001 | 100 | 5 | 7.6581 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.76581 | 0.023349 | 99.9646 | 0.52011 | 556.7488 |  | 0.23392
100C | 0.0695 | 0.0001 | 7.01 | 0.033 | 0.001 | 100 | 5 | 7.5608 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.75608 | 0.023347 | 99.9646 | 0.52011 | 738.0752 |  | 0.24365
250A | 0.174 | 0.001 | 6.99 | 0.033 | 0.001 | 100 | 5 | 17.3286 | 0.233 | 10 | 0.02 |  |  |  |  | 1.7329 | 0.023556 | 250.271 | 1.9065 | 2332.8817 |  | 0.30761
250B | 0.174 | 0.001 | 7.02 | 0.031 | 0.001 | 100 | 5 | 18.9793 | 0.233 | 10 | 0.02 |  |  |  |  | 1.8979 | 0.023608 | 250.271 | 1.9065 | 1950.8906 |  | 0.24165
250C | 0.174 | 0.001 | 7.04 | 0.045 | 0.001 | 100 | 5 | 18.9661 | 0.233 | 10 | 0.02 |  |  |  |  | 1.8966 | 0.023607 | 250.271 | 1.9065 | 1346.893 |  | 0.24218
500A | 0.348 | 0.001 | 6.97 | 0.041 | 0.001 | 100 | 5 | 36.7949 | 0.23308 | 10 | 0.02 |  |  |  |  | 3.6795 | 0.024442 | 500.542 | 2.8866 | 3233.9642 |  | 0.2649
500B | 0.348 | 0.001 | 7.02 | 0.034 | 0.001 | 100 | 5 | 36.2718 | 0.23307 | 10 | 0.02 |  |  |  |  | 3.6272 | 0.02441 | 500.542 | 2.8866 | 4053.641 |  | 0.27535
500C | 0.348 | 0.001 | 6.96 | 0.038 | 0.001 | 100 | 5 | 36.3448 | 0.23307 | 10 | 0.02 |  |  |  |  | 3.6345 | 0.024415 | 500.542 | 2.8866 | 3607.7374 |  | 0.27389

## Averaged Results
Sample | Cw (Bq/mL) | sCw (Bq/mL) | Cs (Bq/g) | sCs (Bq/g) | TotAct | fSorb | sfsorb | pH | spH
0 | 0.026433 | 0.00032003 | -60.2325 | 3.4981 | 0 | #DIV/0! |  | 6.9833 | 0.011547
10 | 0.095388 | 0.0037561 | 12.0431 | 10.8657 | 9.9965 | 0.045781 | 0.037575 | 6.9733 | 0.032146
50 | 0.38654 | 0.0031693 | 314.7311 | 23.9736 | 50.0542 | 0.22777 | 0.0063318 | 6.9833 | 0.030551
100 | 0.75381 | 0.013276 | 672.4359 | 100.4909 | 99.9646 | 0.24592 | 0.01328 | 6.9733 | 0.025386
250 | 1.8425 | 0.094926 | 1876.8885 | 497.1425 | 250.271 | 0.26381 | 0.037929 | 7.0167 | 0.025166
500 | 3.6471 | 0.028332 | 3631.7808 | 410.367 | 500.542 | 0.27138 | 0.0056603 | 6.9833 | 0.032146