## Calibration Data
| Mean (CPM) | Error (CPM) | Scintillation Counter (cps) | Error (cps) | Gamma Counter (CPS) | Error (CPS) | Known Activity (uCi) | Known Activity (Bq) | Known-Average | Gamma Counter Calculated Activity | Scint Counter Calculated Activity (Bq) | Squared Actual Activity Variation from Average | Error (Bq)
Background | 69.2667 | 4.0713 | 1.1544 | 0.067855 | 0.0011574 |  | 0 | 0 |  |  | 0.24403 |  | 0.23936
RaStd_0.01mL | 213.5333 | 4.539 | 3.5589 | 0.075649 | 0.0034641 | 0.00061344 | 1.59e-05 | 0.5883 | 4187.7724 | -2.2499 | 0.77044 | 4187.7724 | 0.23926
RaStd_0.05mL | 851.3667 | 12.5306 | 14.1894 | 0.20884 | 0.0079815 | 0.00085145 | 7.95e-05 | 2.9415 | 3888.7447 | 1.1815 | 3.0978 | 3888.7447 | 0.23882
RaStd_0.1mL | 1635.7 | 32.621 | 27.2617 | 0.54368 | 0.012604 | 0.00093201 | 0.000159 | 5.883 | 3530.5344 | 4.6928 | 5.9598 | 3530.5344 | 0.2383
RaStd_0.5mL | 7998.8333 | 50.2341 | 133.3139 | 0.83724 | 0.05022 | 0.0025444 | 0.000795 | 29.415 | 1287.8265 | 33.2654 | 29.1781 | 1287.8265 | 0.23497
RaStd_1mL | 16057.1333 | 53.5133 | 267.6189 | 0.89189 | 0.094873 | 0.0029522 | 0.00159 | 58.83 | 41.8777 | 67.1831 | 58.5818 | 41.8777 | 0.23305
RaStd_5mL | 80635.3 | 80.455 | 1343.9217 | 1.3409 | 0.3905 | 0.0056159 | 0.00795 | 294.15 | 52371.7275 | 291.7368 | 294.2199 | 52371.7275 | 0.30267
65308.4831
Scintillation Counter
SUMMARY OUTPUT | Counter CPS->Activity (Bq) | DOES NOT INCLUDE BACKGROUND | [7 empty] | Scintillation Counter
[10 empty] | Activity (Bq) - > Counter CPS |  | DOES NOT INCLUDE BACKGROUND | [7 empty] | SUMMARY OUTPUT
Regression Statistics
Multiple R | 1 | [8 empty] | SUMMARY OUTPUT | [9 empty] | Regression Statistics
R Square | 1 | [18 empty] | Multiple R | 1
Adjusted R Square | 1 | [8 empty] | Regression Statistics | [9 empty] | R Square | 1
Standard Error | 0.2157 | [8 empty] | Multiple R | 1 | [8 empty] | Adjusted R Square | 1
Observations | 6 | [8 empty] | R Square | 1 | [8 empty] | Standard Error | 0.21658
[10 empty] | Adjusted R Square | 1 | [8 empty] | Observations | 7
ANOVA | [9 empty] | Standard Error | 0.98522 | Std dev of residuals
| df | SS | MS | F | Significance F |  |  |  |  | Observations | 6 | [8 empty] | ANOVA
Regression | 1 | 65308.297 | 65308.297 | 1403732.1259 | 3.045e-12 | [15 empty] | df | SS | MS | F | Significance F
Residual | 4 | 0.1861 | 0.046525 | [6 empty] | ANOVA | [9 empty] | Regression | 1 | 68963.3284 | 68963.3284 | 1470245.4671 | 7.2415e-15
Total | 5 | 65308.4831 | [8 empty] | df |  | SS | MS | F | Significance F |  |  |  | Residual | 5 | 0.23453 | 0.046906
[10 empty] | Regression | 1 |  | 1362535.4424 | 1362535.4424 | 1403732.1259 | 3.045e-12 |  |  |  | Total | 6 | 68963.563
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Residual | 4 |  | 3.8826 | 0.97065
Intercept | -0.0085291 | 0.10389 | -0.082099 | 0.93851 | -0.29697 | 0.27991 | -0.29697 | 0.27991 |  | Total | 5 |  | 1362539.325 | [7 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
X Variable 1 | 0.21893 | 0.00018479 | 1184.792 | 3.045e-12 | 0.21842 | 0.21945 | 0.21842 | 0.21945 | [11 empty] | Intercept | -0.054483 | 0.093999 | -0.57961 | 0.58731 | -0.29612 | 0.18715 | -0.29612 | 0.18715
[11 empty] | Coefficients |  | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% | X Variable 1 | 0.21898 | 0.00018059 | 1212.5368 | 7.2415e-15 | 0.21851 | 0.21944 | 0.21851 | 0.21944
[10 empty] | Intercept | 0.039808 |  | 0.4745 | 0.083894 | 0.93717 | -1.2776 | 1.3572 | -1.2776 | 1.3572
[10 empty] | X Variable 1 | 4.5676 |  | 0.0038552 | 1184.792 | 3.045e-12 | 4.5569 | 4.5783 | 4.5569 | 4.5783
RESIDUAL OUTPUT
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | 0.77063 | -0.18233 | [7 empty] | RESIDUAL OUTPUT | [9 empty] | Observation | Predicted Y | Residuals
2 | 3.098 | -0.1565 | [17 empty] | 1 | 0.19831 | -0.19831
3 | 5.9599 | -0.076928 | [7 empty] | Observation | Predicted Y |  | Residuals | Residual Squared | [5 empty] | 2 | 0.72483 | -0.13653
4 | 29.1782 | 0.23683 | [7 empty] | 1 | 2.7269 |  | 0.83196 | 0.69215 | [5 empty] | 3 | 3.0527 | -0.11116
5 | 58.5819 | 0.24813 | [7 empty] | 2 | 13.4754 |  | 0.71401 | 0.50981 | [5 empty] | 4 | 5.9152 | -0.032153
6 | 294.2192 | -0.069209 | [7 empty] | 3 | 26.9111 |  | 0.3506 | 0.12292 | [5 empty] | 5 | 29.138 | 0.27701
6 | 1343.6026 | 0.3191 | [7 empty] | 4 | 134.3961 |  | -1.0822 | 1.1711 | [5 empty] | 6 | 58.5475 | 0.28251
[10 empty] | 5 | 268.7524 |  | -1.1335 | 1.2848 | [5 empty] | 7 | 294.2314 | -0.081379
Parsons Gamma Counter | [9 empty] | 6 | 1343.6026 |  | 0.3191 | 0.10182
SUMMARY OUTPUT | Gamma Counter CPS->Bq
Regression Statistics
Multiple R | 0.99914
R Square | 0.99827
Adjusted R Square | 0.99793
Standard Error | 4.8787
Observations | 7
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 68844.5538 | 68844.5538 | 2892.4063 | 4.2029e-08
Residual | 5 | 119.0091 | 23.8018
Total | 6 | 68963.563
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | -4.8812 | 2.1635 | -2.2562 | 0.073704 | -10.4425 | 0.6802 | -10.4425 | 0.6802
X Variable 1 | 759.5896 | 14.1237 | 53.7811 | 4.2029e-08 | 723.2834 | 795.8958 | 723.2834 | 795.8958
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | -4.002 | 4.002
2 | -2.2499 | 2.8382
3 | 1.1815 | 1.76
4 | 4.6928 | 1.1902
5 | 33.2654 | -3.8504
6 | 67.1831 | -8.3531
7 | 291.7368 | 2.4132

## Parameters
Parameters | Value | Error | Units | Notes
Experiment Date | 2016-02-19
Sample Volume | 100 | 0.172 | mL | Liquid volume
Mineral Type | Goethite
Radium Stock Used | Ra_Stock_4
Stock Activity | 631.5225 | 0.53167 | Bq/mL | Activity of stock used to add radium (note you should use the actual activity, not the counted activity)
Independent Cs? | FALSE

## Scintillation Counter Results
Date | Sample | CPM | % Error | Lumex % | Elapsed Time
2016-04-04 09:55 | 0A | 80.5 | 7.05 | 0.16 | 10.53
2016-04-04 09:55 | 0B | 85.9 | 6.82 | 0.15 | 21.14
2016-04-04 09:55 | 0C | 74.1 | 7.35 | 0.18 | 31.76
2016-04-04 09:55 | 10A | 363 | 3.32 | 0.04 | 42.38
2016-04-04 09:55 | 10B | 370.7 | 3.28 | 0.04 | 53.01
2016-04-04 09:55 | 10C | 392.8 | 3.19 | 0.03 | 63.65
2016-04-04 09:55 | 50A | 1404.5 | 1.69 | 0.01 | 74.26
2016-04-04 09:55 | 50B | 1484.8 | 1.64 | 0.01 | 84.9
2016-04-04 09:55 | 50C | 1497.8 | 1.63 | 0.01 | 95.52
2016-04-04 09:55 | 100A | 2929.9 | 1.17 | 0 | 106.15
2016-04-04 09:55 | 100B | 3031.3 | 1.15 | 0 | 116.79
2016-04-04 09:55 | 100C | 2955.5 | 1.16 | 0.01 | 127.44
2016-04-04 09:55 | 250A | 6870.7 | 0.76 | 0 | 138.2
2016-04-04 09:55 | 250B | 7143 | 0.75 | 0 | 148.86
2016-04-04 09:55 | 250C | 7161.6 | 0.75 | 0 | 159.52
2016-04-04 09:55 | 500A | 14376.5 | 0.53 | 0 | 170.2
2016-04-04 09:55 | 500B | 13987.7 | 0.53 | 0 | 180.9
2016-04-04 09:55 | 500C | 14722.1 | 0.52 | 0 | 191.57
2016-04-05 14:20 | 0A | 72.1 | 7.45 | 0.11 | 10.51
2016-04-05 14:20 | 0B | 80.3 | 7.06 | 0.11 | 21.12
2016-04-05 14:20 | 0C | 70.4 | 7.54 | 0.14 | 31.74
2016-04-05 14:20 | 10A | 352.6 | 3.37 | 0.03 | 42.38
2016-04-05 14:20 | 10B | 363.5 | 3.32 | 0.03 | 53
2016-04-05 14:20 | 10C | 380.4 | 3.24 | 0.03 | 63.63
2016-04-05 14:20 | 50A | 1378.1 | 1.7 | 0.01 | 74.25
2016-04-05 14:20 | 50B | 1457.7 | 1.66 | 0.01 | 84.88
2016-04-05 14:20 | 50C | 1472.9 | 1.65 | 0.01 | 95.5
2016-04-05 14:20 | 100A | 2909.8 | 1.17 | 0 | 106.14
2016-04-05 14:20 | 100B | 3001 | 1.15 | 0 | 116.77
2016-04-05 14:20 | 100C | 1949.6 | 1.16 | 0 | 127.42
2016-04-05 14:20 | 250A | 6966.2 | 0.76 | 0 | 138.17
2016-04-05 14:20 | 250B | 7150.2 | 0.75 | 0 | 148.82
2016-04-05 14:20 | 250C | 7123.3 | 0.75 | 0 | 159.49
2016-04-05 14:20 | 500A | 14286.1 | 0.53 | 0 | 170.17
2016-04-05 14:20 | 500B | 13808 | 0.54 | 0 | 180.86
2016-04-05 14:20 | 500C | 14493.5 | 0.53 | 0 | 191.55
2016-04-06 16:53 | 0A | 69.9 | 7.56 | 0.12 | 10.52
2016-04-06 16:53 | 0B | 85.9 | 6.82 | 0.1 | 21.14
2016-04-06 16:53 | 0C | 74.1 | 7.35 | 0.12 | 31.74
2016-04-06 16:53 | 10A | 356.6 | 3.35 | 0.03 | 42.38
2016-04-06 16:53 | 10B | 370.9 | 3.28 | 0.02 | 52.99
2016-04-06 16:53 | 10C | 375.7 | 3.26 | 0.02 | 63.63
2016-04-06 16:53 | 50A | 1408.5 | 1.69 | 0.01 | 74.25
2016-04-06 16:53 | 50B | 1487.4 | 1.64 | 0.01 | 84.88
2016-04-06 16:53 | 50C | 1526.7 | 1.62 | 0.01 | 95.51
2016-04-06 16:53 | 100A | 2945.9 | 1.17 | 0 | 106.14
2016-04-06 16:53 | 100B | 2984.3 | 1.16 | 0 | 116.77
2016-04-06 16:53 | 100C | 2961.9 | 1.16 | 0 | 127.42
2016-04-06 16:53 | 250A | 6964.3 | 0.76 | 0 | 138.18
2016-04-06 16:53 | 250B | 7169.7 | 0.75 | 0 | 148.84
2016-04-06 16:53 | 250C | 7125.7 | 0.75 | 0 | 159.51
2016-04-06 16:53 | 500A | 14355.7 | 0.53 | 0 | 170.18
2016-04-06 16:53 | 500B | 13909.7 | 0.54 | 0 | 180.86
2016-04-06 16:53 | 500C | 14676.4 | 0.52 | 0 | 191.55
2016-04-11 15:28 | 0A | 75.4 | 7.28 | 0.11 | 10.52
2016-04-11 15:28 | 0B | 87.5 | 6.76 | 0.09 | 21.14
2016-04-11 15:28 | 0C | 72.7 | 7.42 | 0.1 | 31.74
2016-04-11 15:28 | 10A | 351.8 | 3.37 | 0.03 | 42.38
2016-04-11 15:28 | 10B | 362.1 | 3.32 | 0.02 | 52.99
2016-04-11 15:28 | 10C | 373.6 | 3.27 | 0.02 | 63.63
2016-04-11 15:28 | 50A | 1405.5 | 1.69 | 0.01 | 74.25
2016-04-11 15:28 | 50B | 1512 | 1.63 | 0.01 | 84.88
2016-04-11 15:28 | 50C | 1510.1 | 1.63 | 0.01 | 95.5
2016-04-11 15:28 | 100A | 2936.6 | 1.17 | 0 | 106.13
2016-04-11 15:28 | 100B | 3063.6 | 1.14 | 0 | 116.77
2016-04-11 15:28 | 100C | 3013.1 | 1.15 | 0 | 127.4
2016-04-11 15:28 | 250A | 6807.2 | 0.77 | 0 | 138.17
2016-04-11 15:28 | 250B | 7224 | 0.74 | 0 | 148.82
2016-04-11 15:28 | 250C | 7160 | 0.75 | 0 | 159.48
2016-04-11 15:28 | 500A | 14347.2 | 0.53 | 0 | 170.16
2016-04-11 15:28 | 500B | 14068.7 | 0.53 | 0 | 180.84
2016-04-11 15:28 | 500C | 13977.6 | 0.53 | 0 | 191.53
2016-04-12 10:30 | 0A | 71.4 | 7.48 | 0.1 | 10.52
2016-04-12 10:30 | 0B | 86.6 | 6.8 | 0.08 | 21.14
2016-04-12 10:30 | 0C | 72.1 | 7.45 | 0.09 | 31.75
2016-04-12 10:30 | 10A | 336.8 | 3.45 | 0.03 | 42.37
2016-04-12 10:30 | 10B | 352.9 | 3.37 | 0.02 | 52.99
2016-04-12 10:30 | 10C | 377.1 | 3.26 | 0.02 | 63.63
2016-04-12 10:30 | 50A | 1412.6 | 1.68 | 0 | 74.24
2016-04-12 10:30 | 50B | 1482.6 | 1.64 | 0.01 | 84.88
2016-04-12 10:30 | 50C | 1521.5 | 1.62 | 0 | 95.49
2016-04-12 10:30 | 100A | 2966.2 | 1.16 | 0 | 106.13
2016-04-12 10:30 | 100B | 3000.4 | 1.15 | 0 | 116.76
2016-04-12 10:30 | 100C | 2981.1 | 1.16 | 0 | 127.4
2016-04-12 10:30 | 250A | 6810.4 | 0.77 | 0 | 138.15
2016-04-12 10:30 | 250B | 7216.1 | 0.74 | 0 | 148.8
2016-04-12 10:30 | 250C | 7147.2 | 0.75 | 0 | 159.46
2016-04-12 10:30 | 500A | 14342.2 | 0.53 | 0 | 170.14
2016-04-12 10:30 | 500B | 13952.6 | 0.54 | 0 | 180.81
2016-04-12 10:30 | 500C | 13875 | 0.54 | 0 | 191.5

## Count->Actual Activity
Sample ID | Phase | Counts (cps) | Error (cps) | Calibration Method | Activity (Bq) | Activity Error (Bq)
0A | Water | 1.231 | 0.090651 | Scintillation Counter | 0.26098 | 0.23298
0B | Water | 1.4207 | 0.097344 | Scintillation Counter | 0.3025 | 0.23298
0C | Water | 1.2113 | 0.089905 | Scintillation Counter | 0.25667 | 0.23298
10A | Water | 5.8693 | 0.19791 | Scintillation Counter | 1.2765 | 0.23298
10B | Water | 6.067 | 0.20106 | Scintillation Counter | 1.3197 | 0.23298
10C | Water | 6.332 | 0.20541 | Scintillation Counter | 1.3777 | 0.23298
50A | Water | 23.364 | 0.39485 | Scintillation Counter | 5.1066 | 0.23298
50B | Water | 24.7483 | 0.40637 | Scintillation Counter | 5.4097 | 0.23298
50C | Water | 25.0967 | 0.40908 | Scintillation Counter | 5.4859 | 0.23298
100A | Water | 48.9613 | 0.57187 | Scintillation Counter | 10.7107 | 0.23299
100B | Water | 50.2687 | 0.57809 | Scintillation Counter | 10.9969 | 0.23299
100C | Water | 45.4404 | 0.52597 | Scintillation Counter | 9.9398 | 0.23299
250A | Water | 114.7293 | 0.87653 | Scintillation Counter | 25.1094 | 0.23302
250B | Water | 119.6767 | 0.89279 | Scintillation Counter | 26.1925 | 0.23303
250C | Water | 119.0593 | 0.89294 | Scintillation Counter | 26.0574 | 0.23303
500A | Water | 239.0257 | 1.2668 | Scintillation Counter | 52.3219 | 0.23318
500B | Water | 232.4223 | 1.2458 | Scintillation Counter | 50.8762 | 0.23317
500C | Water | 236.2722 | 1.2522 | Scintillation Counter | 51.7191 | 0.23317
0_A | Solid
0_B | Solid
0_C | Solid
5_A | Solid
5_B | Solid
5_C | Solid
10_A | Solid
10_B | Solid
10_C | Solid
50_A | Solid
50_B | Solid
50_C | Solid
100_A | Solid
100_B | Solid
100_C | Solid
500_A | Solid
500_B | Solid
500_C | Solid

## Bottle Results
Sample ID | Stock Volume Added (mL) | Stock Vol Err (mL) | Final pH | Mineral Mass (g) | Mineral Mass Error (g) | Total Volume (mL) | Total Volume Error (mL) | Solution counts (Bq) | Solution Counts error (Bq) | Counted Solution Vol (mL) | Counted Solution Vol error (mL) | Solid Counts (Bq) | Solid Counts Error (Bq) | Counted Solid Mass (g) | Counted Solid Mass error (g) | Cw (Bq/mL) | dCw (Bq/mL) | Total Activity (Bq) | dTotal Activity (Bq) | Cs (Bq/g) | dCs (Bq/g) | fSorb
0A | 0 | 0 | 3 | 0.0305 | 0.0001 | 100 | 5 | 0.26098 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.026098 | 0.023298 | 0 | #DIV/0! | -85.566 |  | #DIV/0!
0B | 0 | 0 | 3 | 0.0296 | 0.0001 | 100 | 5 | 0.3025 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.03025 | 0.023298 | 0 | #DIV/0! | -102.1961 |  | #DIV/0!
0C | 0 | 0 | 3 | 0.0293 | 0.0001 | 100 | 5 | 0.25667 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.025667 | 0.023298 | 0 | #DIV/0! | -87.6009 |  | #DIV/0!
10A | 0.0158 | 0.0001 | 3 | 0.0292 | 0.0001 | 100 | 5 | 1.2765 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.12765 | 0.023299 | 9.9781 | 0.063709 | -95.4286 |  | -0.27926
10B | 0.0158 | 0.0001 | 3 | 0.0303 | 0.0001 | 100 | 5 | 1.3197 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.13197 | 0.023299 | 9.9781 | 0.063709 | -106.2466 |  | -0.32264
10C | 0.0158 | 0.0001 | 3 | 0.0294 | 0.0001 | 100 | 5 | 1.3777 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.13777 | 0.0233 | 9.9781 | 0.063709 | -129.2327 |  | -0.38078
50A | 0.0792 | 0.0001 | 3 | 0.0296 | 0.0001 | 100 | 5 | 5.1066 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.51066 | 0.02332 | 50.0166 | 0.075903 | -35.4544 |  | -0.020982
50B | 0.0792 | 0.0001 | 3 | 0.0305 | 0.0001 | 100 | 5 | 5.4097 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.54097 | 0.023323 | 50.0166 | 0.075903 | -133.7771 |  | -0.081577
50C | 0.0792 | 0.0001 | 3 | 0.0296 | 0.0001 | 100 | 5 | 5.4859 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.54859 | 0.023324 | 50.0166 | 0.075903 | -163.6087 |  | -0.096824
100A | 0.158 | 0.001 | 3 | 0.0304 | 0.0001 | 100 | 5 | 10.7107 | 0.23299 | 10 | 0.02 |  |  |  |  | 1.0711 | 0.023397 | 99.7805 | 0.63709 | -240.9963 |  | -0.073424
100B | 0.158 | 0.001 | 3 | 0.0299 | 0.0001 | 100 | 5 | 10.9969 | 0.23299 | 10 | 0.02 |  |  |  |  | 1.0997 | 0.023402 | 99.7805 | 0.63709 | -340.7512 |  | -0.10211
100C | 0.158 | 0.001 | 3 | 0.0298 | 0.0001 | 100 | 5 | 9.9398 | 0.23299 | 10 | 0.02 |  |  |  |  | 0.99398 | 0.023383 | 99.7805 | 0.63709 | 12.8232 |  | 0.0038297
250A | 0.396 | 0.001 | 3 | 0.0306 | 0.0001 | 100 | 5 | 25.1094 | 0.23302 | 10 | 0.02 |  |  |  |  | 2.5109 | 0.023837 | 250.0829 | 0.66569 | -33.0483 |  | -0.0040438
250B | 0.396 | 0.001 | 3 | 0.0302 | 0.0001 | 100 | 5 | 26.1925 | 0.23303 | 10 | 0.02 |  |  |  |  | 2.6193 | 0.023884 | 250.0829 | 0.66569 | -392.1385 |  | -0.047355
250C | 0.396 | 0.001 | 3.01 | 0.0303 | 0.0001 | 100 | 5 | 26.0574 | 0.23303 | 10 | 0.02 |  |  |  |  | 2.6057 | 0.023878 | 250.0829 | 0.66569 | -346.239 |  | -0.04195
500A | 0.792 | 0.001 | 3 | 0.0296 | 0.0001 | 100 | 5 | 52.3219 | 0.23318 | 10 | 0.02 |  |  |  |  | 5.2322 | 0.025558 | 500.1658 | 0.75903 | -778.8207 |  | -0.046091
500B | 0.792 | 0.001 | 3 | 0.0295 | 0.0001 | 100 | 5 | 50.8762 | 0.23317 | 10 | 0.02 |  |  |  |  | 5.0876 | 0.02544 | 500.1658 | 0.75903 | -291.3989 |  | -0.017187
500C | 0.792 | 0.001 | 3 | 0.0304 | 0.0001 | 100 | 5 | 51.7191 | 0.23317 | 10 | 0.02 |  |  |  |  | 5.1719 | 0.025509 | 500.1658 | 0.75903 | -560.0301 |  | -0.034039

## Averaged Results
Sample | Cw (Bq/mL) | sCw (Bq/mL) | Cs (Bq/g) | sCs (Bq/g) | TotAct | fSorb | sfsorb | pH | spH
0 | 0.027338 | 0.0025309 | -91.7877 | 9.0712 | 0 | #DIV/0! |  | 3 | 0
10 | 0.13246 | 0.0050825 | -110.3026 | 17.2632 | 9.9781 | -0.32756 | 0.050937 | 3 | 0
50 | 0.53341 | 0.020065 | -110.9467 | 67.0582 | 50.0166 | -0.066461 | 0.040117 | 3 | 0
100 | 1.0549 | 0.054673 | -189.6415 | 182.2957 | 99.7805 | -0.057234 | 0.054793 | 3 | 0
250 | 2.5786 | 0.059021 | -257.142 | 195.423 | 250.0829 | -0.031116 | 0.023601 | 3.0033 | 0.0057735
500 | 5.1639 | 0.072616 | -543.4166 | 244.1352 | 500.1658 | -0.032439 | 0.014518 | 3 | 0