## Parameters
Parameters | Value | Error | Units | Notes
Experiment Date | 2016-02-19
Sample Volume | 100 | 0.172 | mL | Liquid volume
Mineral Type | Na Montmorillonite
Radium Stock Used | Ra_Stock_4
Stock Activity | 631.5225 | 0.53167 | Bq/mL | Activity of stock used to add radium (note you should use the actual activity, not the counted activity)
Independent Cs? | FALSE

## Calibration Data
| Mean (CPM) | Error (CPM) | Scintillation Counter (cps) | Error (cps) | Gamma Counter (CPS) | Error (CPS) | Known Activity (uCi) | Known Activity (Bq) | Known-Average | Gamma Counter Calculated Activity | Scint Counter Calculated Activity (Bq) | Squared Actual Activity Variation from Average | Error (Bq)
Background | 69.2667 | 4.0713 | 1.1544 | 0.067855 | 0.0011574 |  | 0 | 0 |  |  | 0.24403 |  | 0.23936
RaStd_0.01mL | 213.5333 | 4.539 | 3.5589 | 0.075649 | 0.0034641 | 0.00061344 | 1.59e-05 | 0.5883 | 4187.7724 | -2.2499 | 0.77044 | 4187.7724 | 0.23926
RaStd_0.05mL | 851.3667 | 12.5306 | 14.1894 | 0.20884 | 0.0079815 | 0.00085145 | 7.95e-05 | 2.9415 | 3888.7447 | 1.1815 | 3.0978 | 3888.7447 | 0.23882
RaStd_0.1mL | 1635.7 | 32.621 | 27.2617 | 0.54368 | 0.012604 | 0.00093201 | 0.000159 | 5.883 | 3530.5344 | 4.6928 | 5.9598 | 3530.5344 | 0.2383
RaStd_0.5mL | 7998.8333 | 50.2341 | 133.3139 | 0.83724 | 0.05022 | 0.0025444 | 0.000795 | 29.415 | 1287.8265 | 33.2654 | 29.1781 | 1287.8265 | 0.23497
RaStd_1mL | 16057.1333 | 53.5133 | 267.6189 | 0.89189 | 0.094873 | 0.0029522 | 0.00159 | 58.83 | 41.8777 | 67.1831 | 58.5818 | 41.8777 | 0.23305
RaStd_5mL | 80635.3 | 80.455 | 1343.9217 | 1.3409 | 0.3905 | 0.0056159 | 0.00795 | 294.15 | 52371.7275 | 291.7368 | 294.2199 | 52371.7275 | 0.30267
65308.4831
Scintillation Counter
SUMMARY OUTPUT | Counter CPS->Activity (Bq) | DOES NOT INCLUDE BACKGROUND | [7 empty] | Scintillation Counter
[10 empty] | Activity (Bq) - > Counter CPS |  | DOES NOT INCLUDE BACKGROUND | [7 empty] | SUMMARY OUTPUT
Regression Statistics
Multiple R | 1 | [8 empty] | SUMMARY OUTPUT | [9 empty] | Regression Statistics
R Square | 1 | [18 empty] | Multiple R | 1
Adjusted R Square | 1 | [8 empty] | Regression Statistics | [9 empty] | R Square | 1
Standard Error | 0.2157 | [8 empty] | Multiple R | 1 | [8 empty] | Adjusted R Square | 1
Observations | 6 | [8 empty] | R Square | 1 | [8 empty] | Standard Error | 0.21658
[10 empty] | Adjusted R Square | 1 | [8 empty] | Observations | 7
ANOVA | [9 empty] | Standard Error | 0.98522 | Std dev of residuals
| df | SS | MS | F | Significance F |  |  |  |  | Observations | 6 | [8 empty] | ANOVA
Regression | 1 | 65308.297 | 65308.297 | 1403732.1259 | 3.045e-12 | [15 empty] | df | SS | MS | F | Significance F
Residual | 4 | 0.1861 | 0.046525 | [6 empty] | ANOVA | [9 empty] | Regression | 1 | 68963.3284 | 68963.3284 | 1470245.4671 | 7.2415e-15
Total | 5 | 65308.4831 | [8 empty] | df |  | SS | MS | F | Significance F |  |  |  | Residual | 5 | 0.23453 | 0.046906
[10 empty] | Regression | 1 |  | 1362535.4424 | 1362535.4424 | 1403732.1259 | 3.045e-12 |  |  |  | Total | 6 | 68963.563
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Residual | 4 |  | 3.8826 | 0.97065
Intercept | -0.0085291 | 0.10389 | -0.082099 | 0.93851 | -0.29697 | 0.27991 | -0.29697 | 0.27991 |  | Total | 5 |  | 1362539.325 | [7 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
X Variable 1 | 0.21893 | 0.00018479 | 1184.792 | 3.045e-12 | 0.21842 | 0.21945 | 0.21842 | 0.21945 | [11 empty] | Intercept | -0.054483 | 0.093999 | -0.57961 | 0.58731 | -0.29612 | 0.18715 | -0.29612 | 0.18715
[11 empty] | Coefficients |  | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% | X Variable 1 | 0.21898 | 0.00018059 | 1212.5368 | 7.2415e-15 | 0.21851 | 0.21944 | 0.21851 | 0.21944
[10 empty] | Intercept | 0.039808 |  | 0.4745 | 0.083894 | 0.93717 | -1.2776 | 1.3572 | -1.2776 | 1.3572
[10 empty] | X Variable 1 | 4.5676 |  | 0.0038552 | 1184.792 | 3.045e-12 | 4.5569 | 4.5783 | 4.5569 | 4.5783
RESIDUAL OUTPUT
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | 0.77063 | -0.18233 | [7 empty] | RESIDUAL OUTPUT | [9 empty] | Observation | Predicted Y | Residuals
2 | 3.098 | -0.1565 | [17 empty] | 1 | 0.19831 | -0.19831
3 | 5.9599 | -0.076928 | [7 empty] | Observation | Predicted Y |  | Residuals | Residual Squared | [5 empty] | 2 | 0.72483 | -0.13653
4 | 29.1782 | 0.23683 | [7 empty] | 1 | 2.7269 |  | 0.83196 | 0.69215 | [5 empty] | 3 | 3.0527 | -0.11116
5 | 58.5819 | 0.24813 | [7 empty] | 2 | 13.4754 |  | 0.71401 | 0.50981 | [5 empty] | 4 | 5.9152 | -0.032153
6 | 294.2192 | -0.069209 | [7 empty] | 3 | 26.9111 |  | 0.3506 | 0.12292 | [5 empty] | 5 | 29.138 | 0.27701
6 | 1343.6026 | 0.3191 | [7 empty] | 4 | 134.3961 |  | -1.0822 | 1.1711 | [5 empty] | 6 | 58.5475 | 0.28251
[10 empty] | 5 | 268.7524 |  | -1.1335 | 1.2848 | [5 empty] | 7 | 294.2314 | -0.081379
Parsons Gamma Counter | [9 empty] | 6 | 1343.6026 |  | 0.3191 | 0.10182
SUMMARY OUTPUT | Gamma Counter CPS->Bq
Regression Statistics
Multiple R | 0.99914
R Square | 0.99827
Adjusted R Square | 0.99793
Standard Error | 4.8787
Observations | 7
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 68844.5538 | 68844.5538 | 2892.4063 | 4.2029e-08
Residual | 5 | 119.0091 | 23.8018
Total | 6 | 68963.563
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | -4.8812 | 2.1635 | -2.2562 | 0.073704 | -10.4425 | 0.6802 | -10.4425 | 0.6802
X Variable 1 | 759.5896 | 14.1237 | 53.7811 | 4.2029e-08 | 723.2834 | 795.8958 | 723.2834 | 795.8958
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | -4.002 | 4.002
2 | -2.2499 | 2.8382
3 | 1.1815 | 1.76
4 | 4.6928 | 1.1902
5 | 33.2654 | -3.8504
6 | 67.1831 | -8.3531
7 | 291.7368 | 2.4132

## Scintillation Counter Results
Date | Sample | CPM | % Error | Lumex % | Elapsed Time
2016-04-04 09:55 | 0A | 84.7 | 6.87 | 0.16 | 202.21
2016-04-04 09:55 | 0B | 79.7 | 7.08 | 0.13 | 212.84
2016-04-04 09:55 | 0C | 73.3 | 7.39 | 0.17 | 223.47
2016-04-04 09:55 | 10A | 302.2 | 3.64 | 0.04 | 234.11
2016-04-04 09:55 | 10B | 332.8 | 3.47 | 0.05 | 244.75
2016-04-04 09:55 | 10C | 322 | 3.52 | 0.05 | 255.38
2016-04-04 09:55 | 50A | 1189 | 1.83 | 0.01 | 266.13
2016-04-04 09:55 | 50B | 1365.7 | 1.71 | 0.01 | 276.76
2016-04-04 09:55 | 50C | 1322.5 | 1.74 | 0.01 | 287.4
2016-04-04 09:55 | 100A | 2723.1 | 1.21 | 0.01 | 298.04
2016-04-04 09:55 | 100B | 2791.2 | 1.2 | 0 | 308.69
2016-04-04 09:55 | 100C | 2697 | 1.22 | 0 | 319.32
2016-04-04 09:55 | 250A | 5857.2 | 0.83 | 0 | 329.98
2016-04-04 09:55 | 250B | 5974.5 | 0.82 | 0 | 340.63
2016-04-04 09:55 | 250C | 6703.1 | 0.77 | 0 | 351.29
2016-04-04 09:55 | 500A | 12338.6 | 0.57 | 0 | 361.98
2016-04-04 09:55 | 500B | 12636.7 | 0.56 | 0 | 372.66
2016-04-04 09:55 | 500C | 12643.4 | 0.56 | 0 | 383.35
2016-04-05 14:20 | 0A | 81 | 7.03 | 0.12 | 202.18
2016-04-05 14:20 | 0B | 74.2 | 7.34 | 0.11 | 212.81
2016-04-05 14:20 | 0C | 75.5 | 7.28 | 0.13 | 223.44
2016-04-05 14:20 | 10A | 294.9 | 3.68 | 0.03 | 234.08
2016-04-05 14:20 | 10B | 320.6 | 3.53 | 0.03 | 244.71
2016-04-05 14:20 | 10C | 315.2 | 3.56 | 0.03 | 255.36
2016-04-05 14:20 | 50A | 1181.9 | 1.84 | 0.01 | 266.1
2016-04-05 14:20 | 50B | 1342.9 | 1.73 | 0.01 | 276.73
2016-04-05 14:20 | 50C | 1326.5 | 1.74 | 0.01 | 287.37
2016-04-05 14:20 | 100A | 2664.4 | 1.23 | 0 | 298
2016-04-05 14:20 | 100B | 2761.1 | 1.2 | 0 | 308.63
2016-04-05 14:20 | 100C | 2679 | 1.22 | 0 | 319.29
2016-04-05 14:20 | 250A | 5824.2 | 0.83 | 0 | 329.93
2016-04-05 14:20 | 250B | 5954.9 | 0.82 | 0 | 340.6
2016-04-05 14:20 | 250C | 6711.2 | 0.77 | 0 | 351.25
2016-04-05 14:20 | 500A | 12310.4 | 0.57 | 0 | 361.94
2016-04-05 14:20 | 500B | 12627.1 | 0.56 | 0 | 372.63
2016-04-05 14:20 | 500C | 12773.7 | 0.56 | 0 | 383.31
2016-04-06 16:53 | 0A | 84.4 | 6.88 | 0.1 | 202.17
2016-04-06 16:53 | 0B | 74.2 | 7.34 | 0.11 | 212.81
2016-04-06 16:53 | 0C | 76.5 | 7.23 | 0.11 | 223.44
2016-04-06 16:53 | 10A | 307 | 3.61 | 0.02 | 234.07
2016-04-06 16:53 | 10B | 325.2 | 3.51 | 0.03 | 244.71
2016-04-06 16:53 | 10C | 333.4 | 3.46 | 0.03 | 255.34
2016-04-06 16:53 | 50A | 1187.1 | 1.84 | 0.01 | 266.08
2016-04-06 16:53 | 50B | 1363.6 | 1.71 | 0.01 | 276.71
2016-04-06 16:53 | 50C | 1308.2 | 1.75 | 0.01 | 287.34
2016-04-06 16:53 | 100A | 2644.8 | 1.23 | 0 | 297.99
2016-04-06 16:53 | 100B | 2807.2 | 1.19 | 0 | 308.62
2016-04-06 16:53 | 100C | 2659.2 | 1.23 | 0 | 319.27
2016-04-06 16:53 | 250A | 5950 | 0.82 | 0 | 329.91
2016-04-06 16:53 | 250B | 5967.7 | 0.82 | 0 | 340.56
2016-04-06 16:53 | 250C | 6767.6 | 0.77 | 0 | 351.22
2016-04-06 16:53 | 500A | 12318 | 0.57 | 0 | 361.9
2016-04-06 16:53 | 500B | 12837.1 | 0.56 | 0 | 372.58
2016-04-06 16:53 | 500C | 12811.3 | 0.56 | 0 | 383.26
2016-04-11 15:28 | 0A | 81.4 | 7.01 | 0.08 | 202.15
2016-04-11 15:28 | 0B | 78.3 | 7.15 | 0.09 | 212.79
2016-04-11 15:28 | 0C | 69.7 | 7.58 | 0.09 | 223.41
2016-04-11 15:28 | 10A | 306.7 | 3.61 | 0.02 | 234.04
2016-04-11 15:28 | 10B | 337 | 3.45 | 0.02 | 244.67
2016-04-11 15:28 | 10C | 337 | 3.45 | 0.02 | 255.31
2016-04-11 15:28 | 50A | 1196.9 | 1.83 | 0.01 | 266.04
2016-04-11 15:28 | 50B | 1361.8 | 1.71 | 0 | 276.68
2016-04-11 15:28 | 50C | 1356.7 | 1.72 | 0.01 | 287.31
2016-04-11 15:28 | 100A | 2741.7 | 1.21 | 0 | 297.95
2016-04-11 15:28 | 100B | 2812.7 | 1.19 | 0 | 308.58
2016-04-11 15:28 | 100C | 2748.3 | 1.21 | 0 | 319.23
2016-04-11 15:28 | 250A | 6029.7 | 0.81 | 0 | 329.88
2016-04-11 15:28 | 250B | 5982.2 | 0.82 | 0 | 340.53
2016-04-11 15:28 | 250C | 6828.1 | 0.77 | 0 | 351.19
2016-04-11 15:28 | 500A | 12521.6 | 0.57 | 0 | 361.87
2016-04-11 15:28 | 500B | 12916.4 | 0.56 | 0 | 372.54
2016-04-11 15:28 | 500C | 13064.3 | 0.55 | 0 | 383.22
2016-04-12 10:30 | 0A | 86.1 | 6.82 | 0.1 | 202.13
2016-04-12 10:30 | 0B | 76.4 | 7.24 | 0.09 | 212.76
2016-04-12 10:30 | 0C | 77.6 | 7.18 | 0.1 | 223.39
2016-04-12 10:30 | 10A | 313.3 | 3.57 | 0.03 | 234.02
2016-04-12 10:30 | 10B | 318.2 | 3.55 | 0.03 | 244.66
2016-04-12 10:30 | 10C | 345.6 | 3.4 | 0.02 | 255.29
2016-04-12 10:30 | 50A | 1191.8 | 1.83 | 0.01 | 266.03
2016-04-12 10:30 | 50B | 1368.1 | 1.71 | 0.01 | 276.66
2016-04-12 10:30 | 50C | 1368 | 1.71 | 0.01 | 287.29
2016-04-12 10:30 | 100A | 2740.9 | 1.21 | 0 | 297.93
2016-04-12 10:30 | 100B | 2795.8 | 1.2 | 0 | 308.57
2016-04-12 10:30 | 100C | 2717.6 | 1.21 | 0 | 319.2
2016-04-12 10:30 | 250A | 6012.7 | 0.82 | 0 | 329.86
2016-04-12 10:30 | 250B | 6069.3 | 0.81 | 0 | 340.51
2016-04-12 10:30 | 250C | 6750.4 | 0.77 | 0 | 351.16
2016-04-12 10:30 | 500A | 12580.6 | 0.56 | 0 | 361.84
2016-04-12 10:30 | 500B | 12852.1 | 0.56 | 0 | 372.5
2016-04-12 10:30 | 500C | 13035 | 0.55 | 0 | 383.19

## Count->Actual Activity
Sample ID | Phase | Counts (cps) | Error (cps) | Calibration Method | Activity (Bq) | Activity Error (Bq)
0A | Water | 1.392 | 0.096354 | Scintillation Counter | 0.29622 | 0.23298
0B | Water | 1.276 | 0.092255 | Scintillation Counter | 0.27083 | 0.23298
0C | Water | 1.242 | 0.091063 | Scintillation Counter | 0.26338 | 0.23298
10A | Water | 5.0803 | 0.18401 | Scintillation Counter | 1.1037 | 0.23298
10B | Water | 5.446 | 0.19072 | Scintillation Counter | 1.1838 | 0.23298
10C | Water | 5.5107 | 0.19166 | Scintillation Counter | 1.1979 | 0.23298
50A | Water | 19.8223 | 0.36354 | Scintillation Counter | 4.3312 | 0.23298
50B | Water | 22.6737 | 0.38863 | Scintillation Counter | 4.9555 | 0.23298
50C | Water | 22.273 | 0.38577 | Scintillation Counter | 4.8677 | 0.23298
100A | Water | 45.0497 | 0.5487 | Scintillation Counter | 9.8543 | 0.23299
100B | Water | 46.56 | 0.55686 | Scintillation Counter | 10.185 | 0.23299
100C | Water | 45.0037 | 0.54814 | Scintillation Counter | 9.8442 | 0.23299
250A | Water | 98.9127 | 0.81306 | Scintillation Counter | 21.6466 | 0.23301
250B | Water | 99.8287 | 0.8166 | Scintillation Counter | 21.8472 | 0.23301
250C | Water | 112.5347 | 0.86652 | Scintillation Counter | 24.6289 | 0.23302
500A | Water | 206.8973 | 1.1752 | Scintillation Counter | 45.288 | 0.23313
500B | Water | 212.898 | 1.1922 | Scintillation Counter | 46.6017 | 0.23314
500C | Water | 214.4257 | 1.1922 | Scintillation Counter | 46.9362 | 0.23314
0_A | Solid
0_B | Solid
0_C | Solid
5_A | Solid
5_B | Solid
5_C | Solid
10_A | Solid
10_B | Solid
10_C | Solid
50_A | Solid
50_B | Solid
50_C | Solid
100_A | Solid
100_B | Solid
100_C | Solid
500_A | Solid
500_B | Solid
500_C | Solid

## Bottle Results
Sample ID | Stock Volume Added (mL) | Stock Vol Err (mL) | Final pH | Mineral Mass (g) | Mineral Mass Error (g) | Total Volume (mL) | Total Volume Error (mL) | Solution counts (Bq) | Solution Counts error (Bq) | Counted Solution Vol (mL) | Counted Solution Vol error (mL) | Solid Counts (Bq) | Solid Counts Error (Bq) | Counted Solid Mass (g) | Counted Solid Mass error (g) | Cw (Bq/mL) | dCw (Bq/mL) | Total Activity (Bq) | dTotal Activity (Bq) | Cs (Bq/g) | dCs (Bq/g) | fSorb
0A | 0 | 0 | 5 | 0.0298 | 0.0001 | 100 | 5 | 0.29622 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.029622 | 0.023298 | 0 | #DIV/0! | -99.4042 |  | #DIV/0!
0B | 0 | 0 | 5 | 0.0295 | 0.0001 | 100 | 5 | 0.27083 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.027083 | 0.023298 | 0 | #DIV/0! | -91.8062 |  | #DIV/0!
0C | 0 | 0 | 5.01 | 0.0309 | 0.0001 | 100 | 5 | 0.26338 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.026338 | 0.023298 | 0 | #DIV/0! | -85.2378 |  | #DIV/0!
10A | 0.0158 | 0.0001 | 5 | 0.0295 | 0.0001 | 100 | 5 | 1.1037 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.11037 | 0.023299 | 9.9781 | 0.063709 | -35.903 |  | -0.10615
10B | 0.0158 | 0.0001 | 5 | 0.0293 | 0.0001 | 100 | 5 | 1.1838 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.11838 | 0.023299 | 9.9781 | 0.063709 | -63.4711 |  | -0.18638
10C | 0.0158 | 0.0001 | 5 | 0.0305 | 0.0001 | 100 | 5 | 1.1979 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.11979 | 0.023299 | 9.9781 | 0.063709 | -65.6157 |  | -0.20057
50A | 0.0792 | 0.0001 | 5.02 | 0.0298 | 0.0001 | 100 | 5 | 4.3312 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.43312 | 0.023314 | 50.0166 | 0.075903 | 224.9798 |  | 0.13404
50B | 0.0792 | 0.0001 | 5 | 0.0303 | 0.0001 | 100 | 5 | 4.9555 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.49555 | 0.023319 | 50.0166 | 0.075903 | 15.2446 |  | 0.0092352
50C | 0.0792 | 0.0001 | 5.01 | 0.0307 | 0.0001 | 100 | 5 | 4.8677 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.48677 | 0.023318 | 50.0166 | 0.075903 | 43.6189 |  | 0.026773
100A | 0.158 | 0.001 | 5 | 0.0302 | 0.0001 | 100 | 5 | 9.8543 | 0.23299 | 10 | 0.02 |  |  |  |  | 0.98543 | 0.023382 | 99.7805 | 0.63709 | 40.9805 |  | 0.012403
100B | 0.158 | 0.001 | 5.02 | 0.0298 | 0.0001 | 100 | 5 | 10.185 | 0.23299 | 10 | 0.02 |  |  |  |  | 1.0185 | 0.023387 | 99.7805 | 0.63709 | -69.4294 |  | -0.020735
100C | 0.158 | 0.001 | 4.98 | 0.0297 | 0.0001 | 100 | 5 | 9.8442 | 0.23299 | 10 | 0.02 |  |  |  |  | 0.98442 | 0.023382 | 99.7805 | 0.63709 | 45.0612 |  | 0.013413
250A | 0.396 | 0.001 | 5 | 0.0308 | 0.0001 | 100 | 5 | 21.6466 | 0.23301 | 10 | 0.02 |  |  |  |  | 2.1647 | 0.0237 | 250.0829 | 0.66569 | 1091.4448 |  | 0.13442
250B | 0.396 | 0.001 | 5.01 | 0.0308 | 0.0001 | 100 | 5 | 21.8472 | 0.23301 | 10 | 0.02 |  |  |  |  | 2.1847 | 0.023707 | 250.0829 | 0.66569 | 1026.3338 |  | 0.1264
250C | 0.396 | 0.001 | 5.01 | 0.0304 | 0.0001 | 100 | 5 | 24.6289 | 0.23302 | 10 | 0.02 |  |  |  |  | 2.4629 | 0.023817 | 250.0829 | 0.66569 | 124.788 |  | 0.015169
500A | 0.792 | 0.001 | 5.02 | 0.0305 | 0.0001 | 100 | 5 | 45.288 | 0.23313 | 10 | 0.02 |  |  |  |  | 4.5288 | 0.025011 | 500.1658 | 0.75903 | 1550.3665 |  | 0.094541
500B | 0.792 | 0.001 | 5 | 0.0294 | 0.0001 | 100 | 5 | 46.6017 | 0.23314 | 10 | 0.02 |  |  |  |  | 4.6602 | 0.025108 | 500.1658 | 0.75903 | 1161.5233 |  | 0.068275
500C | 0.792 | 0.001 | 5 | 0.0302 | 0.0001 | 100 | 5 | 46.9362 | 0.23314 | 10 | 0.02 |  |  |  |  | 4.6936 | 0.025133 | 500.1658 | 0.75903 | 1020.0077 |  | 0.061588

## Averaged Results
Sample | Cw (Bq/mL) | sCw (Bq/mL) | Cs (Bq/g) | sCs (Bq/g) | TotAct | fSorb | sfsorb | pH | spH
0 | 0.027681 | 0.0017218 | -92.1494 | 7.0895 | 0 | #DIV/0! |  | 5.0033 | 0.0057735
10 | 0.11618 | 0.0050803 | -54.9966 | 16.5702 | 9.9781 | -0.16436 | 0.050915 | 5 | 0
50 | 0.47181 | 0.033795 | 94.6144 | 113.7876 | 50.0166 | 0.056684 | 0.067567 | 5.01 | 0.01
100 | 0.99612 | 0.019388 | 5.5374 | 64.9552 | 99.7805 | 0.0016935 | 0.019431 | 5 | 0.0072648
250 | 2.2708 | 0.1667 | 747.5222 | 540.2854 | 250.0829 | 0.091998 | 0.066656 | 5.0067 | 0.0057735
500 | 4.6275 | 0.087124 | 1243.9658 | 274.6228 | 500.1658 | 0.074801 | 0.017419 | 5.0067 | 0.011547