## Parameters
Parameters | Value | Error | Units | Notes
Experiment Date | 2016-02-19
Sample Volume | 100 | 0.172 | mL | Liquid volume
Mineral Type | Na Montmorillonite
Radium Stock Used | Ra_Stock_4
Stock Activity | 631.5225 | 0.53167 | Bq/mL | Activity of stock used to add radium (note you should use the actual activity, not the counted activity)
Independent Cs? | FALSE

## Calibration Data
| Mean (CPM) | Error (CPM) | Scintillation Counter (cps) | Error (cps) | Gamma Counter (CPS) | Error (CPS) | Known Activity (uCi) | Known Activity (Bq) | Known-Average | Gamma Counter Calculated Activity | Scint Counter Calculated Activity (Bq) | Squared Actual Activity Variation from Average | Error (Bq)
Background | 69.2667 | 4.0713 | 1.1544 | 0.067855 | 0.0011574 |  | 0 | 0 |  |  | 0.24403 |  | 0.23936
RaStd_0.01mL | 213.5333 | 4.539 | 3.5589 | 0.075649 | 0.0034641 | 0.00061344 | 1.59e-05 | 0.5883 | 4187.7724 | -2.2499 | 0.77044 | 4187.7724 | 0.23926
RaStd_0.05mL | 851.3667 | 12.5306 | 14.1894 | 0.20884 | 0.0079815 | 0.00085145 | 7.95e-05 | 2.9415 | 3888.7447 | 1.1815 | 3.0978 | 3888.7447 | 0.23882
RaStd_0.1mL | 1635.7 | 32.621 | 27.2617 | 0.54368 | 0.012604 | 0.00093201 | 0.000159 | 5.883 | 3530.5344 | 4.6928 | 5.9598 | 3530.5344 | 0.2383
RaStd_0.5mL | 7998.8333 | 50.2341 | 133.3139 | 0.83724 | 0.05022 | 0.0025444 | 0.000795 | 29.415 | 1287.8265 | 33.2654 | 29.1781 | 1287.8265 | 0.23497
RaStd_1mL | 16057.1333 | 53.5133 | 267.6189 | 0.89189 | 0.094873 | 0.0029522 | 0.00159 | 58.83 | 41.8777 | 67.1831 | 58.5818 | 41.8777 | 0.23305
RaStd_5mL | 80635.3 | 80.455 | 1343.9217 | 1.3409 | 0.3905 | 0.0056159 | 0.00795 | 294.15 | 52371.7275 | 291.7368 | 294.2199 | 52371.7275 | 0.30267
65308.4831
Scintillation Counter
SUMMARY OUTPUT | Counter CPS->Activity (Bq) | DOES NOT INCLUDE BACKGROUND | [7 empty] | Scintillation Counter
[10 empty] | Activity (Bq) - > Counter CPS |  | DOES NOT INCLUDE BACKGROUND | [7 empty] | SUMMARY OUTPUT
Regression Statistics
Multiple R | 1 | [8 empty] | SUMMARY OUTPUT | [9 empty] | Regression Statistics
R Square | 1 | [18 empty] | Multiple R | 1
Adjusted R Square | 1 | [8 empty] | Regression Statistics | [9 empty] | R Square | 1
Standard Error | 0.2157 | [8 empty] | Multiple R | 1 | [8 empty] | Adjusted R Square | 1
Observations | 6 | [8 empty] | R Square | 1 | [8 empty] | Standard Error | 0.21658
[10 empty] | Adjusted R Square | 1 | [8 empty] | Observations | 7
ANOVA | [9 empty] | Standard Error | 0.98522 | Std dev of residuals
| df | SS | MS | F | Significance F |  |  |  |  | Observations | 6 | [8 empty] | ANOVA
Regression | 1 | 65308.297 | 65308.297 | 1403732.1259 | 3.045e-12 | [15 empty] | df | SS | MS | F | Significance F
Residual | 4 | 0.1861 | 0.046525 | [6 empty] | ANOVA | [9 empty] | Regression | 1 | 68963.3284 | 68963.3284 | 1470245.4671 | 7.2415e-15
Total | 5 | 65308.4831 | [8 empty] | df |  | SS | MS | F | Significance F |  |  |  | Residual | 5 | 0.23453 | 0.046906
[10 empty] | Regression | 1 |  | 1362535.4424 | 1362535.4424 | 1403732.1259 | 3.045e-12 |  |  |  | Total | 6 | 68963.563
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Residual | 4 |  | 3.8826 | 0.97065
Intercept | -0.0085291 | 0.10389 | -0.082099 | 0.93851 | -0.29697 | 0.27991 | -0.29697 | 0.27991 |  | Total | 5 |  | 1362539.325 | [7 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
X Variable 1 | 0.21893 | 0.00018479 | 1184.792 | 3.045e-12 | 0.21842 | 0.21945 | 0.21842 | 0.21945 | [11 empty] | Intercept | -0.054483 | 0.093999 | -0.57961 | 0.58731 | -0.29612 | 0.18715 | -0.29612 | 0.18715
[11 empty] | Coefficients |  | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% | X Variable 1 | 0.21898 | 0.00018059 | 1212.5368 | 7.2415e-15 | 0.21851 | 0.21944 | 0.21851 | 0.21944
[10 empty] | Intercept | 0.039808 |  | 0.4745 | 0.083894 | 0.93717 | -1.2776 | 1.3572 | -1.2776 | 1.3572
[10 empty] | X Variable 1 | 4.5676 |  | 0.0038552 | 1184.792 | 3.045e-12 | 4.5569 | 4.5783 | 4.5569 | 4.5783
RESIDUAL OUTPUT
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | 0.77063 | -0.18233 | [7 empty] | RESIDUAL OUTPUT | [9 empty] | Observation | Predicted Y | Residuals
2 | 3.098 | -0.1565 | [17 empty] | 1 | 0.19831 | -0.19831
3 | 5.9599 | -0.076928 | [7 empty] | Observation | Predicted Y |  | Residuals | Residual Squared | [5 empty] | 2 | 0.72483 | -0.13653
4 | 29.1782 | 0.23683 | [7 empty] | 1 | 2.7269 |  | 0.83196 | 0.69215 | [5 empty] | 3 | 3.0527 | -0.11116
5 | 58.5819 | 0.24813 | [7 empty] | 2 | 13.4754 |  | 0.71401 | 0.50981 | [5 empty] | 4 | 5.9152 | -0.032153
6 | 294.2192 | -0.069209 | [7 empty] | 3 | 26.9111 |  | 0.3506 | 0.12292 | [5 empty] | 5 | 29.138 | 0.27701
6 | 1343.6026 | 0.3191 | [7 empty] | 4 | 134.3961 |  | -1.0822 | 1.1711 | [5 empty] | 6 | 58.5475 | 0.28251
[10 empty] | 5 | 268.7524 |  | -1.1335 | 1.2848 | [5 empty] | 7 | 294.2314 | -0.081379
Parsons Gamma Counter | [9 empty] | 6 | 1343.6026 |  | 0.3191 | 0.10182
SUMMARY OUTPUT | Gamma Counter CPS->Bq
Regression Statistics
Multiple R | 0.99914
R Square | 0.99827
Adjusted R Square | 0.99793
Standard Error | 4.8787
Observations | 7
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 68844.5538 | 68844.5538 | 2892.4063 | 4.2029e-08
Residual | 5 | 119.0091 | 23.8018
Total | 6 | 68963.563
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | -4.8812 | 2.1635 | -2.2562 | 0.073704 | -10.4425 | 0.6802 | -10.4425 | 0.6802
X Variable 1 | 759.5896 | 14.1237 | 53.7811 | 4.2029e-08 | 723.2834 | 795.8958 | 723.2834 | 795.8958
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | -4.002 | 4.002
2 | -2.2499 | 2.8382
3 | 1.1815 | 1.76
4 | 4.6928 | 1.1902
5 | 33.2654 | -3.8504
6 | 67.1831 | -8.3531
7 | 291.7368 | 2.4132

## Scintillation Counter Results
Date | Sample | CPM | % Error | Lumex % | Elapsed Time
2016-04-04 09:55 | 0A | 76 | 7.25 | 0.25 | 394.08
2016-04-04 09:55 | 0B | 82.3 | 6.97 | 0.15 | 404.71
2016-04-04 09:55 | 0C | 83.6 | 6.92 | 0.14 | 415.35
2016-04-04 09:55 | 10A | 234.5 | 4.13 | 0.05 | 425.98
2016-04-04 09:55 | 10B | 246.8 | 4.03 | 0.05 | 436.61
2016-04-04 09:55 | 10C | 256.7 | 3.95 | 0.005 | 447.25
2016-04-04 09:55 | 50A | 990.5 | 2.01 | 0.01 | 457.9
2016-04-04 09:55 | 50B | 1073 | 1.93 | 0.01 | 468.53
2016-04-04 09:55 | 50C | 1111.1 | 1.9 | 0.01 | 479.16
2016-04-04 09:55 | 100A | 2094.2 | 1.38 | 0.01 | 489.8
2016-04-04 09:55 | 100B | 2147.1 | 1.36 | 0.01 | 500.44
2016-04-04 09:55 | 100C | 2516.2 | 1.26 | 0.01 | 511.09
2016-04-04 09:55 | 250A | 5568.9 | 0.85 | 0 | 521.83
2016-04-04 09:55 | 250B | 5261.1 | 0.87 | 0 | 532.48
2016-04-04 09:55 | 250C | 5513.2 | 0.85 | 0 | 543.13
2016-04-04 09:55 | 500A | 11203.1 | 0.6 | 0 | 553.8
2016-04-04 09:55 | 500B | 11652.2 | 0.59 | 0 | 564.49
2016-04-04 09:55 | 500C | 11682.7 | 0.59 | 0 | 575.17
2016-04-05 14:20 | 0A | 81 | 7.03 | 0.12 | 202.18
2016-04-05 14:20 | 0B | 74.2 | 7.34 | 0.11 | 212.81
2016-04-05 14:20 | 0C | 75.5 | 7.28 | 0.13 | 223.44
2016-04-05 14:20 | 10A | 294.9 | 3.68 | 0.03 | 234.08
2016-04-05 14:20 | 10B | 320.6 | 3.53 | 0.03 | 244.71
2016-04-05 14:20 | 10C | 315.2 | 3.56 | 0.03 | 255.36
2016-04-05 14:20 | 50A | 1181.9 | 1.84 | 0.01 | 266.1
2016-04-05 14:20 | 50B | 1342.9 | 1.73 | 0.01 | 276.73
2016-04-05 14:20 | 50C | 1326.5 | 1.74 | 0.01 | 287.37
2016-04-05 14:20 | 100A | 2664.4 | 1.23 | 0 | 298
2016-04-05 14:20 | 100B | 2761.1 | 1.2 | 0 | 308.63
2016-04-05 14:20 | 100C | 2679 | 1.22 | 0 | 319.29
2016-04-05 14:20 | 250A | 5824.2 | 0.83 | 0 | 329.93
2016-04-05 14:20 | 250B | 5954.9 | 0.82 | 0 | 340.6
2016-04-05 14:20 | 250C | 6711.2 | 0.77 | 0 | 351.25
2016-04-05 14:20 | 500A | 12310.4 | 0.57 | 0 | 361.94
2016-04-05 14:20 | 500B | 12627.1 | 0.56 | 0 | 372.63
2016-04-05 14:20 | 500C | 12773.7 | 0.56 | 0 | 383.31
2016-04-06 16:53 | 0A | 73.7 | 7.37 | 0.23 | 394
2016-04-06 16:53 | 0B | 84.5 | 6.88 | 0.09 | 404.62
2016-04-06 16:53 | 0C | 80.9 | 7.03 | 0.09 | 415.26
2016-04-06 16:53 | 10A | 242.5 | 4.06 | 0.03 | 425.89
2016-04-06 16:53 | 10B | 252.7 | 3.98 | 0.03 | 436.53
2016-04-06 16:53 | 10C | 247 | 4.02 | 0.04 | 447.16
2016-04-06 16:53 | 50A | 1003.6 | 2 | 0.01 | 457.79
2016-04-06 16:53 | 50B | 1074.9 | 1.93 | 0.01 | 468.43
2016-04-06 16:53 | 50C | 1122.4 | 1.89 | 0.01 | 479.06
2016-04-06 16:53 | 100A | 2073.2 | 1.39 | 0 | 489.7
2016-04-06 16:53 | 100B | 2157.6 | 1.36 | 0 | 500.33
2016-04-06 16:53 | 100C | 2507.6 | 1.26 | 0 | 510.96
2016-04-06 16:53 | 250A | 5521.4 | 0.85 | 0 | 521.71
2016-04-06 16:53 | 250B | 5265.2 | 0.87 | 0 | 532.36
2016-04-06 16:53 | 250C | 5493.1 | 0.85 | 0 | 543.01
2016-04-06 16:53 | 500A | 11213.2 | 0.6 | 0 | 553.69
2016-04-06 16:53 | 500B | 11722.3 | 0.58 | 0 | 564.35
2016-04-06 16:53 | 500C | 11610 | 0.59 | 0 | 575.04
2016-04-11 15:28 | 0A | 73 | 7.4 | 0.26 | 393.94
2016-04-11 15:28 | 0B | 85 | 6.86 | 0.06 | 404.57
2016-04-11 15:28 | 0C | 80.4 | 7.05 | 0.09 | 415.2
2016-04-11 15:28 | 10A | 232.4 | 4.15 | 0.03 | 425.84
2016-04-11 15:28 | 10B | 247.1 | 4.02 | 0.03 | 436.48
2016-04-11 15:28 | 10C | 254.8 | 3.96 | 0.07 | 447.12
2016-04-11 15:28 | 50A | 1018.6 | 1.98 | 0.01 | 457.74
2016-04-11 15:28 | 50B | 1113.9 | 1.89 | 0.01 | 468.38
2016-04-11 15:28 | 50C | 1135.5 | 1.88 | 0.01 | 479.01
2016-04-11 15:28 | 100A | 2127.2 | 1.37 | 0 | 489.65
2016-04-11 15:28 | 100B | 2178.2 | 1.36 | 0 | 500.28
2016-04-11 15:28 | 100C | 2519.4 | 1.26 | 0 | 510.93
2016-04-11 15:28 | 250A | 5655.1 | 0.84 | 0 | 521.67
2016-04-11 15:28 | 250B | 5289.8 | 0.87 | 0 | 532.33
2016-04-11 15:28 | 250C | 5515.3 | 0.85 | 0 | 542.98
2016-04-11 15:28 | 500A | 11044.3 | 0.6 | 0 | 553.65
2016-04-11 15:28 | 500B | 11643.6 | 0.59 | 0 | 564.32
2016-04-11 15:28 | 500C | 11643 | 0.59 | 0 | 575
2016-04-12 10:30 | 0A | 83.4 | 6.93 | 0.2 | 393.91
2016-04-12 10:30 | 0B | 88.5 | 6.72 | 0.07 | 404.54
2016-04-12 10:30 | 0C | 84.6 | 6.88 | 0.09 | 415.17
2016-04-12 10:30 | 10A | 237.6 | 4.1 | 0.03 | 425.81
2016-04-12 10:30 | 10B | 241.7 | 4.07 | 0.03 | 436.44
2016-04-12 10:30 | 10C | 263.7 | 3.89 | 0.06 | 447.06
2016-04-12 10:30 | 50A | 1039.6 | 1.96 | 0.01 | 457.69
2016-04-12 10:30 | 50B | 1083.7 | 1.92 | 0.01 | 468.32
2016-04-12 10:30 | 50C | 1143.5 | 1.87 | 0.01 | 478.96
2016-04-12 10:30 | 100A | 2120.6 | 1.37 | 0 | 489.6
2016-04-12 10:30 | 100B | 2174.4 | 1.36 | 0 | 500.25
2016-04-12 10:30 | 100C | 2545.8 | 1.25 | 0 | 510.88
2016-04-12 10:30 | 250A | 5633 | 0.84 | 0 | 521.63
2016-04-12 10:30 | 250B | 5371.5 | 0.86 | 0 | 532.28
2016-04-12 10:30 | 250C | 5545.7 | 0.85 | 0 | 542.93
2016-04-12 10:30 | 500A | 11072.7 | 0.6 | 0 | 553.6
2016-04-12 10:30 | 500B | 11562 | 0.59 | 0 | 564.27
2016-04-12 10:30 | 500C | 11688.9 | 0.58 | 0 | 574.95

## Count->Actual Activity
Sample ID | Phase | Counts (cps) | Error (cps) | Calibration Method | Activity (Bq) | Activity Error (Bq)
0A | Water | 1.2903 | 0.092852 | Scintillation Counter | 0.27397 | 0.23298
0B | Water | 1.3817 | 0.096081 | Scintillation Counter | 0.29396 | 0.23298
0C | Water | 1.35 | 0.094932 | Scintillation Counter | 0.28703 | 0.23298
10A | Water | 4.1397 | 0.16658 | Scintillation Counter | 0.89778 | 0.23298
10B | Water | 4.363 | 0.17129 | Scintillation Counter | 0.94667 | 0.23298
10C | Water | 4.458 | 0.17279 | Scintillation Counter | 0.96747 | 0.23298
50A | Water | 17.4473 | 0.34162 | Scintillation Counter | 3.8113 | 0.23298
50B | Water | 19.2308 | 0.35914 | Scintillation Counter | 4.2017 | 0.23298
50C | Water | 19.4633 | 0.36124 | Scintillation Counter | 4.2526 | 0.23298
100A | Water | 37.4392 | 0.50168 | Scintillation Counter | 8.1881 | 0.23298
100B | Water | 38.6304 | 0.50992 | Scintillation Counter | 8.4489 | 0.23298
100C | Water | 42.56 | 0.532 | Scintillation Counter | 9.3092 | 0.23298
250A | Water | 94.0087 | 0.79155 | Scintillation Counter | 20.573 | 0.23301
250B | Water | 91.1725 | 0.77952 | Scintillation Counter | 19.9521 | 0.23301
250C | Water | 96.9387 | 0.80459 | Scintillation Counter | 21.2145 | 0.23301
500A | Water | 190.1692 | 1.1268 | Scintillation Counter | 41.6256 | 0.2331
500B | Water | 198.1458 | 1.1492 | Scintillation Counter | 43.372 | 0.23312
500C | Water | 198.815 | 1.1531 | Scintillation Counter | 43.5185 | 0.23312
0_A | Solid
0_B | Solid
0_C | Solid
5_A | Solid
5_B | Solid
5_C | Solid
10_A | Solid
10_B | Solid
10_C | Solid
50_A | Solid
50_B | Solid
50_C | Solid
100_A | Solid
100_B | Solid
100_C | Solid
500_A | Solid
500_B | Solid
500_C | Solid

## Bottle Results
Sample ID | Stock Volume Added (mL) | Stock Vol Err (mL) | Final pH | Mineral Mass (g) | Mineral Mass Error (g) | Total Volume (mL) | Total Volume Error (mL) | Solution counts (Bq) | Solution Counts error (Bq) | Counted Solution Vol (mL) | Counted Solution Vol error (mL) | Solid Counts (Bq) | Solid Counts Error (Bq) | Counted Solid Mass (g) | Counted Solid Mass error (g) | Cw (Bq/mL) | dCw (Bq/mL) | Total Activity (Bq) | dTotal Activity (Bq) | Cs (Bq/g) | dCs (Bq/g) | fSorb
0A | 0 | 0 | 6.99 | 0.03 | 0.0001 | 100 | 5 | 0.27397 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.027397 | 0.023298 | 0 | #DIV/0! | -91.3221 |  | #DIV/0!
0B | 0 | 0 | 6.99 | 0.0302 | 0.0001 | 100 | 5 | 0.29396 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.029396 | 0.023298 | 0 | #DIV/0! | -97.3385 |  | #DIV/0!
0C | 0 | 0 | 7 | 0.0307 | 0.0001 | 100 | 5 | 0.28703 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.028703 | 0.023298 | 0 | #DIV/0! | -93.4949 |  | #DIV/0!
10A | 0.0158 | 0.0001 | 6.99 | 0.0295 | 0.0001 | 100 | 5 | 0.89778 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.089778 | 0.023299 | 9.9781 | 0.063709 | 33.9079 |  | 0.10025
10B | 0.0158 | 0.0001 | 6.99 | 0.0294 | 0.0001 | 100 | 5 | 0.94667 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.094667 | 0.023299 | 9.9781 | 0.063709 | 17.3923 |  | 0.051246
10C | 0.0158 | 0.0001 | 7 | 0.0302 | 0.0001 | 100 | 5 | 0.96747 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.096747 | 0.023299 | 9.9781 | 0.063709 | 10.0446 |  | 0.030402
50A | 0.0792 | 0.0001 | 7 | 0.0301 | 0.0001 | 100 | 5 | 3.8113 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.38113 | 0.02331 | 50.0166 | 0.075903 | 395.483 |  | 0.238
50B | 0.0792 | 0.0001 | 7.02 | 0.0299 | 0.0001 | 100 | 5 | 4.2017 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.42017 | 0.023313 | 50.0166 | 0.075903 | 267.5379 |  | 0.15993
50C | 0.0792 | 0.0001 | 6.98 | 0.0304 | 0.0001 | 100 | 5 | 4.2526 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.42526 | 0.023314 | 50.0166 | 0.075903 | 246.3936 |  | 0.14976
100A | 0.158 | 0.001 | 7 | 0.03 | 0.0001 | 100 | 5 | 8.1881 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.81881 | 0.023356 | 99.7805 | 0.63709 | 596.6482 |  | 0.17939
100B | 0.158 | 0.001 | 7 | 0.0298 | 0.0001 | 100 | 5 | 8.4489 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.84489 | 0.02336 | 99.7805 | 0.63709 | 513.1347 |  | 0.15325
100C | 0.158 | 0.001 | 7.01 | 0.0298 | 0.0001 | 100 | 5 | 9.3092 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.93092 | 0.023373 | 99.7805 | 0.63709 | 224.4393 |  | 0.06703
250A | 0.396 | 0.001 | 6.99 | 0.0302 | 0.0001 | 100 | 5 | 20.573 | 0.23301 | 10 | 0.02 |  |  |  |  | 2.0573 | 0.023661 | 250.0829 | 0.66569 | 1468.6402 |  | 0.17735
250B | 0.396 | 0.001 | 7 | 0.0297 | 0.0001 | 100 | 5 | 19.9521 | 0.23301 | 10 | 0.02 |  |  |  |  | 1.9952 | 0.02364 | 250.0829 | 0.66569 | 1702.4316 |  | 0.20218
250C | 0.396 | 0.001 | 6.99 | 0.0301 | 0.0001 | 100 | 5 | 21.2145 | 0.23301 | 10 | 0.02 |  |  |  |  | 2.1214 | 0.023684 | 250.0829 | 0.66569 | 1260.4 |  | 0.1517
500A | 0.792 | 0.001 | 7.01 | 0.0307 | 0.0001 | 100 | 5 | 41.6256 | 0.2331 | 10 | 0.02 |  |  |  |  | 4.1626 | 0.024753 | 500.1658 | 0.75903 | 2733.2092 |  | 0.16776
500B | 0.792 | 0.001 | 7 | 0.0293 | 0.0001 | 100 | 5 | 43.372 | 0.23312 | 10 | 0.02 |  |  |  |  | 4.3372 | 0.024873 | 500.1658 | 0.75903 | 2267.7826 |  | 0.13285
500C | 0.792 | 0.001 | 7 | 0.0298 | 0.0001 | 100 | 5 | 43.5185 | 0.23312 | 10 | 0.02 |  |  |  |  | 4.3518 | 0.024884 | 500.1658 | 0.75903 | 2180.5708 |  | 0.12992

## Averaged Results
Sample | Cw (Bq/mL) | sCw (Bq/mL) | Cs (Bq/g) | sCs (Bq/g) | TotAct | fSorb | sfsorb | pH | spH
0 | 0.028499 | 0.0010153 | -94.0518 | 3.0466 | 0 | #DIV/0! |  | 6.9933 | 0.0057735
10 | 0.093731 | 0.0035778 | 20.4483 | 12.2216 | 9.9781 | 0.060632 | 0.035857 | 6.9933 | 0.0057735
50 | 0.40885 | 0.024147 | 303.1381 | 80.6688 | 50.0166 | 0.18256 | 0.048279 | 7 | 0.02
100 | 0.86487 | 0.058667 | 444.7407 | 195.3027 | 99.7805 | 0.13322 | 0.058796 | 7.0033 | 0.01118
250 | 2.058 | 0.063124 | 1477.1573 | 221.1388 | 250.0829 | 0.17708 | 0.025241 | 6.9933 | 0.0057735
500 | 4.2839 | 0.10531 | 2393.8542 | 297.1075 | 500.1658 | 0.14351 | 0.021055 | 7.0033 | 0.0057735