## Parameters
Parameters | Value | Error | Units | Notes
Experiment Date | 2016-02-19
Sample Volume | 100 | 0.172 | mL | Liquid volume
Mineral Type | Goethite
Radium Stock Used | Ra_Stock_5
Stock Activity | 1438.339 | 7.2 | Bq/mL | Activity of stock used to add radium (note you should use the actual activity, not the counted activity)
Independent Cs? | FALSE

## Calibration Data
| Mean (CPM) | Error (CPM) | Scintillation Counter (cps) | Error (cps) | Gamma Counter (CPS) | Error (CPS) | Known Activity (uCi) | Known Activity (Bq) | Known-Average | Gamma Counter Calculated Activity | Scint Counter Calculated Activity (Bq) | Squared Actual Activity Variation from Average | Error (Bq)
Background | 69.2667 | 4.0713 | 1.1544 | 0.067855 | 0.0011574 |  | 0 | 0 |  |  | 0.24403 |  | 0.23936
RaStd_0.01mL | 213.5333 | 4.539 | 3.5589 | 0.075649 | 0.0034641 | 0.00061344 | 1.59e-05 | 0.5883 | 4187.7724 | -2.2499 | 0.77044 | 4187.7724 | 0.23926
RaStd_0.05mL | 851.3667 | 12.5306 | 14.1894 | 0.20884 | 0.0079815 | 0.00085145 | 7.95e-05 | 2.9415 | 3888.7447 | 1.1815 | 3.0978 | 3888.7447 | 0.23882
RaStd_0.1mL | 1635.7 | 32.621 | 27.2617 | 0.54368 | 0.012604 | 0.00093201 | 0.000159 | 5.883 | 3530.5344 | 4.6928 | 5.9598 | 3530.5344 | 0.2383
RaStd_0.5mL | 7998.8333 | 50.2341 | 133.3139 | 0.83724 | 0.05022 | 0.0025444 | 0.000795 | 29.415 | 1287.8265 | 33.2654 | 29.1781 | 1287.8265 | 0.23497
RaStd_1mL | 16057.1333 | 53.5133 | 267.6189 | 0.89189 | 0.094873 | 0.0029522 | 0.00159 | 58.83 | 41.8777 | 67.1831 | 58.5818 | 41.8777 | 0.23305
RaStd_5mL | 80635.3 | 80.455 | 1343.9217 | 1.3409 | 0.3905 | 0.0056159 | 0.00795 | 294.15 | 52371.7275 | 291.7368 | 294.2199 | 52371.7275 | 0.30267
65308.4831
Scintillation Counter
SUMMARY OUTPUT | Counter CPS->Activity (Bq) | DOES NOT INCLUDE BACKGROUND | [7 empty] | Scintillation Counter
[10 empty] | Activity (Bq) - > Counter CPS |  | DOES NOT INCLUDE BACKGROUND | [7 empty] | SUMMARY OUTPUT
Regression Statistics
Multiple R | 1 | [8 empty] | SUMMARY OUTPUT | [9 empty] | Regression Statistics
R Square | 1 | [18 empty] | Multiple R | 1
Adjusted R Square | 1 | [8 empty] | Regression Statistics | [9 empty] | R Square | 1
Standard Error | 0.2157 | [8 empty] | Multiple R | 1 | [8 empty] | Adjusted R Square | 1
Observations | 6 | [8 empty] | R Square | 1 | [8 empty] | Standard Error | 0.21658
[10 empty] | Adjusted R Square | 1 | [8 empty] | Observations | 7
ANOVA | [9 empty] | Standard Error | 0.98522 | Std dev of residuals
| df | SS | MS | F | Significance F |  |  |  |  | Observations | 6 | [8 empty] | ANOVA
Regression | 1 | 65308.297 | 65308.297 | 1403732.1259 | 3.045e-12 | [15 empty] | df | SS | MS | F | Significance F
Residual | 4 | 0.1861 | 0.046525 | [6 empty] | ANOVA | [9 empty] | Regression | 1 | 68963.3284 | 68963.3284 | 1470245.4671 | 7.2415e-15
Total | 5 | 65308.4831 | [8 empty] | df |  | SS | MS | F | Significance F |  |  |  | Residual | 5 | 0.23453 | 0.046906
[10 empty] | Regression | 1 |  | 1362535.4424 | 1362535.4424 | 1403732.1259 | 3.045e-12 |  |  |  | Total | 6 | 68963.563
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Residual | 4 |  | 3.8826 | 0.97065
Intercept | -0.0085291 | 0.10389 | -0.082099 | 0.93851 | -0.29697 | 0.27991 | -0.29697 | 0.27991 |  | Total | 5 |  | 1362539.325 | [7 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
X Variable 1 | 0.21893 | 0.00018479 | 1184.792 | 3.045e-12 | 0.21842 | 0.21945 | 0.21842 | 0.21945 | [11 empty] | Intercept | -0.054483 | 0.093999 | -0.57961 | 0.58731 | -0.29612 | 0.18715 | -0.29612 | 0.18715
[11 empty] | Coefficients |  | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% | X Variable 1 | 0.21898 | 0.00018059 | 1212.5368 | 7.2415e-15 | 0.21851 | 0.21944 | 0.21851 | 0.21944
[10 empty] | Intercept | 0.039808 |  | 0.4745 | 0.083894 | 0.93717 | -1.2776 | 1.3572 | -1.2776 | 1.3572
[10 empty] | X Variable 1 | 4.5676 |  | 0.0038552 | 1184.792 | 3.045e-12 | 4.5569 | 4.5783 | 4.5569 | 4.5783
RESIDUAL OUTPUT
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | 0.77063 | -0.18233 | [7 empty] | RESIDUAL OUTPUT | [9 empty] | Observation | Predicted Y | Residuals
2 | 3.098 | -0.1565 | [17 empty] | 1 | 0.19831 | -0.19831
3 | 5.9599 | -0.076928 | [7 empty] | Observation | Predicted Y |  | Residuals | Residual Squared | [5 empty] | 2 | 0.72483 | -0.13653
4 | 29.1782 | 0.23683 | [7 empty] | 1 | 2.7269 |  | 0.83196 | 0.69215 | [5 empty] | 3 | 3.0527 | -0.11116
5 | 58.5819 | 0.24813 | [7 empty] | 2 | 13.4754 |  | 0.71401 | 0.50981 | [5 empty] | 4 | 5.9152 | -0.032153
6 | 294.2192 | -0.069209 | [7 empty] | 3 | 26.9111 |  | 0.3506 | 0.12292 | [5 empty] | 5 | 29.138 | 0.27701
6 | 1343.6026 | 0.3191 | [7 empty] | 4 | 134.3961 |  | -1.0822 | 1.1711 | [5 empty] | 6 | 58.5475 | 0.28251
[10 empty] | 5 | 268.7524 |  | -1.1335 | 1.2848 | [5 empty] | 7 | 294.2314 | -0.081379
Parsons Gamma Counter | [9 empty] | 6 | 1343.6026 |  | 0.3191 | 0.10182
SUMMARY OUTPUT | Gamma Counter CPS->Bq
Regression Statistics
Multiple R | 0.99914
R Square | 0.99827
Adjusted R Square | 0.99793
Standard Error | 4.8787
Observations | 7
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 68844.5538 | 68844.5538 | 2892.4063 | 4.2029e-08
Residual | 5 | 119.0091 | 23.8018
Total | 6 | 68963.563
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | -4.8812 | 2.1635 | -2.2562 | 0.073704 | -10.4425 | 0.6802 | -10.4425 | 0.6802
X Variable 1 | 759.5896 | 14.1237 | 53.7811 | 4.2029e-08 | 723.2834 | 795.8958 | 723.2834 | 795.8958
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | -4.002 | 4.002
2 | -2.2499 | 2.8382
3 | 1.1815 | 1.76
4 | 4.6928 | 1.1902
5 | 33.2654 | -3.8504
6 | 67.1831 | -8.3531
7 | 291.7368 | 2.4132

## Scintillation Counter Results
Date | Sample | CPM | % Error | Lumex % | Elapsed Time
2016-04-04 09:55 | 0A | 80.8 | 7.04 | 0.18 | 585.8
2016-04-04 09:55 | 0B | 73 | 7.4 | 0.22 | 596.43
2016-04-04 09:55 | 0C | 74.1 | 7.35 | 0.17 | 607.06
2016-04-04 09:55 | 10A | 77.5 | 7.18 | 0.15 | 617.69
2016-04-04 09:55 | 10B | 81.3 | 7.01 | 0.15 | 628.33
2016-04-04 09:55 | 10C | 76.1 | 7.25 | 0.13 | 638.96
2016-04-04 09:55 | 50A | 132.4 | 5.5 | 0.07 | 649.69
2016-04-04 09:55 | 50B | 157.8 | 5.03 | 0.07 | 660.33
2016-04-04 09:55 | 50C | 133.3 | 5.48 | 0.08 | 670.96
2016-04-04 09:55 | 100A | 381.6 | 3.24 | 0.03 | 681.59
2016-04-04 09:55 | 100B | 306.8 | 3.61 | 0.03 | 692.23
2016-04-04 09:55 | 100C | 293.7 | 3.69 | 0.03 | 702.87
2016-04-04 09:55 | 250A | 1029.8 | 1.97 | 0.01 | 713.51
2016-04-04 09:55 | 250B | 1386.4 | 1.7 | 0.01 | 724.15
2016-04-04 09:55 | 250C | 1294.5 | 1.76 | 0.01 | 734.78
2016-04-04 09:55 | 500A | 2361.2 | 1.3 | 0.01 | 745.43
2016-04-04 09:55 | 500B | 2352.9 | 1.3 | 0 | 756.07
2016-04-04 09:55 | 500C | 2636.2 | 1.23 | 0 | 766.7
2016-04-05 14:20 | 0A | 76.9 | 7.21 | 0.2 | 585.75
2016-04-05 14:20 | 0B | 72.1 | 7.45 | 0.19 | 596.37
2016-04-05 14:20 | 0C | 71.6 | 7.47 | 0.14 | 607.01
2016-04-05 14:20 | 10A | 81.7 | 7 | 0.13 | 617.64
2016-04-05 14:20 | 10B | 82.1 | 6.98 | 0.1 | 628.27
2016-04-05 14:20 | 10C | 81.2 | 7.02 | 0.12 | 638.91
2016-04-05 14:20 | 50A | 129.5 | 5.56 | 0.07 | 649.64
2016-04-05 14:20 | 50B | 158.6 | 5.02 | 0.05 | 660.27
2016-04-05 14:20 | 50C | 134.6 | 5.45 | 0.07 | 670.91
2016-04-05 14:20 | 100A | 387.2 | 3.21 | 0.02 | 681.53
2016-04-05 14:20 | 100B | 287.8 | 3.73 | 0.03 | 692.16
2016-04-05 14:20 | 100C | 297.2 | 3.67 | 0.04 | 702.79
2016-04-05 14:20 | 250A | 1013.7 | 1.99 | 0.01 | 713.43
2016-04-05 14:20 | 250B | 1362.9 | 1.71 | 0.01 | 724.07
2016-04-05 14:20 | 250C | 1290.2 | 1.76 | 0.01 | 734.69
2016-04-05 14:20 | 500A | 2427.11 | 1.28 | 0.01 | 745.34
2016-04-05 14:20 | 500B | 2377.4 | 1.3 | 0 | 755.98
2016-04-05 14:20 | 500C | 2645.3 | 1.23 | 0 | 766.64
2016-04-06 16:53 | 0A | 76.3 | 7.24 | 0.18 | 585.66
2016-04-06 16:53 | 0B | 75.1 | 7.3 | 0.17 | 596.29
2016-04-06 16:53 | 0C | 77.6 | 7.18 | 0.12 | 606.92
2016-04-06 16:53 | 10A | 77.4 | 7.19 | 0.12 | 617.56
2016-04-06 16:53 | 10B | 83.7 | 6.91 | 0.12 | 628.19
2016-04-06 16:53 | 10C | 80.6 | 7.04 | 0.14 | 638.82
2016-04-06 16:53 | 50A | 128.1 | 5.59 | 0.07 | 649.56
2016-04-06 16:53 | 50B | 157 | 5.05 | 0.05 | 660.19
2016-04-06 16:53 | 50C | 136.2 | 5.42 | 0.08 | 670.82
2016-04-06 16:53 | 100A | 391.4 | 3.2 | 0.02 | 681.46
2016-04-06 16:53 | 100B | 295 | 3.68 | 0.03 | 692.09
2016-04-06 16:53 | 100C | 290.5 | 3.71 | 0.03 | 702.73
2016-04-06 16:53 | 250A | 1022.3 | 1.98 | 0.01 | 713.36
2016-04-06 16:53 | 250B | 1359.3 | 1.72 | 0.01 | 724
2016-04-06 16:53 | 250C | 1273.3 | 1.77 | 0.01 | 734.65
2016-04-06 16:53 | 500A | 2413.6 | 1.29 | 0.01 | 745.27
2016-04-06 16:53 | 500B | 2378.5 | 1.3 | 0 | 755.92
2016-04-06 16:53 | 500C | 2633.9 | 1.23 | 0 | 766.57
2016-04-11 15:28 | 0A | 75.3 | 7.29 | 0.21 | 585.63
2016-04-11 15:28 | 0B | 75.9 | 7.26 | 0.15 | 596.26
2016-04-11 15:28 | 0C | 73.1 | 7.4 | 0.09 | 606.89
2016-04-11 15:28 | 10A | 76.2 | 7.25 | 0.15 | 617.53
2016-04-11 15:28 | 10B | 82 | 6.98 | 0.08 | 628.16
2016-04-11 15:28 | 10C | 87.5 | 6.76 | 0.33 | 638.81
2016-04-11 15:28 | 50A | 128.2 | 5.59 | 0.06 | 649.54
2016-04-11 15:28 | 50B | 160.8 | 4.99 | 0.04 | 660.18
2016-04-11 15:28 | 50C | 140.9 | 5.33 | 0.06 | 670.81
2016-04-11 15:28 | 100A | 365.5 | 3.31 | 0.02 | 681.43
2016-04-11 15:28 | 100B | 301.5 | 3.64 | 0.03 | 692.06
2016-04-11 15:28 | 100C | 289.7 | 3.72 | 0.03 | 702.69
2016-04-11 15:28 | 250A | 1003 | 2 | 0.01 | 713.33
2016-04-11 15:28 | 250B | 1401.1 | 1.69 | 0.01 | 723.97
2016-04-11 15:28 | 250C | 1265.2 | 1.78 | 0.01 | 734.62
2016-04-11 15:28 | 500A | 2401.2 | 1.29 | 0.01 | 745.26
2016-04-11 15:28 | 500B | 2369.4 | 1.3 | 0 | 755.9
2016-04-11 15:28 | 500C | 2625.9 | 1.23 | 0 | 766.53
2016-04-12 10:30 | 0A | 74.1 | 7.35 | 0.21 | 585.58
2016-04-12 10:30 | 0B | 75.1 | 7.3 | 0.23 | 596.21
2016-04-12 10:30 | 0C | 76.4 | 7.24 | 0.11 | 606.84
2016-04-12 10:30 | 10A | 83.5 | 6.92 | 0.16 | 617.47
2016-04-12 10:30 | 10B | 81.6 | 7 | 0.1 | 628.11
2016-04-12 10:30 | 10C | 79.2 | 7.11 | 0.36 | 638.75
2016-04-12 10:30 | 50A | 133.1 | 5.48 | 0.06 | 649.49
2016-04-12 10:30 | 50B | 159.4 | 5.01 | 0.05 | 660.11
2016-04-12 10:30 | 50C | 144 | 5.27 | 0.05 | 670.74
2016-04-12 10:30 | 100A | 378 | 3.25 | 0.02 | 681.38
2016-04-12 10:30 | 100B | 307.4 | 3.61 | 0.02 | 692.01
2016-04-12 10:30 | 100C | 279.2 | 3.79 | 0.03 | 702.64
2016-04-12 10:30 | 250A | 1003.4 | 2 | 0.01 | 713.28
2016-04-12 10:30 | 250B | 1391.8 | 1.7 | 0.01 | 723.91
2016-04-12 10:30 | 250C | 1273 | 1.77 | 0.02 | 734.55
2016-04-12 10:30 | 500A | 2414.6 | 1.29 | 0.01 | 745.19
2016-04-12 10:30 | 500B | 2408.5 | 1.29 | 0 | 755.83
2016-04-12 10:30 | 500C | 2656.9 | 1.23 | 0.01 | 766.47

## Count->Actual Activity
Sample ID | Phase | Counts (cps) | Error (cps) | Calibration Method | Activity (Bq) | Activity Error (Bq)
0A | Water | 1.278 | 0.092348 | Scintillation Counter | 0.27127 | 0.23298
0B | Water | 1.2373 | 0.090845 | Scintillation Counter | 0.26236 | 0.23298
0C | Water | 1.2427 | 0.091063 | Scintillation Counter | 0.26353 | 0.23298
10A | Water | 1.321 | 0.093897 | Scintillation Counter | 0.28068 | 0.23298
10B | Water | 1.369 | 0.095501 | Scintillation Counter | 0.29119 | 0.23298
10C | Water | 1.3487 | 0.094892 | Scintillation Counter | 0.28674 | 0.23298
50A | Water | 2.171 | 0.12036 | Scintillation Counter | 0.46677 | 0.23298
50B | Water | 2.6453 | 0.1328 | Scintillation Counter | 0.57062 | 0.23298
50C | Water | 2.2967 | 0.12379 | Scintillation Counter | 0.49429 | 0.23298
100A | Water | 6.3457 | 0.20573 | Scintillation Counter | 1.3807 | 0.23298
100B | Water | 4.995 | 0.18252 | Scintillation Counter | 1.085 | 0.23298
100C | Water | 4.8343 | 0.17964 | Scintillation Counter | 1.0499 | 0.23298
250A | Water | 16.9073 | 0.33612 | Scintillation Counter | 3.693 | 0.23298
250B | Water | 23.005 | 0.39201 | Scintillation Counter | 5.028 | 0.23298
250C | Water | 21.3207 | 0.37695 | Scintillation Counter | 4.6593 | 0.23298
500A | Water | 40.059 | 0.51676 | Scintillation Counter | 8.7617 | 0.23298
500B | Water | 39.6223 | 0.5143 | Scintillation Counter | 8.6661 | 0.23298
500C | Water | 43.994 | 0.54113 | Scintillation Counter | 9.6232 | 0.23299
0_A | Solid
0_B | Solid
0_C | Solid
5_A | Solid
5_B | Solid
5_C | Solid
10_A | Solid
10_B | Solid
10_C | Solid
50_A | Solid
50_B | Solid
50_C | Solid
100_A | Solid
100_B | Solid
100_C | Solid
500_A | Solid
500_B | Solid
500_C | Solid

## Bottle Results
Sample ID | Stock Volume Added (mL) | Stock Vol Err (mL) | Final pH | Mineral Mass (g) | Mineral Mass Error (g) | Total Volume (mL) | Total Volume Error (mL) | Solution counts (Bq) | Solution Counts error (Bq) | Counted Solution Vol (mL) | Counted Solution Vol error (mL) | Solid Counts (Bq) | Solid Counts Error (Bq) | Counted Solid Mass (g) | Counted Solid Mass error (g) | Cw (Bq/mL) | dCw (Bq/mL) | Total Activity (Bq) | dTotal Activity (Bq) | Cs (Bq/g) | dCs (Bq/g) | fSorb
0A | 0 | 0 | 9.01 | 0.0301 | 0.0001 | 100 | 5 | 0.27127 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.027127 | 0.023298 | 0 | #DIV/0! | -90.1217 |  | #DIV/0!
0B | 0 | 0 | 9.02 | 0.0298 | 0.0001 | 100 | 5 | 0.26236 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.026236 | 0.023298 | 0 | #DIV/0! | -88.0413 |  | #DIV/0!
0C | 0 | 0 | 9.02 | 0.0297 | 0.0001 | 100 | 5 | 0.26353 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.026353 | 0.023298 | 0 | #DIV/0! | -88.7309 |  | #DIV/0!
10A | 0.00695 | 1e-05 | 9 | 0.0309 | 0.0001 | 100 | 5 | 0.28068 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.028068 | 0.023298 | 9.9965 | 0.052066 | 232.6748 |  | 0.71922
10B | 0.00695 | 1e-05 | 9 | 0.0299 | 0.0001 | 100 | 5 | 0.29119 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.029119 | 0.023298 | 9.9965 | 0.052066 | 236.942 |  | 0.70871
10C | 0.00695 | 1e-05 | 9 | 0.0304 | 0.0001 | 100 | 5 | 0.28674 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.028674 | 0.023298 | 9.9965 | 0.052066 | 234.5093 |  | 0.71316
50A | 0.0348 | 0.0001 | 8.98 | 0.0307 | 0.0001 | 100 | 5 | 0.46677 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.046677 | 0.023298 | 50.0542 | 0.28891 | 1478.3866 |  | 0.90675
50B | 0.0348 | 0.0001 | 8.98 | 0.0295 | 0.0001 | 100 | 5 | 0.57062 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.057062 | 0.023298 | 50.0542 | 0.28891 | 1503.3221 |  | 0.886
50C | 0.0348 | 0.0001 | 9.01 | 0.0296 | 0.0001 | 100 | 5 | 0.49429 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.049429 | 0.023298 | 50.0542 | 0.28891 | 1524.0319 |  | 0.90125
100A | 0.0695 | 0.0001 | 9 | 0.0303 | 0.0001 | 100 | 5 | 1.3807 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.13807 | 0.0233 | 99.9646 | 0.52066 | 2843.4701 |  | 0.86188
100B | 0.0695 | 0.0001 | 9 | 0.0305 | 0.0001 | 100 | 5 | 1.085 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.1085 | 0.023299 | 99.9646 | 0.52066 | 2921.7767 |  | 0.89146
100C | 0.0695 | 0.0001 | 9 | 0.0299 | 0.0001 | 100 | 5 | 1.0499 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.10499 | 0.023299 | 99.9646 | 0.52066 | 2992.1719 |  | 0.89498
250A | 0.174 | 0.001 | 9.02 | 0.0303 | 0.0001 | 100 | 5 | 3.693 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.3693 | 0.02331 | 250.271 | 1.9074 | 7040.9465 |  | 0.85244
250B | 0.174 | 0.001 | 9 | 0.0297 | 0.0001 | 100 | 5 | 5.028 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.5028 | 0.02332 | 250.271 | 1.9074 | 6733.7011 |  | 0.7991
250C | 0.174 | 0.001 | 9 | 0.0303 | 0.0001 | 100 | 5 | 4.6593 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.46593 | 0.023317 | 250.271 | 1.9074 | 6722.0617 |  | 0.81383
500A | 0.348 | 0.001 | 9 | 0.0304 | 0.0001 | 100 | 5 | 8.7617 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.87617 | 0.023364 | 500.542 | 2.8891 | 13583.0637 |  | 0.82496
500B | 0.348 | 0.001 | 9 | 0.0299 | 0.0001 | 100 | 5 | 8.6661 | 0.23298 | 10 | 0.02 |  |  |  |  | 0.86661 | 0.023363 | 500.542 | 2.8891 | 13842.1811 |  | 0.82687
500C | 0.348 | 0.001 | 9.01 | 0.0298 | 0.0001 | 100 | 5 | 9.6232 | 0.23299 | 10 | 0.02 |  |  |  |  | 0.96232 | 0.023378 | 500.542 | 2.8891 | 13567.4573 |  | 0.80774

## Averaged Results
Sample | Cw (Bq/mL) | sCw (Bq/mL) | Cs (Bq/g) | sCs (Bq/g) | TotAct | fSorb | sfsorb | pH | spH
0 | 0.026572 | 0.00048386 | -88.9646 | 1.0597 | 0 | #DIV/0! |  | 9.0167 | 0.0057735
10 | 0.02862 | 0.00052748 | 234.7087 | 2.1405 | 9.9965 | 0.7137 | 0.0052766 | 9 | 0
50 | 0.051056 | 0.0053802 | 1501.9136 | 22.8552 | 50.0542 | 0.898 | 0.010749 | 8.99 | 0.017321
100 | 0.11719 | 0.018173 | 2919.1395 | 74.386 | 99.9646 | 0.88277 | 0.01818 | 9 | 0.01453
250 | 0.44601 | 0.068941 | 6832.2364 | 180.8419 | 250.271 | 0.82179 | 0.027547 | 9.0067 | 0.011547
500 | 0.9017 | 0.052715 | 13664.234 | 154.3041 | 500.542 | 0.81986 | 0.010532 | 9.0033 | 0.0057735