## Parameters
Parameters | Value | Error | Units | Notes
Experiment Date | 2017-06-06
Sample Volume | 100 | 0.172 | mL | Liquid volume
Mineral Type | Multiple
Radium Stock Used | RaStock5
Stock Activity | 921.7465 | 40.493 | Bq/mL | Activity of stock used to add radium (note you should use the actual activity, not the counted activity)
Independent Cs? | FALSE
Initial Stock | 0.6445 | 0.15745 | Bq/mL | Initial measurement of Ra in AGW stock
Final Stock | 0.63727 | 0.15745 | Bq/mL | Final measurement of Ra in AGW
FHY Slurry | 32.1022 | 0.21035 | g/L FHY

## Scintillation Counter Results
Date | Sample | CPM | % Error | Lumex % | Elapsed Time
2017-07-05 09:40 | AGW Initial Stock | 2461.7 | 1.27 | 0 | 43.16
2017-07-05 09:40 | RaGlassAGW_1A | 2318.2 | 1.31 | 0 | 53.78
2017-07-05 09:40 | RaGlassAGW_1A (5mL) | 1178 | 1.84 | 0.02 | 64.41
2017-07-05 09:40 | RaGlassAGW_1B | 2347.3 | 1.31 | 0 | 75.05
2017-07-05 09:40 | RaGlassAGW_1C | 2369.3 | 1.3 | 0 | 85.66
2017-07-05 09:40 | RaMontAGW_1A | 1754.5 | 1.51 | 0.01 | 96.29
2017-07-05 09:40 | RaMontAGW_1B | 1732.8 | 1.52 | 0.01 | 106.91
2017-07-05 09:40 | RaMontAGW_1C | 1720.2 | 1.52 | 0.01 | 117.54
2017-07-05 09:40 | AGW Final Stock | 2444.6 | 1.28 | 0.01 | 128.18
2017-07-05 09:40 | RaFHYAGW_1A | 1934.3 | 1.44 | 0.01 | 138.92
2017-07-05 09:40 | RaFHYAGW_1B | 1990.6 | 1.42 | 0 | 149.56
2017-07-05 09:40 | RaFHYAGW_1C | 1961.6 | 1.43 | 0.01 | 160.19
2017-07-05 09:40 | RaGOEAGW_1A | 2143.1 | 1.37 | 0.01 | 170.83
2017-07-05 09:40 | RaGOEAGW_1B | 2157.3 | 1.36 | 0 | 181.46
2017-07-05 09:40 | RaGOWAGW_1C | 2194.5 | 1.35 | 0.01 | 192.11
2017-07-06 14:46 | AGW Initial Stock | 2426.4 | 1.28 | 0 | 42.97
2017-07-06 14:46 | RaGlassAGW_1A | 2279.8 | 1.32 | 0.01 | 53.6
2017-07-06 14:46 | RaGlassAGW_1A (5mL) | 1218.4 | 1.81 | 0.02 | 64.23
2017-07-06 14:46 | RaGlassAGW_1B | 2274.5 | 1.33 | 0.01 | 74.86
2017-07-06 14:46 | RaGlassAGW_1C | 2299.1 | 1.32 | 0.01 | 85.48
2017-07-06 14:46 | RaMontAGW_1A | 1684.7 | 1.54 | 0.01 | 96.11
2017-07-06 14:46 | RaMontAGW_1B | 1722.9 | 1.52 | 0.01 | 106.75
2017-07-06 14:46 | RaMontAGW_1C | 1684.7 | 1.54 | 0.01 | 117.36
2017-07-06 14:46 | AGW Final Stock | 2389 | 1.29 | 0.01 | 128
2017-07-06 14:46 | RaFHYAGW_1A | 1913.4 | 1.45 | 0.02 | 138.76
2017-07-06 14:46 | RaFHYAGW_1B | 1953.6 | 1.43 | 0.01 | 149.38
2017-07-06 14:46 | RaFHYAGW_1C | 1946.8 | 1.43 | 0.01 | 160.01
2017-07-06 14:46 | RaGOEAGW_1A | 2124.6 | 1.37 | 0 | 170.65
2017-07-06 14:46 | RaGOEAGW_1B | 2161.3 | 1.36 | 0 | 181.28
2017-07-06 14:46 | RaGOWAGW_1C | 2161.5 | 1.36 | 0.01 | 191.92

## Calibration Data
| Mean (CPM) | Error (CPM) | Scintillation Counter (cps) | Error (cps) | Gamma counter measured activity (Corrected for Geometry, Bq) | Expected Activity (Bq) | Scint Counter Activity, with RaStock5 | Error from Expected | Scint Counter Activity, without RaStock5 | Error from Expected
Background | 69.2667 | 4.0713 | 1.1544 | 0.067855 |  | 0 | -0.86244 | #DIV/0! | 0.14417 | #DIV/0!
RaStd_0.01mL | 213.5333 | 4.539 | 3.5589 | 0.075649 |  | 0.42769 | -0.46849 | 2.0954 | 0.52694 | 0.23207
RaStd_0.05mL | 851.3667 | 12.5306 | 14.1894 | 0.20884 |  | 2.1385 | 1.2733 | 0.40458 | 2.2193 | 0.037789
RaStd_0.1mL | 1635.7 | 32.621 | 27.2617 | 0.54368 |  | 4.2769 | 3.4151 | 0.20151 | 4.3003 | 0.0054654
RaStd_0.5mL | 7998.8333 | 50.2341 | 133.3139 | 0.83724 |  | 21.3845 | 20.7912 | 0.027746 | 21.1831 | 0.0094174
RaStd_1mL | 16057.1333 | 53.5133 | 267.6189 | 0.89189 | 42.769 | 42.769 | 42.7963 | 0.00063818 | 42.5636 | 0.0048022
RaStd_5mL | 80635.3 | 80.455 | 1343.9217 | 1.3409 |  | 213.845 | 219.1426 | 0.024773 | 213.9042 | 0.00027666
RaStock5 | 337473.1 | 371.2204 | 5624.5517 | 6.187 | 921.7465 | 921.7465 | 920.5005 | 0.0013517 | 895.3534 | 0.028634
RaStock4 | 173514.3 | 260.2715 | 2891.905 | 4.3379
[7 empty] | Average Rel Error | 0.39371 |  | 0.048303
Scintillation Counter Calibration
CPS->Bq w/Background (RaStd only)
SUMMARY OUTPUT
Regression Statistics
Multiple R | 1
R Square | 1
Adjusted R Square | 1
Standard Error | 0.15745
Observations | 7
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 36448.4364 | 36448.4364 | 1470245.4671 | 7.2415e-15
Residual | 5 | 0.12395 | 0.024791
Total | 6 | 36448.5604
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | -0.039609 | 0.068337 | -0.57961 | 0.58731 | -0.21527 | 0.13606 | -0.21527 | 0.13606
X Variable 1 | 0.15919 | 0.00013129 | 1212.5368 | 7.2415e-15 | 0.15886 | 0.15953 | 0.15886 | 0.15953
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | 0.14417 | -0.14417
2 | 0.52694 | -0.099254
3 | 2.2193 | -0.08081
4 | 4.3003 | -0.023375
5 | 21.1831 | 0.20139
6 | 42.5636 | 0.20539
7 | 213.9042 | -0.059162
cps->Bq (background, Stds, and RaStock 5)
SUMMARY OUTPUT
Regression Statistics
Multiple R | 0.99998
R Square | 0.99995
Adjusted R Square | 0.99995
Standard Error | 2.3455
Observations | 8
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 715640.9507 | 715640.9507 | 130085.2563 | 3.066e-14
Residual | 6 | 33.0079 | 5.5013
Total | 7 | 715673.9587
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | -1.0516 | 0.93004 | -1.1307 | 0.30135 | -3.3273 | 1.2241 | -3.3273 | 1.2241
X Variable 1 | 0.16384 | 0.00045427 | 360.6733 | 3.066e-14 | 0.16273 | 0.16496 | 0.16273 | 0.16496
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals
1 | -0.86244 | 0.86244
2 | -0.46849 | 0.89618
3 | 1.2733 | 0.86518
4 | 3.4151 | 0.86182
5 | 20.7912 | 0.59334
6 | 42.7963 | -0.027294
7 | 219.1426 | -5.2976
8 | 920.5005 | 1.2459

## Count->Actual Activity
Sample ID | Phase | Counts (cps) | Error (cps) | Calibration Method | Activity (Bq) | Activity Error (Bq)
AGW Initial Stock | Water | 40.7342 | 0.51936 | Scintillation Counter | 6.445 | 0.15745
RaGlassAGW_1A | Water | 38.3167 | 0.50386 | Scintillation Counter | 6.0602 | 0.15745
RaGlassAGW_1A (5mL) | Water | 19.97 | 0.36445 | Scintillation Counter | 3.1395 | 0.15745
RaGlassAGW_1B | Water | 38.515 | 0.5084 | Scintillation Counter | 6.0917 | 0.15745
RaGlassAGW_1C | Water | 38.9033 | 0.50963 | Scintillation Counter | 6.1536 | 0.15745
RaMontAGW_1A | Water | 28.66 | 0.43706 | Scintillation Counter | 4.5229 | 0.15745
RaMontAGW_1B | Water | 28.7975 | 0.43772 | Scintillation Counter | 4.5448 | 0.15745
RaMontAGW_1C | Water | 28.3742 | 0.43412 | Scintillation Counter | 4.4774 | 0.15745
AGW Final Stock | Water | 40.28 | 0.5176 | Scintillation Counter | 6.3727 | 0.15745
RaFHYAGW_1A | Water | 32.0642 | 0.46333 | Scintillation Counter | 5.0648 | 0.15745
RaFHYAGW_1B | Water | 32.8683 | 0.46837 | Scintillation Counter | 5.1928 | 0.15745
RaFHYAGW_1C | Water | 32.57 | 0.46575 | Scintillation Counter | 5.1453 | 0.15745
RaGOEAGW_1A | Water | 35.5642 | 0.48723 | Scintillation Counter | 5.622 | 0.15745
RaGOEAGW_1B | Water | 35.9883 | 0.48944 | Scintillation Counter | 5.6895 | 0.15745
RaGOWAGW_1C | Water | 36.3 | 0.49186 | Scintillation Counter | 5.7391 | 0.15745

## Bottle Results
Sample ID | Stock Volume Added (mL) | Stock Vol Err (mL) | Final pH | Slurry Amount (mL) | Mineral Mass (g) | Mineral Mass Error (g) | Total Volume (mL) | Total Volume Error (mL) | Solution counts (Bq) | Solution Counts error (Bq) | Counted Solution Vol (mL) | Counted Solution Vol error (mL) | Cw (Bq/mL) | dCw (Bq/mL) | Total Activity (Bq) | dTotal Activity (Bq) | Cs (Bq/g) | dCs (Bq/g) | fSorb
RaGlassAGW_1A | 100 | 0.08 | 7 |  | 0 | 0 | 100 | 5 | 6.0602 | 0.15745 | 10 | 0.01 | 0.60602 | 0.015757 | 64.0886 | 0.51381 | #DIV/0! |  | 0.054409
RaGlassAGW_1B | 100 | 0.08 | 7 |  | 0 | 0 | 100 | 5 | 6.0917 | 0.15745 | 10 | 0.01 | 0.60917 | 0.015757 | 64.0886 | 0.51381 | #DIV/0! |  | 0.049483
RaGlassAGW_1C | 100 | 0.08 | 6.99 |  | 0 | 0 | 100 | 5 | 6.1536 | 0.15745 | 10 | 0.01 | 0.61536 | 0.015757 | 64.0886 | 0.51381 | #DIV/0! |  | 0.039837
RaMontAGW_1A | 100 | 0.08 | 6.96 |  | 0.0302 | 0.0001 | 100 | 5 | 4.5229 | 0.15745 | 10 | 0.01 | 0.45229 | 0.015752 | 64.0886 | 0.51381 | 624.4969 |  | 0.29428
RaMontAGW_1B | 100 | 0.08 | 7.01 |  | 0.0304 | 0.0001 | 100 | 5 | 4.5448 | 0.15745 | 10 | 0.01 | 0.45448 | 0.015752 | 64.0886 | 0.51381 | 613.188 |  | 0.29086
RaMontAGW_1C | 100 | 0.08 | 7 |  | 0.0307 | 0.0001 | 100 | 5 | 4.4774 | 0.15745 | 10 | 0.01 | 0.44774 | 0.015751 | 64.0886 | 0.51381 | 629.1477 |  | 0.30138
RaFHYAGW_1A | 100 | 0.08 | 6.98 | 0.222 | 0.0071267 | 7.9391e-05 | 100 | 5 | 6.445 | 0.15745 | 10 | 0.01 | 0.6445 | 0.015758 | 64.0886 | 0.51381 | -50.7251 |  | -0.0056407
RaFHYAGW_1B | 100 | 0.08 | 6.99 | 0.222 | 0.0071267 | 7.9391e-05 | 100 | 5 | 6.445 | 0.15745 | 10 | 0.01 | 0.6445 | 0.015758 | 64.0886 | 0.51381 | -50.7251 |  | -0.0056407
RaFHYAGW_1C | 100 | 0.08 | 7 | 0.222 | 0.0071267 | 7.9391e-05 | 100 | 5 | 6.445 | 0.15745 | 10 | 0.01 | 0.6445 | 0.015758 | 64.0886 | 0.51381 | -50.7251 |  | -0.0056407
RaGOEAGW_1A | 100 | 0.08 | 6.99 |  | 0.0298 | 0.0001 | 100 | 5 | 6.1536 | 0.15745 | 10 | 0.01 | 0.61536 | 0.015757 | 64.0886 | 0.51381 | 85.6734 |  | 0.039837
RaGOEAGW_1B | 100 | 0.08 | 6.99 |  | 0.0293 | 0.0001 | 100 | 5 | 6.1536 | 0.15745 | 10 | 0.01 | 0.61536 | 0.015757 | 64.0886 | 0.51381 | 87.1354 |  | 0.039837
RaGOWAGW_1C | 100 | 0.08 | 6.98 |  | 0.03 | 0.0001 | 100 | 5 | 6.1536 | 0.15745 | 10 | 0.01 | 0.61536 | 0.015757 | 64.0886 | 0.51381 | 85.1023 |  | 0.039837

## Averaged Results
Sample | Cw (Bq/mL) | sCw (Bq/mL) | Cs (Bq/g) | sCs (Bq/g) | TotAct | fSorb | sfsorb | pH | spH | Count | Notes
RaGlassAGW_1 | 0.61018 | 0.0047506 | #DIV/0! | #DIV/0! | 64.0886 | 0.047909 | 0.0074126 | 6.9967 | 0.0057735 | 3
RaMontAGW_1 | 0.4515 | 0.0034379 | 622.2775 | 8.2081 | 64.0886 | 0.29551 | 0.0053642 | 6.99 | 0.026458 | 3
RaFHYAGW_1 | 0.6445 | 0 | -50.7251 | 0 | 64.0886 | -0.0056407 | 0 | 6.99 | 0.01 | 3
RaGOEAGW_1 | 0.61536 | 0 | 85.9704 | 1.0486 | 64.0886 | 0.039837 | 0 | 6.9867 | 0.01453 | 3